## Slide 1
Lock Out Tag Out (LOTO)

## Slide 2
Supervisor’s responsibilities
Ensure new employees receive training and understand the requirement for specific equipment lockout/tagout procedures.
Make sure new employees have the proper written procedure, equipment and tools available to do the energy control – get them the appropriate locks and tags
Provide instruction whenever there is a change in their job assignments, a change in equipment or process that presents a new hazard, or when there is a change in the energy control procedure.

## Slide 3
Supervisor’s responsibilities
Effectively review compliance and ensure the necessary lockout/tagout devices are provided to employees. Annual review during a LOTO procedure is required of employees performing LOTO
Use the Supervisor & Employee LOTO Annual Evaluation Form (located on the FS Safety webpage)

## Slide 4
Authorized and Affected employees
Authorized
  An employee qualified (via training, authority and responsibility) who locks or tags out a machine or equipment in order to do service or maintenance.
  Q – so who is authorized?
Affected
  An employee required to operate, use or be in the area where a machine or equipment could be locked or tagged out for service or maintenance and potentially influenced by the service or maintenance being performed.
  Q - so who is affected?
Notes: Authorized – anyone maintaining the system or equipment that could be hurt or worse if the equipment starts up unexpectedly.
Affected – operators that don't maintain the equipment or could use the equipment and may or may not understand when the authorized person is maintaining it, especially if not in the area when the LOTO occurred.

## Slide 5
Supervisor’s responsibilities (cont.)
Ensure all authorized employees understand the purpose of (and are up to date on) all LOTO safety requirements and equipment specific procedures.
EH&S training classes and demonstrations are provided to make sure all employees understand what LOTO is and what it can do for them. Send employees to training. Make sure employee’s attend EH&S LOTO training every three years, per FS requirements.
Cover your specific LOTO procedures in your area WITH EMPLOYEES. These are to be written and equipment specific. Make sure they are understood.

## Slide 6
Review LOTO
You must complete and document the review if:
  Employees are observed not following LOTO procedures.
    Not locking out equipment, tagging out equipment when a locking device is available, have no procedure for the system, etc.
  EMPLOYEES ARE Involved in the LOTO process and assume someone else performed LOTO for them
    Allowing an electrician to lock out a system and the authorized person doing the maintenance does not lock out the equipment and doesn’t verify it’s in a safe state
      This is NOT OK, all authorized employees need to lock out the system and check to make sure it was completed properly

## Slide 7
Review LOTO (cont.)
  New equipment is installed and a new procedure has been written. Document training of the LOTO procedure on the new equipment.
  There is a process change in how LOTO is being used in your shop or different LOTO procedure.
  If employees are observed not following LOTO: must review/reinforce and document that it has been discussed.
Complete and document the review if:

## Slide 8
Putting into practice
Ensure employees are following the procedures and update the procedures when they do change.
REINFORCE correct procedures.
REQUIRED: Annual review and documentation of every employee performing a LOTO procedure to ensure understanding of the process and that all hazardous energy has been put in a safe state before working on any component of the system that is locked out.
If someone removes a LOTO without authorization, it is required to discipline that person.

## Slide 9
Locks/tags
Consistent in your shop. Color, size shape and identifying tag(s)
Not used for any other purpose than LOTO usage (not to be put on their personal locker, bicycle or anything else)
LOTO tags should be used when you HAVE to tag out a system component that cannot be locked out.
If you use tags they need to be attached so that it can withstand a 50 pound force to remove it – use zip ties.
See Jack Nolan in stores for LOTO equipment issuance. Only ONE key per keyed alike lock sets.

## Slide 10
Info requests
If any employee requests a copy of the current LOTO procedures in place, it is the RESPONSIBILITY of the supervisor to provide that material. Each authorized employee has the right to know and understand the LOTO procedures in place and how they will provide protection to themselves and to other employees as well.

## Slide 11
Scenario at the HUB
Notes: An electrician is tasked with locking out a system for a maintenance mechanic employee to change out a fan motor. The electrician goes to the source of the electrical energy and turns the energy device off. There are three like switches in the locked electrical box for three fan motors. None have lockable switches. As there is no way to lockout or tagout a single fan, the electrician places a written note in the area of the switched off source of electricity inside the cabinet that the maintenance mechanic cannot access. The outside of the cabinet is not locked or tagged. A month passes and the authorized employee goes to the HUB to remove the fan motor, assured the power had been turned off. He does not verify that the power is off. He is not aware that someone else has turned the switch back on for the motor and gets shocked when he moves the electrical connection to get it out of his way of removing the motor.

## Slide 12
What happened
Another HUB employee, not an FS employee, turned the power back on for the motor as it was a kitchen hood fan motor and it wasn’t working. So the power had been reapplied to the motor wiring before the authorized employee got to the task of removing the fan motor for repair.
When the LOTO was investigated it was not determined who or when the switch was turned back on.

## Slide 13
How do we correct this?
The AUTHORIZED EMPLOYEE should always verify that the switch has been disconnected from the power source and place their lock or tag on the device. If the source cannot be locked out, a tag should be affixed and/or the wiring removed from the switch and a tag placed on the wiring, stating who disconnected it and who to call for information. Always verify ALL sources of energy are disconnected before performing maintenance on equipment.

## Slide 14
Questions?
Thanks for coming and keep working safely out there. Let us know if you have any questions when you get back in the field.
FYI EH&S is connecting with FS Employee Safety to do some audit hopefully in the next 6 months to see how we’re doing and if proper practices are being used.