## Meter Schedule
UW Facilities: Campus Utilities Mechanical Meter Schedule Worksheet
Instructions: To be filled out by project and submitted back to Campus Utilities for confirmation of project metering, generation of PLC Data Collection Controller program, and field wiring diagrams
Project # | XXXXXX
Project Name:
FACNUM: | XXXX
Unique Meter Tag/Designation (Start w/ project tag, adjust as needed for PLC Program) | Meter Type | Project Meter Name For cross-reference purposes only. | Brief Description/System Served (What is the meter measuring?) | Project Supplied and Installed Meter Model | Communication Method | Notes/Comments
6524_DW1 | Utility Main Meter | Building Main Domestic Water Meter | Total Building Water Consumption in CuFt | UW Controller, CMAG | Pulse Out to Data Collection Controller

## Sheet2
Meter Types
Utility Main Meter
Energy Submeter
Chargeable Submeter
Virtual Meter (CU Use Only)
Typical Meter Tags
Facnum_DW1 | Building Main Domestic Water Meter
Facnum_CR1 | Building Main Steam Condensate Return Meter
Facnum_HCR1 | Domestic Hot Water Steam Condensate Submeter
Facnum_HHCR1 | Heating Hot Water Steam Condensate Submeter