## Electric Meter Schedule
UW Facilities: Campus Utilities Project Electrical Meter Schedule
Instructions: To be filled out by project and submitted back to Campus Utilities for confirmation of project metering plan
Project # | XXXXXX
Project Name:
FACNUM: | XXXX
Unique Meter Tag/Designation (Start w/ project tag, adjust as needed for PLC Program) | Meter Type | Project Meter Name For cross-reference purposes only. | Brief Description/System Served (What is the meter measuring?) | Project Supplied and Installed Meter Model | Communication Method | Panel Metered | Load Type (PROC,HVAC,RENEWABLES, LTG, HHW,ELEV) | Number of Phases | Wiring Config (Wye/Delta, 3 Wire/4 wire) | CT Ratio | PT Ratio | Notes/Comments
6524_TR1 | Utility Main Meter | Building Service Main Electric Meter | Total Building Electricity Consumption | Nexus 1272 | ModbusTCP | PCM-XXX-E01 | Mixed | 3 | 4 wire Delta | 2000:5 | 1:01

## Sheet2
Meter Types
Utility Main Meter
Energy Submeter
Chargeable Submeter
Virtual Meter (CU Use Only)
Typical Meter Tags
Facnum_DW1 | Building Main Domestic Water Meter
Facnum_CR1 | Building Main Steam Condensate Return Meter
Facnum_HCR1 | Domestic Hot Water Steam Condensate Submeter
Facnum_HHCR1 | Heating Hot Water Steam Condensate Submeter