GENERAL

SUMMARY

Section includes:

Summary of sustainable building requirements for the project to comply with the University of Washington Green Building Standard v2.

Related performance and administrative requirements.

- ______________________________________________________________________________

- Specifier – Consult with the PDG PM or GBS PM to determine the applicable GBS Project Tier and update in section 1.4(A).

- Consult with the PDG PM to determine the applicable Facilities Design Standard the project is vested under and update in 1.2(B).

- Consult with the PDG PM or GBS PM to determine if the Washington Buy Clean Buy Fair (BCBF) requirements are applicable. If BCBF is not applicable, delete the blue highlighted text. If BCBF is applicable, unhighlight the blue highlighted text.

- Delete these instructions when the above are tasks are completed.

- ______________________________________________________________________________

Related sections:

General Conditions and other Division 1 Specification Sections apply to this Section.

Related Sections include the following:

        - Section 01 25 00 	Substitution Procedures

        - Section 01 31 00 	Project Management and Coordination

        - Section 01 31 19		Project Meetings

        - Section 01 33 00 	Submittal Procedures

        - Sustainable criteria as noted in Division 2 through 48, including but not limited to other Sections listed in Section 01 35 15.

REFERENCES

University of Washington Green Building Standard v2 (UW GBS) available to download here: University of Washington Green Building Standard (uw.edu).

University of Washington Facilities Design Standard, [specifier – add MONTH/YEAR]

DEFINITIONS

Building exterior: A structure’s primary and secondary weatherproofing system, including waterproofing membranes and air- and water-resistant barrier materials, and all building elements outside that system.

Building interior: Everything inside a structure’s weatherproofing membrane.

BCBF (BCBF) Act: Washington State requirement for large higher education/state funded projects to provide transparency documentation on embodied carbon (EPDs), health impacts (HPDs), and equity practices (MWBE), and Supplier code of conduct, and manufacturer name/locations.

Composite Wood (product category): Includes all particleboard, medium density fiberboard, hardwood veneer plywood, and structural Composite Wood not included in the flooring, Ceiling, Wall panels, or Furniture material categories.

Covered Product Types: Specific materials that are required to comply with the BCBF Act. Broad categories of materials includes: structural concrete, rebar, structural steel, and engineered wood products. Refer to BCBF Act for full list of specific product types.

Enclosure: The exterior plus semi-exterior portions of the building. Exterior consists of the elements of a building that separate conditioned spaces from the outside (i.e., the wall assembly). Semi-exterior consists of the elements of a building that separate conditioned space from unconditioned space or that encloses semi-heated space through which thermal energy may be transferred to or from the exterior or conditioned or unconditioned spaces (e.g., attic, crawl space, basement).

Environmental Product Declaration: Independently verified report based on peer-reviewed life-cycle assessment (LCA) studies that have been conducted according to a set of common product category rules (PCRs) for each product category.

GBS Project Manager: An individual responsible for the management of the UW GBS requirements.

Material Ingredient Reporting: A manufacturer’s report demonstrating the chemical inventory of a product or material to at least 0.1% (1000 ppm), using an approved program.

Product and Material Cost: Includes all permanently installed building products.

      - MEP, specialty equipment, and items purchased for temporary use on the project are excluded.

Furniture and furnishings are not required to be included; however, they must be included if they are also included in MR BPDO EPDs and MR BPDO Material Ingredients.

Includes all taxes and expenses incurred by the contractor to deliver the material to the project site, but excludes cost for labor and equipment required for installation after the material is delivered to the site.

Equals cost per item times number of items purchased.

The cost of salvaged, reused or reclaimed materials is either the actual cost paid or the replacement value, whichever is higher.

SUSTAINABLE BUILDING REQUIREMENTS

Integrate sustainable building materials and methods into Work as required to meet the UW Green Building Standard v2 for a Tier [specifier, insert Tier # here] Project.

Refer to Contract Documents for incorporated sustainable/environmental requirements provisions.

Substitutions: Conform to provisions of Section 01 25 00 – Substitution Procedures.

CONTRACTOR REQUIREMENTS

Coordinate and assist with documentation for UW GBS requirements. Complete all documentation assigned to the Contractor.

GBS Reporting: The Design Build team shall support UW reporting on GBS progress using the GBS Workbook, available on the UW GBS homepage.

Become familiar with the BCBF Washington Act reporting requirements and provide the necessary information and instruction to all subcontractors and installers.

GBS Meetings:

Coordinate and attend Pre-Construction Meeting to review GBS requirements included in the project, methods, products and materials, tracking, and submittals for the project.

Contact UW Sustainability if there are any concerns with meeting GBS requirements.

Discuss items of significance that could affect complying with requirements for BCBF Washington Act.

__________________________________________________________________________________

Specifier – Consult with the PDG PM or GBS PM to determine the applicable CLF Material Baselines Report year and update in 1.6(B)(1) and 2.1(B)(1).

Consult with the PDG PM or GBS PM to determine the list of product categories required for embodied carbon submittals and updated in 1.6(B)(1).

__________________________________________________________________________________

SUBMITTALS

Submit following in conformance to Section 01 33 00 – Submittal Procedures.

UW GBS Embodied Carbon Requirements

For all materials used on the project and listed in the Carbon Leadership Forum’s Material Baselines Report (Specifier – add CLF Report Year), provide a third-party verified Environmental Product Declaration with applied UWCLF methodology and the total quantity of each material used in the construction of the project, including the following materials:

Concrete (ready mixed concrete, slurry, shotcrete)

Masonry

Steel (rebar, steel wire and mesh, plate steel, structural steel, steel decking, cold formed steel, open-web steel joists)

Aluminum (aluminum extrusions, thermally improved aluminum extrusions)

Wood & Composites (dimensional lumber, plywood/OSB sheathing, glass mat gypsum sheathing, prefabricated wood products, composite lumber, mass timber)

Insulation (board, blanket, foamed-in-place, blown)

Finishes:

Gypsum Board

Acoustical Ceiling Tiles

Resilient Flooring

Carpet

Communications (data cabling)

Bulk Materials (flat glass)

Other materials as requested by the project team

BCBF Submittals:

Include relevant Sustainable Product Data Reporting form, provided at the end of this section, with all submittals for Covered Product Types, which include:

Structural concrete products of the following types:

Ready mix (cast-in-place) concrete

Shotcrete

Precast concrete

Concrete masonry units (CMU)

Reinforcing steel products of the following types:

Rebar

Post tensioning tendons

Structural steel products of the following types:

Hot-rolled structural steel

Hollow structural steel

Metal deck

Structural steel plate

Wood products of the following types:

Glue laminated beams and timbers (Glulam)

Cross laminated timber (CLT)

Dowel laminated timber (DLT)

Nail laminated timber (NLT)

Laminated veneer lumber

Parallel strand lumber

Prefabricated wood joists

Wood structural panels

Solid sawn and structural lumber

Structural composite lumber

Provide material quantity and cost

Provide unexpired, product or facility-specific Environmental Product Declaration (EPD)

Provide, if available:

A current Health Product Declaration (HPD), if available.

Manufacturer name and location including state or province and country.

Office of minority- and women-owned business enterprises (MWBE) certification, if applicable.

Supplier code of conduct, if available.

Specifier – Consult with the PDG PM or GBS PM to determine the list of product categories required for embodied carbon limits and updated in 2.1(B)(1).

__________________________________________________________________________________

PRODUCTS

GBS REQUIREMENTS

Comply with GBS requirements as noted in Technical Sections. Any Substitution requests must state whether or not proposed change impacts GBS requirements.

UW GBS Embodied Carbon Requirements

For all materials used on the project and listed in the Carbon Leadership Forum’s Material Baselines Report (Specifier – add CLF Report Year), select products that do not exceed the specified amount of kgCO2e per declared unit, including the following materials:

Concrete (ready mixed concrete, slurry, shotcrete)

Masonry

Steel (rebar, steel wire and mesh, plate steel, structural steel, steel decking, cold formed steel, open-web steel joists)

Aluminum (aluminum extrusions, thermally improved aluminum extrusions)

Wood & Composites (dimensional lumber, plywood/OSB sheathing, glass mat gypsum sheathing, prefabricated wood products, composite lumber, mass timber)

Insulation (board, blanket, foamed-in-place, blown)

Finishes:

Gypsum Board

Acoustical Ceiling Tiles

Resilient Flooring

Carpet

Communications (data cabling)

Bulk Materials (flat glass)

Other materials as requested by the project team

BCBF

State of Washington BCBF Act Requirements

Comply above BCBF submittal requirements for all the below Covered Product Types:

Structural concrete products of the following types:

Ready mix (cast-in-place) concrete

Shotcrete

Precast concrete

Concrete masonry units (CMU)

Reinforcing steel products of the following types:

Rebar

Post tensioning tendons

Structural steel products of the following types:

Hot-rolled structural steel

Hollow structural steel

Metal deck

Structural steel plate

Wood products of the following types:

Glue laminated beams and timbers (Glulam)

Cross laminated timber (CLT)

Dowel laminated timber (DLT)

Nail laminated timber (NLT)

Laminated veneer lumber

Parallel strand lumber

Prefabricated wood joists

Wood structural panels

Solid sawn and structural lumber

Structural composite lumber

EXECUTION

UW GBS COMPLIANCE - GENERAL

Meet all GBS requirements applicable to the project’s GBS Tier.

Prior to beginning Work of this Contract, verify construction conditions as acceptable to meet UW GBS requirements.

Do not proceed with Work until unsatisfactory conditions are corrected in a manner acceptable to PDG PM, GBS/LEED PM, and Architect.

Correct non-conforming work failing to meet GBS requirements at Contractor’s expense.

Submit documentation as necessary to show conformance of corrected work.

PDG PM and GBS/LEED PM will be sole judge in determining conformance to GBS requirements.

At the end of project, PDG PM to upload GBS Workbook to the UW Sustainability G Drive.

BUY CLEAN BUY FAIR COMPLIANCE – GENERAL

At the end of project, GBS/LEED PM to upload Buy Clean Buy Fair documentation outlined in Submittals to the UW Sustainability G Drive.

COORDINATION

Coordinate with all subcontractors per Section 01 74 00.

Coordination shall include review of this Section 01 35 15 and related sections.

Include subcontractors in related meetings, including GBS meetings, per Section 01 31 19.

Figure 1 Buy Clean Buy Fair Reporting Form. GBS/LEED PM to provide digital version of this form.

- END OF SECTION