PART 1 – GENERAL

  - SUMMARY

- This Section specifies administrative and procedural requirements for meetings during construction in addition to requirements specified elsewhere in the Contract Documents.

- Contractor and Subcontractor representatives attending meetings must be qualified and authorized to act on behalf of their firms.

- The Owner will utilize an internet-based construction management system (CMS) for communications and documents controls with the Contractor and A/E on this Project (see Section 01 35 00 “Electronic Communications”).

- Meeting minutes, Contractor construction activity data and work plans, A/E field reports and other such communications shall be distributed electronically by e-mail.

- Related Sections:

1.	Section 01 32 16 “Construction Progress Schedule”

1.2	PRECONSTRUCTION MEETING

A.	The Owner will schedule a preconstruction meeting to be held prior to the Contractor mobilizing and beginning any Work.  This meeting will review Contract administration requirements and mobilization procedures.

B.	Meeting location:  To be determined

- Participants shall include:

- Contractor's Project Manager, Superintendent, CQC Representative, Safety and Health Officer, and for projects with LEED requirements, LEED Coordinator;

- Owner's Representative, Project Manager, Safety Director, and for projects with LEED requirements, the Owner’s Sustainability Manager;

- A/E and the A/E's sub-consultants, as appropriate;

- Owner’s consultants, as appropriate; and

- Others, including the Contractor’s major Subcontractors as appropriate.

D.	Owner's Representative will:  Administer the meeting

E.	Contractor will:  Record and distribute copies of the minutes within seven (7) days of the meeting to all meeting participants.

F.	Agenda:

1.	The Work including, but not limited to:

- Schedule and phasing requirements

- Contractor’s use of premises

- Special conditions and coordination

2.	Communications including, but not limited to:

- Chain and persons authorized to direct changes

- Requests for Information (RFI), field decisions, and clarifications

- Non-Conformance Reports

- Hazard communication

- Project meetings

3.	Contractor’s “Site Specific Safety Plan”

4.	Administrative and procedural requirements including, but not limited to:

- Contract modification

- Progress payment

- Submittals - including Contractor’s Progress Schedule

- Electronic communications

5.	Project LEED requirements and documentation, if any

6.	Testing and inspection

7.	Contractor quality control

8.	Temporary facilities and controls including, but not limited to:

- Deliveries and storage

- Temporary utilities and enclosures

- Security procedures

- Noise and vibration control

- Cutting, patching, and field engineering

- Utility shutdowns

- Contractor parking

h.	Housekeeping and waste management

i.	Infection control - for medical facilities projects

9.	Closeout procedures – including Project Record requirements

10.	Other information as appropriate

G.	Contractor shall conduct a like meeting, covering the same body of information, with each Subcontractor’s project manager and foreman supervising the Work prior to the performance of any work on-site by that Subcontractor.

- Provide Owner copies of meeting minutes prepared by the Contractor with each Subcontractor, when requested by Owner.

1.3	CONSTRUCTION PROGRESS MEETINGS

A.	Progress meetings shall occur weekly until Substantial Completion has been achieved.

B.	Meeting location:  Owner's field office, or as mutually agreed

C.	Participants shall include:

- Contractor's Project Manager, Superintendent, CQC Representative, and Safety and Health Officer as appropriate;

- Owner's Representative and Project Manager;

- A/E and the A/E's sub-consultants, as appropriate; and

- Others, including the Owner’s consultants, as appropriate.

D.	Contractor shall:

- Administer the meeting;

- Provide schedules, logs and other construction activity data in support of the issues discussed at and recorded in the meeting minutes; and

- Record and distribute copies of the minutes prior to the next progress meeting to all meeting participants and provide copies at each meeting.

E.	Agenda:

1.	Review and approve the minutes of the previous meeting noting exceptions, if any

2.	Review the progress of the Work since the previous meeting

3.	Review the Short Interval Schedule and work plans for progress during the period

- Identify pending meetings

- Discuss safety activities and job hazards analysis

4.	Discuss field observations, problems, and conflicts

- Identify problems impeding the construction Progress Schedule

5.	Review Quality Control

- Non-Conformance Reports - discuss corrective Work actions

- Infection control - for medical center projects

6.	Review the Submittal Schedule and RFIs - present methods to expedite as required

7.	Review off-site fabrication and delivery schedules

- Review proposed changes in the Work and substitution requests for:

- Timely processing

- Effect on the Progress Schedule and Substantial Completion

- Effect on any other contracts of the Project

- Review the Schedule of Alternates status log, if any

- On a monthly basis, review progress on inclusion of diverse businesses

11.	Review any other business.

1.4	PRE-INSTALLATION MEETINGS

A.	Pre-installation meetings shall be held prior to the Contractor or Subcontractors beginning work on each definable feature of the Work identified in the Contract Documents to require a pre-installation meeting and/or as required by the Owner’s Representative.  Notify Owner's Representative at least ten (10) working days in advance of each pre-installation meeting.  Meeting examples include, but not by way of limitation:

- Site clearing and excavation

- Demolition and regulated materials remediation

- Site utilities

- Landscaping and site restoration

- Concrete

- Masonry

- Structural steel

- Exterior cladding systems

- Water and damp proofing and roofing

- Doors, including frames and hardware

- Millwork

- Finishes

- Equipment, including elevators

- Mechanical and Electrical systems, such as high voltage, fire alarm, and communications

- Specialty items

B.	Meeting location:  Contractor’s field office, or as mutually agreed

C.      Participants shall include:

- Contractor's Superintendent, CQC Representative, and Safety and Health Officer as appropriate;

- Subcontractor’s project manager or foreman supervising the Work, as appropriate;

- Owner's Representative;

- A/E and the A/E’s sub-consultants, as appropriate;

- Owner’s consultants as appropriate; and

- Others as appropriate.

D.      Agenda:

- Review of the pre-installation CQC Work Plan and Contract requirements

- Materials - available and ready for use

- Submittals

- Persons responsible for performing the work

- Tests - required tests, criteria for performance, who samples and how often

- Safety procedures and requirements

- Substrate - criteria for substrate

9.     	Other items as appropriate

E.	Contractor shall:  Administer the meeting, and record and distribute copies of the minutes within seven (7) days of each meeting to all meeting participants.

1.5	CHANGE ORDER MEETINGS

A.	Change order meetings shall be held to review and resolve any change order proposals, change order requests, or other change order issues pertaining to Contract Modification.  Meetings shall be held monthly until all Change Order Proposals are resolved.

B.	Meeting location:  Owner’s field office, or as mutually agreed

C.	Participants shall include:

- Contractor's Project Manager, or cost engineer as appropriate;

- Owner's Representative;

- A/E and the A/E’s sub-consultants, as appropriate; and

- Others, including the Owner’s consultants as appropriate.

D.	Owner’s Representative will:  Administer the meeting

E.	Agenda:  Review Change Order Proposals for scope and estimated costs, and negotiate Change Order Proposal prices.

1.6	DRAFT APPLICATION FOR PAYMENT REVIEW MEETINGS

A.	Draft Application for Payment review meetings shall occur monthly.

B.	Meeting location:  Owner’s field office, or as mutually agreed

C.	Participants shall include:

- Contractor's Project Manager;

- Owner's Representative;

- A/E and A/E’s sub-consultants, as appropriate; and

- Owner’s consultants as appropriate.

D.	Owner’s Representative will:  Administer the meeting.

E.	Contractor shall:  Present the draft monthly Application for Payment together with required back up information for review and comment by the Owner and A/E.

G.	Agenda - Discussion will pertain to items such as:

1.	Percent of work complete

2.	Off-site storage

3.	Bill of quantities

4.	Percentage of subcontract payment allocations

5.	Apprentice Utilization and Journey Level Report

1.7	 A/E FIELD REPORT MEETINGS

A.	A/E Field report meetings shall occur monthly until Substantial Completion.

B.	Meeting location:  Owner’s field office, or as mutually agreed

C.	Participants shall include:

- Contractor's Project Manager and Superintendent;

- Subcontractor representative(s) as appropriate;

- Owner's Representative;

- A/E and the A/E’s sub-consultants, as appropriate; and

- Owner’s consultants as appropriate.

D.	Contractor shall:  Administer the meeting and establish, maintain and provide a log of field report items, in a format acceptable to the Owner, documenting the action/resolution of all A/E field observations.

E.	A/E will:  Call attention to the Contractor and Owner discrepancies in the Work, documented in the Contract Documents and field reports.

F.	Agenda:  Discussion will pertain to unresolved field report issues including, but not limited to, the quality of the Work, missing or incomplete work elements, and corrective actions.

  - COMMISSIONING MEETINGS DURING CONSTRUCTION

- Regular, on-site commissioning meetings shall occur weekly during the start-up and commissioning phase of the Work.

B.	Meeting location:  To be determined.

C.	Commissioning Authority will:  Administer the meetings.

- Refer to Section 01 91 00 – “General Commissioning Requirements” for additional meetings that the Contractor shall participate in as well as the typical agenda for those meetings.

1.9	SPECIAL MEETINGS

A.	Special meetings may be called at the discretion of the Owner or Contractor for the purpose of coordinating specific information or resolving special issues related to the Project.

B.	Contractor shall record and distribute copies of the minutes within three (3) days of the meeting to all meeting participants.

__________________________________________________________________________________

Specifier – Add the following 1.10 meeting for projects with LEED requirements.

__________________________________________________________________________________

  - LEED MEETINGS

- LEED meetings shall occur monthly until Final Completion is achieved or until LEED documentation is complete, submitted on-line to the Green Building Certificate Institute (GBCI), and is acceptable to the Owner, whichever is sooner.

- Meeting location:  To be determined.

- Participants shall include:

- Contractor’s LEED Coordinator, and Project Manager as appropriate;

- Owner’s Sustainability Manager, and Owner’s Representative as appropriate;

- A/E and A/E’s sub-consultants, as appropriate;

- Contractor shall:  Administer the meeting and record and distribute copies of the minutes prior to the next meeting to all participants and provide copies at each meeting.

- Agenda - Contractor shall review:

- The Contractor and Owner shall review the LEED Site and Field Binder documentation for completeness and accuracy.

- LEED construction procedures and management plans, and the preparation of GBCI on-line forms.

PART 2 - PRODUCTS (Not Used)

PART 3 - EXECUTION (Not Used)

END OF SECTION