Specifier - Discuss with University Project Manager whether to include this Section.

____________________________________________________________________________________________

PART 1 - GENERAL

1.1	SUMMARY

- Furnish, install and maintain on-site Project identification signage.

- Allow no other corporate or project signage to be displayed, except if approved by Owner

1.2	SUBMITTALS

A.	Design Data:  Submit sign construction details.  Where text may not be detailed, show layout of required information as directed by Owner.  Indicate margins, borders, spacing, and the like.

Specifier - The drawing in Appendix A is an example of the approved Project identification sign. Modify and incorporate into the Contract Documents, as appropriate.  Any design modification shall be approved by the University Project Manager.   If Project identification signage is not used, delete from Appendix A - Table of Contents.

PART 2 - PRODUCTS

2.1	PROJECT IDENTIFICATION SIGN

____________________________________________________________________________________

Specifier – Confirm with UW Project Manager if more than one sign is required.

________________________________________________________________________________

A.	One (1) painted sign of the size, graphic design, style of lettering, and construction as indicated or directed by Owner.

1.	Colors include the background and two lettering colors.

B.	Sign shall identify Project, Owner, A/E, and Contractor and primary Subcontractors.

2.2	SIGN MATERIALS

A.	Sign Surfaces:  Exterior softwood 4 x 8 ft. plywood, 3/4" thickness, with medium density overlay.

- Rough Hardware:  Galvanized.

C.	Framing and Supports:  4” x 4” construction.

D.	Paint:  Exterior quality with "bulletin" colors for graphics.  Provide colors for structure, framing, sign surfaces, and graphics, as indicated or directed by Owner.

2.3	FABRICATION

A.	Paint all exposed surfaces with one coat primer and another  coat exterior paint as indicated or directed by Owner.

B.	Paint graphics in styles, sizes, and colors, as indicated or directed by Owner.

PART 3 - EXECUTION

3.1	INSTALLATION

A.	Install identification signage on-site as indicated or at a location of high public visibility as directed by Owner.  Locate in lighted location, if possible.

3.2	MAINTENANCE

- Maintain identification signage in a neat and clean condition.  Repair damages.

- Relocate identification signage as required by the progress of the work.

3.3	REMOVAL

- Remove project identification signage as a requirement of Substantial Completion.

END OF SECTION