PART 1 - GENERAL

1.1 SUMMARY

A.    Description:

1.	This section specifies the standards that the Contractor shall follow for their scope of work related to Facilities Management Data (FM Data) Requirements.  This section also includes information related to documents that are required for operations and maintenance support functions.

2.	This section does not negate any other section that requires Commissioning or Operations and Maintenance Data.

3.	Part 3 includes information about owner of the tools provided for managing the facilities management data and documents.

B.	Related Sections:

1.	Section 01 77 00 – Closeout Procedures

2.	Section 01 91 00 - General Commissioning Requirements

PART 2 - PRODUCTS

2.1 SUBMITTALS

A.    Facility Equipment Information

1.	Content: The Contractor will provide facilities information, that is:

a.	Contact Information (email, company name, website, phone number) per the following:

i.	general contractor(s)

ii.	sub-contractors installing products from ‘equipment information’ section iii.	manufacturers providing equipment from ‘equipment information’ section iv.	Example: info@trane.com, Trane, trane.com, 999.999.9999

b.	Space Information (Provided by Architect): (See Table 01 for example)

i.	room number, room name, floor number, ceiling height, associated floor plans

(Mechanical ductwork and piping, Plumbing, Electrical power)

1.	Example: M107, Main Mechanical Room, 01, 16’, M-102A, M202-A, P-102A, E-102A

2.	The drawings to be cross-referenced shall be the original contracted(awarded) drawings.   If “as-builts” are produced at the end of the project, the updated drawings shall be substituted for the original drawings.

c.	Equipment Information: (See Table 02 for example)

Note: Equipment Groups are typical categories of assets with common characteristics and attributes that match equipment groups in the owner’s operational systems.  Efforts have been made to align the information requested during construction to the format and content of the operational systems that will receive the information after turn-over to operations.  Table 01 is a master list of equipment (or asset) groups that Operations requires to the extent that this equipment is part of the final construction scope of work (new and renovation).

i.	Construction Start Data (Provided by Architect):

- General: equipment name (from plans), equipment location (room number), equipment description (with specific location as applicable), asset group. Example: a) AHU-1, M107, Air Handler, AHU

- Parent: Identify parent (upstream) component equipment as applicable. Parent / child relationships between equipment are critical to operational effectiveness after transition to operations. This information is used in the operational systems by the owner’s facilities management organization.

        - ELEC: this should indicate the electrical panel feeding power to the component (asset / piece of equipment).

          - Example: for AHU-1, the electrical parent is Panel N1L1 (AHU-1 is powered from Panel N1L1)

        - HVAC: This shall indicate the mechanical equipment connections to the component (asset / piece of equipment)

          - Example: for AHU-1, the parent is “N/A”

Example: for VAV-1, the parent is “AHU-1”

- Support Locations: Support locations are the spaces (room numbers) that are impacted by (or supported by) equipment. This information could be limited to one room or multiple rooms. This information aids the operation team after transition to operations by knowing what spaces are affected by equipment that needs to be isolated (shut down) for various reasons. This information shall be provided for all HVAC terminal devices, such as Fan Coil Units and Fan Powered VAV boxes.

ii.	Submittal Data:

1.	General: installer, manufacturer, model, approximate cost, expected life, warranty d. ration, associated approved submittal

a.	Example: HVAC Installers, Trane, C1000, $125,000, 30 years, 5 years, 23 00 10 - Air Handlers.pdf

b.	This is information that will be added to the FM data once submittals are approved and specific equipment information has been determined.

4.	Specific Attributes: For a list of applicable attributes, see Table 02 - Equipment Attributes.  Equipment attributes vary by equipment group (asset group).

a.	Example: air filter: 36”x36”x2” pleated, belt: 24” v notch

b.	Examples of possible attributes are:

i.	filter: type (oil, water, air) & size

iii.	Install Data: serial number, name plate photo, equipment photo

1.	Example: 100045312, AHU1-nameplate.jpg, AHU1.jpg

2.	This information can only be gathered once the equipment has been properly installed in the field. Photos should be taken of the equipment in the final installed condition (not in-process condition); however, the team shall collaborate with the owner on desired expectations prior to taking photos.

iv.  	Close-Out Data: associated commissioning report, associated O&M document, associated warranty document in PDF format

1.	ex: CX-AHU1.pdf, OM-AHU1.pdf, WarrantyAHUs.pdf

d.	Referenced Documents:

i.	Associated electronic files of referenced documents from ‘space information’ and ‘equipment information’.

ii.	Names of electronic files shall match what is referenced in the appropriate fields for document name. This specification does not prescribe a document nomenclature; however, it is expected that owner requirements detailing file naming are used with all referenced documents required in this specification.

- Decommissioned Equipment

- List of equipment (corresponding to list from Table 01 Required Equipment) that was removed from the facility because of demolition or replacement during the project. List shall contain equipment name, location, and asset group.

  - ex: AHU-1, M108, AHU

2.	Deliverable Format: The Contractor will provide facilities information, per the following:

a.	Contact, space, and equipment information shall be provided in spreadsheet format (XLSX, XSL, or CSV) and be an as-built representation. For example, spreadsheet formatted deliverables, see Table 03 - Example Data Format.

b.	Referenced documents shall be provided in electronic format and organized per the following:

i.	Parent folder named by building number and year of substantial completion. (Example: 1416-2013)

ii.	Sub-folders are named by document type (Submittals, O&Ms, Cx, Drawings, As-Builts, Warranties)

iii.	For an example of a spreadsheet formatted document deliverable, see Table 04- Reference Document Example

c.	The Contractor will ensure the Facilities Maintenance Data is formatted appropriately (as Table 03 indicates) for loading into the Owner’s Facilities Maintenance Provider’s Computerized Maintenance Management System (CMMS)

3.	Schedule for Data Development:

The Contractor shall provide equipment information throughout the project as the information becomes available and approved for use.  As seen in a previous section (equipment information), each set of fields is named to indicate the expected phase the data is to be provided. They include: construction startup, submittal phase, install phase, and close-out.

The first set of fields will be those data points that are provided by the Contractor at construction start.  The second set of fields will be those data points that are to be provided by the Contractor during the submittals stage. The third set of fields will be those data points that are to be provided by the Contractor during the install / inspection stage.  The last (fourth) set of fields will be those data points that are to be provided by the Contractor during the close-out stage.

Reasonable milestone dates for each of the four data deliverable phases shall be provided by the Contractor for approval by the Owner at construction start. It is understood that some information may lag in the development cycle for construction, such as the completion of all submittals.  The intent is for the Contractor to make reasonable progress on the FM Data deliverables over the duration of the construction effort and not to defer the effort until the final months of the project. The entirety of the final data is to be completed within two weeks after substantial completion.

4.	Final Deliverable: The Contractor shall provide final deliverables to the owner within two (2) weeks of the substantial completion date.  Deliverable data shall match what is within the web-based tool (the source) and shall be in spreadsheet format (XLS) along with zipped folder of all associated reference files exported from that web-based tool.  Format of deliverables, content, and schedule are addressed in other parts of this specification section.

PART 3 - EXECUTION

3.1 Process

A. Campus-Specific FM Data Execution Requirements

1. UW Seattle

At UW Seattle, Facilities Management (FM) data is managed using the CMMS AiM. All FM data submitted for integration must follow the standardized format used for AiM Asset Sync and Instructions (see Attachment A.1 and A.2) to ensure consistency in asset data, location details, and maintenance records. The designated role responsible for receiving and uploading this data is referred to as the CMMS Manager. For smaller projects involving only a few assets, the FM Data Consultant is not required the UW PM is to reach out to the Asset Manager

2. UW Tacoma

At UW Tacoma, Facilities Management (FM) data is managed using the CMMS eMaintenance as the system of record. All FM data submitted for integration must follow the standardized format used for eMaintenance (see Attachment B). Use the Milgard Hall example” for Tacoma projects to structure asset IDs, locations, and lifecycle fields. Naming conventions should remain consistent. FM data handoff is expected to be delivered before Substantial Completion. The designated role responsible for receiving and uploading this data is referred to as the CMMS Manager also known as the Program Coordinator. For smaller projects involving only a few assets, the FM Data Consultant is not required; instead, data coordination is handled directly by the CMMS Manager within Operations and Maintenance, Tacoma Facilities.

3. UW Bothell

At UW Bothell, Facilities Management (FM) data is managed using the CMMS Megamation DirectLine. All FM data submitted for integration must follow the standardized format used for Bothell and Instructions (see Attachment C.1 and C.2), to ensure consistency in asset data, location details, and maintenance records. The designated role responsible for receiving and uploading this data is referred to as the CMMS Manager also known as the Planning & Systems Manager. For smaller projects involving only a few assets, in case the FM Data Consultant is not required Bothell will handle this internally.

4. UW Medical Center

At UW Medical Center, Facilities Management (FM) data is managed using the CMMS TMS. All FM data submitted for integration must follow the standardized format used for UWMC (see Attachment D), to ensure consistency in asset data, location details, and maintenance records. The designated role responsible for receiving and uploading this data is referred to as the CMMS Manager also known as the CMMS Analyst. For smaller projects involving only a few assets, in case the FM Data Consultant is not required; the UW PM is to reach out   Operations and Maintenance to determine If the consultant is needed

B.    Web-Based Tool For Use

The information in this specification section is presented in tables (originated in XLS format).  However, some critical aspects of the FM Data have relationships that are best managed in a relational database tool (and format). Therefore, a tool (a web-based software) is available to facilitate and simplify the organization of the required data and documents specified by the narrative and tables included herein. The web-based tool provides a means by which the complexities of the requirements can be more readily achieved, managed, verified, and handed over to the Owner during transition to operations and construction contract close-out. The web-based tool has been pre-configured to match the data requirements of the specification in advance for use by the construction team.  That is, pick lists within the tool match the specification requirements, which provides for a measure of build in quality assurance and data validation. The tool also allows for delegation of trade-specific roles to sub-contractors by the Contractor (if so elected by the Contractor).  The tool provides a consistent platform by which the Owner’s project manager and the Owner’s designated facilities management organization can review progress of data and documents across multiple projects that are in-process. The tool also affords the project team and the Owner the production of a consistent deliverable for transition to operations actions across a wide- variety of projects and Contractors.

C.	Submission and Review of Facilities Management Data (FM Data)

a.	The Contractor shall provide the required data fields at the end of each major phase of construction as indicated in the schedule section above and per the related milestone dates approved by the owner.

b.	Data shall be submitted (made available) to owner at the agreed upon milestone dates for review purposes. The owner will review data for accuracy with documents and field conditions by various means.

c.	Following review at various stages, the Owner shall provide the Contractor with an Issue Report. Issue Reports will contain any discovered deviations from field conditions or inaccuracies of facilities data.  Any identified deviations from field conditions (issues) will require the Contractor to correct and resubmit the data within two (2) weeks of receiving the issue report.

D.	Tools:

a.	The Contractor shall maintain the facilities management data within the owner provided tool.  The facilities data tool validates that naming standards from this specification are followed during data collection.  Also, the tool provides constant access to the Owner for on-going review, comment, and export to spreadsheet format.  The tool also allows for access of project information on mobile platforms in the field for data collection and field review purposes.

Table 01 – Example Space Data Format

| Space Information - Tab |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Number | Name | Floor | SF | Ceiling Height | Drawings | Drawings | Drawings | Drawings |
| 100 | LOBBY | 1 | 1413 | 12 | M102-A | M202-A | P102-A | E102-A |
| 101 | FOOD PREP | 1 | 3648 | 12 | M102-A | M202-A | P102-A | E102-A |
| 102 | DINING | 1 | 4516 | 12 | M102-A | M202-A | P102-A | E102-A |
| 103 | IT | 1 | 40 | 12 | M102-A | M202-A | P102-A | E102-A |
| 104 | UNISEX | 1 | 75 | 12 | M102-A | M202-A | P102-A | E102-A |
| 105 | MENS | 1 | 288 | 12 | M102-A | M202-A | P102-A | E102-A |
| 106 | WOMENS | 1 | 289 | 12 | M102-A | M202-A | P102-A | E102-A |
| 110 | MECHANICAL | 1 | 292 | 12 | M102-A | M202-A | P102-A | E102-A |
| 111 | STAIR | 1 | 81 | 12 | M102-B | M202-B | P102-B | E102-B |
| 112 | OFFICE | 1 | 81 | 12 | M102-B | M202-B | P102-B | E102-B |
| 113 | CUSTODIAL | 1 | 257 | 12 | M102-B | M202-B | P102-B | E102-B |
| 114 | OFFICE | 1 | 96 | 12 | M102-B | M202-B | P102-B | E102-B |
| 115 | OFFICE | 1 | 96 | 12 | M102-B | M202-B | P102-B | E102-B |
| 116 | OFFICE | 1 | 96 | 12 | M102-B | M202-B | P102-B | E102-B |
| 117 | OFFICE | 1 | 159 | 12 | M102-B | M202-B | P102-B | E102-B |

Table 02 - Example Data Format

| Equipment Information – Tab |  |  |  |
| --- | --- | --- | --- |
| Name | AHU-1 | FPB-10 | CHWP-1 |
| Location | 146 | 101 | 146 |
| Description | Air Handling Unit | Fan Powered VAV | Pump |
| Asset Group | AHU-LARGE | VAV-FP | PUMP-CIRC |
| Installer | TD INDUSTRIES | TD INDUSTRIES | TD INDUSTRIES |
| Manufacturer | YORK | JOHNSON CONTROLS | PENTAIR |
| Model | ITF-BD20 | GVL-OP-42 | ES-6000-V |
| Original Cost | $30,000 | $750 | $1,000 |
| Expected Life | 15 YEARS | 5 YEARS | 10 YEARS |
| Warranty Term | 5 YEARS | 1 YEAR | 1 YEAR |
| Submittals | 23 73 14.001.0 AHU's (PD-SD) 2012-2- 3.pdf | 23 36 00.001.0 Air Terminal Units (PD) 2012- 1-27.pdf | 23 73 14.001.0 AHU's (PD-SD) 2012- 2-3.pdf |
| Serial | FCJ121004-01 | 700120-12 | 2122403934 |
| NamePlate Photo | AHU-1NP.jpg | FPB-10NP.jpg | CHWP-1NP.jpg |
| Equipment Photo | AHU-1.jpg | FPB-10.jpg | CHWP-1.jpg |
| O&M Files | OM-32 - HVAC-(Air Handler Unit_1).pdf | OM-Air Terminal Units.pdf | OM-Chilled Water Pumps.pdf |
| Cx Files | Cx-32 - HVAC-(Air Handler Unit_1).pdf | Cx-Air Terminal Units.pdf | Cx-Chilled Water Pumps.pdf |
| Warranty File | War-32 - HVAC-(Air Handler Unit_1).pdf | War-Air Terminal Units.pdf | War-Chilled Water Pumps.pdf |
| Elec Parent | N1L1 | N1L3 | N1LDPK1 |
| HVAC Parent |  | AHU-1 |  |
| Support Locations | 100, 101, 102, 103, 104, 105, 106, 110, 111, 112, 113, 114, 115, 116, 117 | 102 |  |
| Attributes1 | air filter: Pleated 48x48 |  |  |
| Attributes1 | supply fan belt: 42” v notch | fan belt: 12" v notch |  |

Table 03 - Reference Document Example

Note – The following directory format is for the electronic files that are part of the deliverable without use of the eO&M.