Gathering Asset Data and Loading it into AiM

UWF will utilize the AssetWorks AssetSync tool to import and export asset data in AiM.  This tool and the required fields will not only create/update asset data in the Asset Management module but will also update asset data in the Asset Needs Analysis (ANA) module.

This is the process that will need to be done:

- Prior to starting, email uwf-am-pm@uw.edu for a list of existing assets in the building.  If it is a new construction, they will email back the templated sheet for adding new assets.

- Use the Asset Sync Template spreadsheet and fill in the requested fields required fields are highlighted in yellow.  You may request the spreadsheet from the Asset Management & Preventative Maintenance team, and after you’ve filled out the spreadsheet, email it back to them at: uwf-am-pm@uw.edu .  Once received they will load it into the system.

- If part of the project is to remove, or demolish existing assets, change the status of that asset in the spreadsheet to DEMOLISHED.

- If part of the project is disconnect the asset from service but leave it in place, then change the status in the spreadsheet to ABANDONDED.

Asset Sync Template Spreadsheet Instructions For Asset Tab

The following is a listing of fields and their description/function within in AiM.  They will be designated as: (R)-Required by AiM to properly function in the Importing process (fields are highlighted in yellow on the spreadsheet); (R)-Required by UWF to leverage the system to its fullest benefit; (O)-Optional field, depending on the asset this information may be required or not.

Asset_tag: (R)-When an import occurs, the system will automatically generate the next number in the sequence for the asset.  This number will be the Asset ID, which is used throughout the system to uniquely identify the asset. But to ensure that other tabs can link data to this asset an unique ID is needed.  It could be the Asset Tag QR Code, if tagging asset, or a sequence number such 01, 02---100.

New_aim_asset: (R)-This is filled in with either a Y (Yes) or N (No).  Y is used when you are creating a new asset that doesn’t exist in the system, if the asset_tag field is blank, then this should be set to Y.  N is used when the asset already exists in the system, if the asset_tag field is already populated with a random number, then this field should be set to N.

Description: (R)-This is the name of the asset.  The format for the naming convention is: FACNUM-Full Name of Asset-Unique Identifier (preferred if identifier matches the identifier from the drawing, otherwise a sequence number will suffice).  Examples: 1111-Electrical Panel-PCD-N2, 1111-Air Handling Unit-2; 1008-Variable Frequency Drive-15.

Asset_Type: (R)-This a classification of the type of Asset, these types can be either: Durable, Serialized, System, Property Component, or Property.  When Assets are being created for Buildings the Asset Type should be set to Property.  All other Assets should have the Asset Type set to Serialized.

Asset_Group: (R)-Asset Groups are a way to group several like assets to together.  There is an initial starting list of Asset Groups to choose from (141 of them), based on Uniformat II (2010) for their groupings.  The names of the Asset Groups will be the common description of the Uniformat II code.  See Appendix 1 for the list of Asset Groups.  If an asset doesn’t fit into one of the Asset Groups, leave this field blank.

Status_Code: (R)-This is the status of the Asset.  Depending on the status of the Asset the system will either allow the asset to be attached to work orders or not.  This will be a pick list, currently the list includes statuses such as: APPROVAL, PARTS ON ORDER, LOTO, OUT OF SERVICE, ABANDONED.  This should be set to the default of OPERATIONAL.

Rentable_yn: (R)-This is a Y or N.  This should just be defaulted to N.

tag_number: (R)-This where the unique QR Code Number is applied.  If QR codes are applied during construction it would be linked via the Asset Management app.

Region_Code: (R)-This is identifying the Region within the Property Module of where the asset is.  Currently the default for anything on the Main campus of Seattle is: SEATTLE MAIN.

Fac-id: (R)-This is also identifying the where the asset is within the Property Module.  Currently the default for anything on the Main campus of Seattle is: SEATTLE MAIN.

Bldg: (R)-This is the further defining where the asset is to the building level.  This would be the FACNUM.

Loc_id: (R)-This is even further defining where the asset is by giving it a room location.  This is optional, as some assets might exist is only one place in a building, such as an Air Handling Unit, or may exist throughout the building, such as Duct Work.

Lockout: (R)-This is indicating if the Asset needs to be locked out or tagged out to perform work on it.  This is a Y (Yes) or N (No).

Manufacture_code: (R)-This is the name of the Manufacturer of the Asset.

Manu_part_number: (R)-This is the Make/Model of the Asset.

Serial_no: (R)-This is the serial number of the asset if it has one.  Example: A pump may have a serial number, but piping may not.

Longitude: (O)-This is where you can record the longitude of an asset. It can be used to help geolocate the asset when pushing data to GIS. Example: -122.303

Latitude: (O)-This is where you can record the latitude of an asset.  It can be used to help geolocate the asset when pushing data to GIS. Example: 47.65597

Altitude: (O)-This is where you can record the altitude of an asset.  It can be used to help geolocate the asset when pushing data to GIS. Example: 29.88533

Planning_group: (R)-This would be selecting from a pick list of Planning Groups that are configured in the ANA module. There are 8 planning groups, 01-Exterior, 02-Interior, 03-Plumbing, 04-HVAC, 05-Fire/Life Safety, 06-Electrical, 07-Site, 08-Vertical Transmission.  In this column place the number for the planning group the asset would belong to (mostly following the Uniformat logic).  For example a elevator would be entered as 08.

Ana_priority: (R)-This would be selecting from a pick list of priorities that are configured in the ANA module. There are 10 priorities, based on a matrix of a business driver and an probability of an impact.  01 is the highest priority, and 10 is the lowest.  Assigning the priority is based on why we would need/want to replace the asset, when it comes due at the end of its life cycle, and what potential impact would there be if we allowed it to become deferred maintenance.  The priorities are: 01-Immediate-Safety, 02-Immediate-Regulatory, 03-Immediate-Strategic, 04-Potential-Safety, 05-Potential-Regulatory, 06-Potential Strategic, 07-Potential-Improvements, 08-Limited-Regulatory, 09-Limited Strategic, 10-Limited-Improvements.  (Note: for asset renewals (since this is for long term planning), almost all of them will most likely be 05 or 06, the difference being whether they are a regulated asset or not)

Year_installed: (R)-This is the year that the asset was actually installed, it may be different from the year the asset was purchased.  For example, you buy a bulk load of VFD’s in 2017, but this particular VFD isn’t installed until 2018.

Cost_model: (R)-This is list of cost models used within the system to attach to an asset.  Cost Models provide a base price for labor and material on a unit of measure basis.  So if the cost model is based on SF, then the ana_uom should also be in SF, and the ana_quantity should be the total SF.  See list of Cost Models in Appendix 2.

Complexity_factor: (R)-This is used for a calculation for the adjusted renewal cost of the asset in the ANA module.  This is something that can be adjusted on a case by case basis.  So the default setting should always be set at 100%, all you need to enter in this field is 100.

Base_year: (R)-This is also used for the calculation for the adjusted renewal cost of the asset in the ANA module. The base year is the current last year in which an inflation rate has been set in the system.  Since we’re just starting out, use 2021 as the base year.  Current plan is that once a FY the inflation rates will be updated, if an update occurs in 2022, then the base year would need to change to 2022 for new assets added to the system after the change over date.

Physical_Life: (O)-This is the number of years that you expect to Asset to be in service out in the field.  For example: if you expect the VFD to be in the field for 15 years, then you’d enter 15.  If Cost Models are used then this filed is not needed.

Ana_uom: (R)-This is the unit of measure of the asset, this will be a pick list, such as: Each, Linear Feet, etc. These must match the Cost Model’s UOM.  Example: A Pump’s cost model is based on HP, so you’d put HP in this column.

Ana_qty: (R)-This is a quantity of the Asset, this is simply a count based on the unit of measure.  For example, if the unit of measure is Each, the quantity might be 1.  Or if the unit of measure is Linear Feet, then quantity might be 328.

Renewal_cost: (O)-This is the renewal or replacement cost.  If you had replace this asset how much would it cost?  If Cost Models are assigned, then this field is not needed.

af1: (O)-This is for work tag identification, this column is for Company, default UW1861

af2: (O)-This is for work tag identification, this column is for Cost Center.

af3: (O)-This is for work tag identification, this column is for Resource.

af4: (O)-This is for work tag identification, this column is for Fund

af5: (O)-This is for work tag identification, this column is for Project.

af6: (O)-This is for work tag identification, this column is for Program.

af7: (O)-This is for work tag identification, this column is for Grant.

af8: (O)-This is for work tag identification, this column is for Gift.

af9: (O)-This is for work tag identification, this column is for Activity.

af10: (O)-This is for work tag identification, this column is for Assignee.

Asset Sync Template Spreadsheet Instructions For UDF Tab

In an effort create a reporting structure and simplify the Asset Hierarchy, a proposed plan for using the Classification Standards within AiM will be discussed in the APT group for Asset Standards.

asset_tag: (R)-This is the Asset ID from the Assets Tab (for new assets this won’t exist, may have to start with just a sequence that matches the Assets Tab sequence)

Remaining Columns: are all labeled in sequential order of custom001, custom002…custom060.  We currently have some UDF’s created, that has critical cross reference data is if the asset also has a State Identification Number.  If so, then we want to capture that ID in UDF Custom007.

custom007: (O)-State ID Number.  Some assets, such as Pressure Vessels and Elevators must be registered with State of Washington.  Once registration has occurred the state provides a unique identifier that does not match any naming or numbering convention that UW uses.

Asset Sync Template Spreadsheet Instructions For Accounts Tab

In an effort to record which account setup should be used to charge work on that asset, we can assign account information in the Account Tab.

asset_tag: (O)-This is the Asset ID from the Assets Tab (for new assets this won’t exist, may have to start with just a sequence that matches the Asset Tab Sequence).

seq: (O)-If an asset has a split between multiple accounts, you would sequence the accounts by which to charge first, second, third etc.  Most assets will have only one account, so the sequence would be 1.

funding_code: (O)-This is the primary account information for that asset.

sub_code: (O)-This is a required field that we don’t use, so the default will always be NONE.

sub_ledger: (O)-This is a assigns what kind of charges can be applied, Material, Labor, Contract or All.  The default is all, which is represented in the spreadsheet as A.

sub_percent: (O)-This is how much should be applied to each account assigned to the asset.  If there is only one account then it will be 100.  If there are multiple accounts you’d split them as needed (50/50, or 70/30, etc.)

locked_dist: (O)-This is a required field that has set default of N.

Asset Sync Template Spreadsheet Instructions For Attributes Tab

All Asset Groups now have the same list and sequence of Attributes lists in an effort to simplify the data collection and data management.  Like other tabs Yellow Highlighted columns are required, grey are optional.  On this tab all grey fields are text fields.  (Note: When filling out this sheet, not all 32 Attributes will apply to all Assets, so you don’t have to create a line item for things that don’t apply.  Example: Elevators don’t have any Refrigerant so you could create line items for sequence 10, 20, 30, (skip 40-90) and then start entering again at 100). The columns are:

asset_tag: (R)-the asset id number same one used from the Asset tab

sequecnce: (R)-is a number 10 through 320 by 10’s

asset_type: (R)-is the asset type, which is a default value of Serialized

asset_group: (R)-is the asset group, which needs to match the asset group from the Asset Tab

attr_id: (R)-is the Attribute ID, which is a number 1 through 32, and matches the sequence, so a sequence 10 is a attribute 1 and sequence 20 is an attribute 2 and so on.

Attr_value: (R)- is an open text field where you put in the information for each attribute (see the key below)

| Attribute Sequence | Attribute Value |
| --- | --- |
| 10 | Elevator Type |
| 20 | Elevator Capacity (LBS) |
| 30 | Elevator Speed/Traction |
| 40 | Refrigerant Type |
| 50 | Refrigerant Capacity (LBS) |
| 60 | >50 LBS Refrigerant |
| 70 | Glycol |
| 80 | Charge (PSI) |
| 90 | Leakage Rate |
| 100 | Voltage |
| 110 | Phases |
| 120 | Hertz |
| 130 | Ampres |
| 140 | Watts |
| 150 | Kilowatts |
| 160 | Megawatts |
| 170 | Kilovolt Ampres (KVA) |
| 180 | Pressure Vessel Type |
| 190 | Safety Valve (SV) Setting |
| 200 | Pressure Vessel Capacity (Gallon) |
| 210 | Belts |
| 220 | Bearings |
| 230 | Shives |
| 240 | Lubrication |
| 250 | Filters |
| 260 | Horsepower (HP) |
| 270 | British Thermal Unit (BTU/KW) |
| 280 | British Thermal Unit/Hour |
| 290 | A Thousand BTU’s (MBH) |
| 300 | Gallons Per Minute |
| 310 | Cubic Feet Per Minute |
| 320 | Tons |

Asset Sync Template Spreadsheet Instructions For Classification Tab

The System allows us to enter in different Classification Standards and then apply those standards to Assets.  Currently we’ve only entered Uniformat II (2010).  And we’ve only entered in data to the Level 4 of that Standard.  For each asset, you put in the Asset ID, the standard, and at each level enter in the level code.

asset_tag: (R)-the asset id number same one used from the Asset tab

class_stanadard: (R)-enter in the classification standard, the default is UNIFORMAT 2010

level_1: (R)-first level of the classification standard

level_2: (R)-second level of the classification standard

level_3: (R)-third level of the classification standard

level_4: (R)-fourth level of the classification standard

level_5: (O)-fifth level of the classification standard

level_6: (O)-sixth level of the classification

Appendix 1 Asset Groups

| Asset Group | Description |
| --- | --- |
| B1080 | Stairs |
| B1080.60 | Fire Escapes |
| B1080.80 | Ladders |
| B2010 | Exterior Walls |
| B2010.10 | Exterior Wall Veneer |
| B2010.50 | Parapets |
| B2010.60 | Equipment Screens |
| B2020 | Exterior Windows |
| B2050 | Exterior Doors and Grills |
| B2050.10 | Exterior Entrance Doors |
| B2050.70 | Exterior Gates |
| B2070 | Exterior Louvers and Vents |
| B2080 | Exterior Wall Appurtenances |
| B2080.50 | Exterior Balcony Walls and Railings |
| B2080.70 | Exterior Fabrications |
| B2080.80 | Bird Control Devices |
| B3010 | Roofing |
| B3020 | Roof Appurtenances |
| C1010 | Interior Partitions |
| C1020 | Interior Windows |
| C1030 | Interior Doors |
| C1030.70 | Interior Special Function Doors |
| C1040 | Interior Grills and Gates |
| C1070 | Suspended Ceiling Construction |
| C1090.50 | Fireplaces and Stoves |
| C1090.60 | Safety Specialties |
| C2030 | Flooring |
| C2050 | Ceiling Finishes |
| D1010 | Vertical Conveying Systems |
| D1010.10 | Elevators |
| D1010.20 | Lifts |
| D1030 | Horizontal Conveying |
| D1050 | Material Handling |
| D1050.10 | Cranes |
| D1050.2 | Hoists |
| D1080 | Operable Access Systems |
| D1080.10 | Suspended Scaffolding |
| D1080.30 | Elevating Platforms |
| D2010 | Domestic Water Distribution |
| D2010.10 | Facility Potable-Water Storage Tanks |
| D2010.65 | Emergency Eyewash & Emergency Showers |
| D2010.80 | Drinking Fountains & Water Coolers |
| D2010.90 | Domestic Water Distribution Supplementary Components |
| D2020 | Sanitary Drainage |
| D2030 | Building Support Plumbing Systems |
| D2030.10 | Storm water Drainage Equipment |
| D2050 | General Service Compressed Air |
| D2060 | Process Support Plumbing Systems |
| D2060.50 | Processed Water Systems |
| D2060.90 | Process Support Plumbing System Supplementary Components |
| D3010 | Facility Fuel Systems |
| D3020 | Heating Systems |
| D3030 | Cooling Systems |
| D3030.10 | Central Cooling |
| D3050 | Facility HVAC Distribution Systems |
| D3050.10 | Facility Hydronic Distribution |
| D3050.30 | Facility Steam Distribution |
| D3050.50 | HVAC Air Distribution |
| D3050.50.10 | Air Handling Units |
| D3060 | Ventilation |
| D3060.60 | Air-to-Air Energy Recovery |
| D3060.70 | HVAC Air Cleaning |
| D4010 | Fire Suppression |
| D4030 | Fire Protection Specialties |
| D5010 | Facility Power Generation |
| D5010.10 | Packaged Generator Assemblies |
| D5010.15 | Uninterruptible Power Supply (UPS) |
| D5010.70 | Transfer Switches |
| D5020 | Electrical Service and Distribution |
| D5020.13 | Transformers |
| D5020.14 | Switchgear & Switchboards |
| D5020.30 | Power Distribution |
| D5020.31 | Switchboards |
| D5020.32 | Panelboards |
| D5020.33 | Motor-Control Centers |
| D5030 | General Purpose Electrical Power |
| D5040 | Lighting |
| D5080 | Miscellaneous Electrical Systems |
| D5080.10 | Lighting Protection |
| D6010 | Data Communications |
| D6010.30 | Data Communications Peripheral Data Equipment |
| D6020 | Voice Communications |
| D6030 | Audio-Video Communication |
| D7010 | Access Control and Intrusion Detection |
| D7010.10 | Access Control |
| D7030 | Electronic Surveillance |
| D7050 | Detection and Alarm |
| D7050.10 | Fire Detection and Alarm |
| D7050.50 | Refrigeration Detection and Alarm |
| D7070 | Electronic Monitoring and Control |
| D8010 | Integrated Automation Facility Controls |
| D8010.90 | Integrated Automation Supplementary Components |
| E1010 | Vehicle and Pedestrian Equipment |
| E1030 | Commercial Equipment |
| E1030.30 | Refrigerated Display Equipment |
| E1030.40 | Maintenance Equipment |
| E1030.55 | Unit Kitchens |
| E1030.80 | Food Service Equipment |
| E1040 | Institutional Equipment |
| E1040.20 | Healthcare Equipment |
| E1040.60 | Security Equipment |
| E1060 | Residential Equipment |
| E1070 | Entertainment and Recreational Equipment |
| E1090 | Other Equipment |
| E1090.10 | Solid Waste Handling Equipment |
| E1090.60 | Decontamination Equipment |
| E2010 | Fixed Furnishings |
| E2010.10 | Fixed Art |
| F1010.52 | Controlled Environment Rooms |
| F1050 | Special Facility Components |
| F1050.10 | Pools |
| F1050.70 | Animal Containment |
| G1070 | Site Earthwork |
| G1070.70 | Wetlands |
| G2010 | Roadways |
| G2010.40 | Roadways Appurtenances |
| G2020 | Parking Lots |
| G2030 | Pedestrian Plazas and Walkways |
| G2060 | Site Development |
| G2060.25 | Site Furnishings |
| G2060.60 | Retaining Walls |
| G2060.70 | Site Bridges |
| G2080 | Landscaping |
| G3010 | Water Utilities |
| G3010.15.3 | Fire Hydrants |
| G3020 | Sanitary Sewerage Utilities |
| G3020.20 | Sanitary Sewerage Piping |
| G3020.50 | Sanitary Sewerage Structures |
| G3030 | Storm Drainage Utilities |
| G3030.10 | Storm Drainage Utility Connection |
| G3030.11 | Manholes |
| G3030.41 | Catch Basins |
| G3030.43 | Water Quality Features |
| G3050 | Site Energy Distribution |
| G3060 | Site Fuel Distribution |
| G4010 | Site Electrical Distribution Systems |
| G4050 | Site Lighting |
| G5010 | Site Communications Systems |
| G5010.10 | Site Communications Structures |
| G9010 | Tunnels |

Appendix 2 Cost Models

| Model | Description | UOM |
| --- | --- | --- |
| AC01 | AIR COMPRESSOR SYSTEM - R-HVAC CONTROLS (<=6 TOTAL HP) | HP |
| AC02 | AIR COMPRESSOR SYSTEM - R-HVAC CONTROLS (7-10 TOTAL HP) | HP |
| AC03 | AIR COMPRESSOR SYSTEM - R-HVAC CONTROLS (>10 TOTAL HP) | HP |
| AD01 | AIR DRYER, REFRIGERATED (0-10 CFM) | EA |
| AD02 | AIR DRYER, REFRIGERATED (11-25 CFM) | EA |
| AD03 | AIR DRYER, REFRIGERATED (26-50 CFM) | EA |
| AD04 | AIR DRYER, REFRIGERATED (51-75 CFM) | EA |
| AD05 | AIR DRYER, REFRIGERATED (76-100 CFM) | EA |
| AD06 | AIR DRYER, REFRIGERATED (101-150 CFM) | EA |
| AD07 | AIR DRYER, REFRIGERATED (0-10 CFM) | EA |
| AD08 | AIR DRYER, REFRIGERATED (11-25 CFM) | EA |
| AD09 | AIR DRYER, REFRIGERATED (26-50 CFM) | EA |
| AD10 | AIR DRYER, REFRIGERATED (51-75 CFM) | EA |
| AD11 | AIR DRYER, REFRIGERATED (76-100 CFM) | EA |
| AD12 | AIR DRYER, REFRIGERATED (101-150 CFM) | EA |
| AH01 | AIR HANDLING UNIT - INDOOR (.5-1.25 HP) | HP |
| AH02 | AIR HANDLING UNIT - INDOOR (1.26-1.75 HP) | HP |
| AH03 | AIR HANDLING UNIT - INDOOR (1.76-2.75 HP) | HP |
| AH04 | AIR HANDLING UNIT - INDOOR (2.76-3.25 HP) | HP |
| AH05 | AIR HANDLING UNIT - INDOOR (3.26-6 HP) | HP |
| AH06 | AIR HANDLING UNIT - INDOOR (7-9 HP) | HP |
| AH07 | AIR HANDLING UNIT - INDOOR (10-12 HP) | HP |
| AH08 | AIR HANDLING UNIT - INDOOR (13-17 HP) | HP |
| AH09 | AIR HANDLING UNIT - INDOOR (18-23 HP) | HP |
| AH10 | AIR HANDLING UNIT - INDOOR (24-27 HP) | HP |
| AH11 | AIR HANDLING UNIT - INDOOR (28-35 HP) | HP |
| AH12 | AIR HANDLING UNIT - INDOOR (36-45 HP) | HP |
| AH13 | AIR HANDLING UNIT - INDOOR (46-63 HP) | HP |
| AH14 | AIR HANDLING UNIT - INDOOR (64-88 HP) | HP |
| AH15 | AIR HANDLING UNIT - INDOOR (>88 HP) | HP |
| AH16 | AIR HANDLING UNIT - OUTDOOR PACKAGE (.75-1.5 HP) | HP |
| AH17 | AIR HANDLING UNIT - OUTDOOR PACKAGE (1.6-5 HP) | HP |
| AH18 | AIR HANDLING UNIT - OUTDOOR PACKAGE (6-8 HP) | HP |
| AH19 | AIR HANDLING UNIT - OUTDOOR PACKAGE (9-12 HP) | HP |
| AH20 | AIR HANDLING UNIT - OUTDOOR PACKAGE (13-17 HP) | HP |
| AH21 | AIR HANDLING UNIT - OUTDOOR PACKAGE (>17 HP) | HP |
| AH22 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (<=85 MBH INPUT) | MBH |
| AH23 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (86-108 MBH INPUT) | MBH |
| AH24 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (109-140 MBH INPUT) | MBH |
| AH25 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (141-208 MBH INPUT) | MBH |
| AH26 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (209-263 MBH INPUT) | MBH |
| AH27 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (264-413 MBH INPUT) | MBH |
| AH28 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (414-525 MBH INPUT) | MBH |
| AH29 | AIR HANDLING UNIT - OUTDOOR MAKEUP, GAS (>525 MBH INPUT) | MBH |
| AH30 | ENTHALPY WHEEL, ENERGY RECOVERY, AIR TO AIR (<=2,000 CFM) | CFM |
| AH31 | ENTHALPY WHEEL, ENERGY RECOVERY, AIR TO AIR (2,001-6,000 CFM) | CFM |
| AH32 | ENTHALPY WHEEL, ENERGY RECOVERY, AIR TO AIR (6,001-20,000 CFM) | CFM |
| AH33 | ENTHALPY WHEEL, ENERGY RECOVERY, AIR TO AIR (>20,000 CFM) | CFM |
| AH34 | COMPUTER ROOM AC UNIT - GLYCOL, EXCL. HEAT REJECTION | TON |
| AH35 | COMPUTER ROOM AC UNIT - REFRIGERANT, EXCL. HEAT REJECTION (<=3 TON) | TON |
| AH36 | COMPUTER ROOM AC UNIT - REFRIGERANT, EXCL. HEAT REJECTION (4-10 TON) | TON |
| AH37 | COMPUTER ROOM AC UNIT - REFRIGERANT, EXCL. HEAT REJECTION (11-20 TON) | TON |
| AH38 | COMPUTER ROOM AC UNIT - REFRIGERANT, EXCL. HEAT REJECTION (>20 TON) | TON |
| AH39 | COMPUTER ROOM AC UNIT - CHILLED WATER (<=5 TON) | TON |
| AH40 | COMPUTER ROOM AC UNIT - CHILLED WATER (6-10 TON) | TON |
| AH41 | COMPUTER ROOM AC UNIT - CHILLED WATER (11-20 TON) | TON |
| AH42 | COMPUTER ROOM AC UNIT - CHILLED WATER (21-30 TON) | TON |
| AH43 | COMPUTER ROOM AC UNIT - CHILLED WATER (>30 TON) | TON |
| AH44 | HEAT PUMP, WATER-SOURCE | TON |
| AH45 | HUMIDIFIER, STEAM INJECTION | EA |
| AH46 | HUMIDIFIER, ELECTRIC, POINT-OF-USE | EA |
| AH47 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (<=50 CFM) | CFM |
| AH48 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (51-150 CFM) | CFM |
| AH49 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (151-600 CFM) | CFM |
| AH50 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (601-1,125 CFM) | CFM |
| AH51 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (1,126-2,250 CFM) | CFM |
| AH52 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (2,251-4,500 CFM) | CFM |
| AH53 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (4,501-9,000 CFM) | CFM |
| AH54 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (9,001-15,000 CFM) | CFM |
| AH55 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (15,001-20,000 CFM) | CFM |
| AH56 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (20,001-30,000 CFM) | CFM |
| AH57 | DEHUMIDIFIER SYSTEM, DESICCANT WHEEL (>30,000 CFM) | CFM |
| AI01 | INSULATION, ATTIC, ROLLED OR BLOWN-IN | SF |
| BA01 | CONTROLS - TERMINAL ASSEMBLIES - COURTHOUSE | SF |
| BA02 | CONTROLS - TERMINAL ASSEMBLIES - CLASSROOM | SF |
| BA03 | CONTROLS - TERMINAL ASSEMBLIES - DATA CENTER | SF |
| BA04 | CONTROLS - TERMINAL ASSEMBLIES - DORMITORY | SF |
| BA05 | CONTROLS - TERMINAL ASSEMBLIES - FOOD SERVICE FACILITY | SF |
| BA06 | CONTROLS - TERMINAL ASSEMBLIES - GYMNASIUM | SF |
| BA07 | CONTROLS - TERMINAL ASSEMBLIES - HOTEL | SF |
| BA08 | CONTROLS - TERMINAL ASSEMBLIES - JAIL / CORRECTIONS | SF |
| BA09 | CONTROLS - TERMINAL ASSEMBLIES - LABORATORY, WET | SF |
| BA10 | CONTROLS - TERMINAL ASSEMBLIES - LIBRARY | SF |
| BA11 | CONTROLS - TERMINAL ASSEMBLIES - MEDICAL CLINIC | SF |
| BA12 | CONTROLS - TERMINAL ASSEMBLIES - HOSPITAL | SF |
| BA13 | CONTROLS - TERMINAL ASSEMBLIES - MEDICAL RESIDENCE | SF |
| BA14 | CONTROLS - TERMINAL ASSEMBLIES - OFFICE | SF |
| BA15 | CONTROLS - TERMINAL ASSEMBLIES - PARKING STRUCTURE | SF |
| BA16 | CONTROLS - TERMINAL ASSEMBLIES - RELIGIOUS FACILITY | SF |
| BA17 | CONTROLS - TERMINAL ASSEMBLIES - RESIDENCE | SF |
| BA18 | CONTROLS - TERMINAL ASSEMBLIES - RETAIL | SF |
| BA19 | CONTROLS - TERMINAL ASSEMBLIES - SCHOOL K-12 | SF |
| BA20 | CONTROLS - TERMINAL ASSEMBLIES - SHOPS / TRADES, DRY LABORATORY | SF |
| BA21 | CONTROLS - TERMINAL ASSEMBLIES - STUDENT UNION | SF |
| BA22 | CONTROLS - TERMINAL ASSEMBLIES - THEATER | SF |
| BA23 | CONTROLS - TERMINAL ASSEMBLIES - WAREHOUSE | SF |
| BA24 | CONTROLS - FIELD PANELS/OPS SOFTWARE - COURTHOUSE | SF |
| BA25 | CONTROLS - FIELD PANELS/OPS SOFTWARE - CLASSROOM | SF |
| BA26 | CONTROLS - FIELD PANELS/OPS SOFTWARE - DATA CENTER | SF |
| BA27 | CONTROLS - FIELD PANELS/OPS SOFTWARE - DORMITORY | SF |
| BA28 | CONTROLS - FIELD PANELS/OPS SOFTWARE - FOOD SERVICE FACILITY | SF |
| BA29 | CONTROLS - FIELD PANELS/OPS SOFTWARE - GYMNASIUM | SF |
| BA30 | CONTROLS - FIELD PANELS/OPS SOFTWARE - HOTEL | SF |
| BA31 | CONTROLS - FIELD PANELS/OPS SOFTWARE - JAIL / CORRECTIONS | SF |
| BA32 | CONTROLS - FIELD PANELS/OPS SOFTWARE - LABORATORY | SF |
| BA33 | CONTROLS - FIELD PANELS/OPS SOFTWARE - LIBRARY | SF |
| BA34 | CONTROLS - FIELD PANELS/OPS SOFTWARE - MEDICAL CLINIC | SF |
| BA35 | CONTROLS - FIELD PANELS/OPS SOFTWARE - HOSPITAL | SF |
| BA36 | CONTROLS - FIELD PANELS/OPS SOFTWARE - MEDICAL RESIDENCE | SF |
| BA37 | CONTROLS - FIELD PANELS/OPS SOFTWARE - OFFICE | SF |
| BA38 | CONTROLS - FIELD PANELS/OPS SOFTWARE - PARKING STRUCTURE | SF |
| BA39 | CONTROLS - FIELD PANELS/OPS SOFTWARE - RELIGIOUS FACILITY | SF |
| BA40 | CONTROLS - FIELD PANELS/OPS SOFTWARE - RESIDENCE | SF |
| BA41 | CONTROLS - FIELD PANELS/OPS SOFTWARE - RETAIL | SF |
| BA42 | CONTROLS - FIELD PANELS/OPS SOFTWARE - SCHOOL K-12 | SF |
| BA43 | CONTROLS - FIELD PANELS/OPS SOFTWARE - SHOPS / TRADES | SF |
| BA44 | CONTROLS - FIELD PANELS/OPS SOFTWARE - STUDENT UNION | SF |
| BA45 | CONTROLS - FIELD PANELS/OPS SOFTWARE - THEATER | SF |
| BA46 | CONTROLS - FIELD PANELS/OPS SOFTWARE - WAREHOUSE | SF |
| BA47 | CONTROLS - MAJOR INSTRUMENTATION - COURTHOUSE | SF |
| BA48 | CONTROLS - MAJOR INSTRUMENTATION - CLASSROOM | SF |
| BA49 | CONTROLS - MAJOR INSTRUMENTATION - DATA CENTER | SF |
| BA50 | CONTROLS - MAJOR INSTRUMENTATION - DORMITORY | SF |
| BA51 | CONTROLS - MAJOR INSTRUMENTATION - FOOD SERVICE FACILITY | SF |
| BA52 | CONTROLS - MAJOR INSTRUMENTATION - GYMNASIUM | SF |
| BA53 | CONTROLS - MAJOR INSTRUMENTATION - HOTEL | SF |
| BA54 | CONTROLS - MAJOR INSTRUMENTATION - JAIL / CORRECTIONS | SF |
| BA55 | CONTROLS - MAJOR INSTRUMENTATION - LABORATORY | SF |
| BA56 | CONTROLS - MAJOR INSTRUMENTATION - LIBRARY | SF |
| BA57 | CONTROLS - MAJOR INSTRUMENTATION - MEDICAL CLINIC | SF |
| BA58 | CONTROLS - MAJOR INSTRUMENTATION - HOSPITAL | SF |
| BA59 | CONTROLS - MAJOR INSTRUMENTATION - MEDICAL RESIDENCE | SF |
| BA60 | CONTROLS - MAJOR INSTRUMENTATION - OFFICE | SF |
| BA61 | CONTROLS - MAJOR INSTRUMENTATION - PARKING STRUCTURE | SF |
| BA62 | CONTROLS - MAJOR INSTRUMENTATION - RELIGIOUS FACILITY | SF |
| BA63 | CONTROLS - MAJOR INSTRUMENTATION - RESIDENCE | SF |
| BA64 | CONTROLS - MAJOR INSTRUMENTATION - RETAIL | SF |
| BA65 | CONTROLS - MAJOR INSTRUMENTATION - SCHOOL K-12 | SF |
| BA66 | CONTROLS - MAJOR INSTRUMENTATION - SHOPS / TRADES | SF |
| BA67 | CONTROLS - MAJOR INSTRUMENTATION - STUDENT UNION | SF |
| BA68 | CONTROLS - MAJOR INSTRUMENTATION - THEATER | SF |
| BA69 | CONTROLS - MAJOR INSTRUMENTATION - WAREHOUSE | SF |
| BF01 | BACKFLOW PREVENTER (<=1 INCH) | EA |
| BF02 | BACKFLOW PREVENTER (1.1-2 INCHES) | EA |
| BF03 | BACKFLOW PREVENTER (2.1-3 INCHES) | EA |
| BF04 | BACKFLOW PREVENTER (3.1-4 INCHES) | EA |
| BF05 | BACKFLOW PREVENTER (4.1-6 INCHES) | EA |
| BF06 | BACKFLOW PREVENTER (6.1-8 INCHES) | EA |
| BF07 | BACKFLOW PREVENTER (>8 INCHES) | EA |
| BL04 | BOILER - GAS/OIL (<=2,000 MBH) | MBH |
| BL05 | BOILER - GAS/OIL (>2,000 MBH) | MBH |
| BL06 | DEAERATOR SYSTEM | MBH |
| BL07 | BOILER FEED WATER PUMP SYSTEM (<=10,000 MBH) | MBH |
| BL08 | BOILER FEED WATER PUMP SYSTEM (>10,000 MBH) | MBH |
| BL09 | CHEMICAL FEEDER - BOILER FEED WATER | MBH |
| BL10 | BOILER - ELECTRIC (<=30 MBH) | MBH |
| BL11 | BOILER - ELECTRIC (31-60 MBH) | MBH |
| BL12 | BOILER - ELECTRIC (61-150 MBH) | MBH |
| BL13 | BOILER - ELECTRIC (151-310 MBH) | MBH |
| BL14 | BOILER - ELECTRIC (311-2,100 MBH) | MBH |
| BL15 | BOILER - ELECTRIC (2,100-10,150 MBH) | MBH |
| BL16 | BOILER - ELECTRIC (>10,150 MBH) | MBH |
| BL17 | BOILER - OIL (<=140 MBH) | MBH |
| BL18 | BOILER - OIL (141-660 MBH) | MBH |
| BL19 | BOILER - OIL (661-2,040 MBH) | MBH |
| BL20 | BOILER - OIL (>2,040 MBH) | MBH |
| BL21 | BOILER - GAS (<=80 MBH) | MBH |
| BL22 | BOILER - GAS (81-130 MBH) | MBH |
| BL23 | BOILER - GAS (131-220 MBH) | MBH |
| BL24 | BOILER - GAS (221-410 MBH) | MBH |
| BL25 | BOILER - GAS (411-800 MBH) | MBH |
| BL26 | BOILER - GAS (801-1,500 MBH) | MBH |
| BL27 | BOILER - GAS (1,501-2,400 MBH) | MBH |
| BL28 | BOILER - GAS (2,401-3,500 MBH) | MBH |
| BL29 | BOILER - GAS (3,501-5,800 MBH) | MBH |
| BL30 | BOILER - GAS (5,801-10,000 MBH) | MBH |
| CH01 | CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (<=150 TONS) | TON |
| CH02 | CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (151-350 TONS) | TON |
| CH03 | CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (351-550 TONS) | TON |
| CH04 | CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (551-1,000 TONS) | TON |
| CH05 | CHILLER - WATER-COOLED CENTRIFUGAL OR SCREW (>1,000 TONS) | TON |
| CH07 | CHILLER - AIR COOLED PACKAGE (<=35 TONS) | TON |
| CH08 | CHILLER - AIR COOLED PACKAGE (36-75 TONS) | TON |
| CH09 | CHILLER - AIR COOLED PACKAGE (76-150 TONS) | TON |
| CH10 | CHILLER - AIR COOLED PACKAGE (>150 TONS) | TON |
| CH12 | CHILLER - SPLIT RECIPROCATING OR SCROLL (<=15 TONS) | TON |
| CH13 | CHILLER - SPLIT RECIPROCATING OR SCROLL (16-35 TONS) | TON |
| CH14 | CHILLER - SPLIT RECIPROCATING OR SCROLL (36-75 TONS) | TON |
| CH15 | CHILLER - SPLIT RECIPROCATING OR SCROLL (76-150 TONS) | TON |
| CH16 | CHILLER - SPLIT RECIPROCATING OR SCROLL (>150 TONS) | TON |
| CH17 | CHILLER - STEAM ABSORPTION (<=100 TON) | TON |
| CH18 | CHILLER - STEAM ABSORPTION (101-350 TON) | TON |
| CH19 | CHILLER - STEAM ABSORPTION (>350 TON) | TON |
| CH20 | DRY COOLER - REFRIGERANT OR GLYCOL | TON |
| CK01 | COMMERCIAL KITCHEN EQUIPMENT ESTIMATE BY SQUARE FOOT | SF |
| CN01 | BRIDGE CRANE, 1 GIRDER, 20' SPAN <= 4 TON | TON |
| CN02 | BRIDGE CRANE, 1 GIRDER, 20' SPAN 5-6 TON | TON |
| CN03 | BRIDGE CRANE, 1 GIRDER, 20' SPAN 7-13 TON | TON |
| CN04 | BRIDGE CRANE, 1 GIRDER, 20' SPAN 14-38 TON | TON |
| CN05 | BRIDGE CRANE, 1 GIRDER, 20' SPAN >38 TON | TON |
| CN06 | BRIDGE CRANE, 1 GIRDER, 30' SPAN <= 4 TON | TON |
| CN07 | BRIDGE CRANE, 1 GIRDER, 30' SPAN 5-6 TON | TON |
| CN08 | BRIDGE CRANE, 1 GIRDER, 30' SPAN 7-13 TON | TON |
| CN09 | BRIDGE CRANE, 1 GIRDER, 30' SPAN 14-38 TON | TON |
| CN10 | BRIDGE CRANE, 1 GIRDER, 30' SPAN >38 TON | TON |
| CN11 | BRIDGE CRANE, 1 GIRDER, 40' SPAN <= 4 TON | TON |
| CN12 | BRIDGE CRANE, 1 GIRDER, 40' SPAN 5-6 TON | TON |
| CN13 | BRIDGE CRANE, 1 GIRDER, 40' SPAN 7-13 TON | TON |
| CN14 | BRIDGE CRANE, 1 GIRDER, 40' SPAN 14-20 TON | TON |
| CN15 | BRIDGE CRANE, 1 GIRDER, 40' SPAN 21-45 TON | TON |
| CN16 | BRIDGE CRANE, 1 GIRDER, 40' SPAN >45 TON | TON |
| CN17 | BRIDGE CRANE, 1 GIRDER, 50' SPAN <= 4 TON | TON |
| CN18 | BRIDGE CRANE, 1 GIRDER, 50' SPAN 4-6 TON | TON |
| CN19 | BRIDGE CRANE, 1 GIRDER, 50' SPAN 7-13 TON | TON |
| CN20 | BRIDGE CRANE, 1 GIRDER, 50' SPAN 14-20 TON | TON |
| CN21 | BRIDGE CRANE, 1 GIRDER, 50' SPAN 21-45 TON | TON |
| CN22 | BRIDGE CRANE, 1 GIRDER, 50' SPAN >45 TON | TON |
| CN23 | BRIDGE CRANE RAIL | LF |
| CN24 | BRIDGE CRANE CONTROLS <13 TON | TON |
| CN25 | BRIDGE CRANE CONTROLS 13-28 TON | TON |
| CN26 | BRIDGE CRANE CONTROLS 29-45 TON | TON |
| CN27 | BRIDGE CRANE CONTROLS >45 TON | TON |
| CP01 | POOL CIRCULATION PUMP - ELECTRIC (<10 HP) | HP |
| CP02 | POOL CIRCULATION PUMP - ELECTRIC (10-15 HP) | HP |
| CP03 | POOL CIRCULATION PUMP - ELECTRIC (16-75 HP) | HP |
| CP04 | POOL CIRCULATION PUMP - ELECTRIC (76-150 HP) | HP |
| CR01 | WALK-IN REFRIGERATOR OR FREEZER STRUCTURE | SF |
| CR02 | REFRIGERATION SYSTEM - WALK-IN, 2 EVAP FANS, 6700 BTUH, CONDENSER | EA |
| CR03 | REFRIGERATION SYSTEM - WALK-IN, 3 EVAP FANS, 10000 BTUH, CONDENSER | EA |
| CR04 | REFRIGERATION SYSTEM - WALK-IN, 4 EVAP FANS, 26500 BTUH, CONDENSER | EA |
| CR05 | ENVIRONMENTAL CHAMBER STRUCTURE | SF |
| CR06 | ENVIRONMENTAL CHAMBER MECHANICAL SYSTEM | SYS |
| CT01 | COOLING TOWER (<=100 TONS) | TON |
| CT02 | COOLING TOWER (101-125 TONS) | TON |
| CT03 | COOLING TOWER (126-200 TONS) | TON |
| CT04 | COOLING TOWER (201-250 TONS) | TON |
| CT05 | COOLING TOWER (251-300 TONS) | TON |
| CT06 | COOLING TOWER (301-550 TONS) | TON |
| CT07 | COOLING TOWER (551-700 TONS) | TON |
| CT08 | COOLING TOWER (>701 TONS) | TON |
| CT10 | CONDENSER - WATER-COOLED (<=50 TON) | TON |
| CT11 | CONDENSER - WATER-COOLED (51-150 TON) | TON |
| CT12 | CONDENSER - WATER-COOLED (>150 TON) | TON |
| CT13 | COOLING WATER TREATMENT SYSTEM (UP TO 3 FLUIDS) | SYS |
| CW01 | CASEWORK - WOOD BASE AND WALL, TOP, STANDARD | LF |
| CW02 | CASEWORK - WOOD BASE AND WALL, TOP, PREMIUM | LF |
| CW03 | KITCHENETTE UNIT WITH CABINETRY AND AMENITIES | EA |
| CW04 | CASEWORK - LABORATORY, INCLUDES REAGENT SHELF AND TOP | SF |
| DC01 | DUST COLLECTION SYSTEM | SYS |
| DF01 | DRINKING FOUNTAIN, DUAL-LEVEL | EA |
| DK01 | DOCK LEVELER | EA |
| DR01 | DOOR AND FRAME, R-IN, NON-RATED | LEAF |
| DR02 | DOOR AND FRAME, R-IN, FIRE-RATED | LEAF |
| DR03 | DOOR - OVERHEAD, R-IN | SF |
| DR04 | DOOR, SLIDING SYSTEM, R-IN | EA |
| DR05 | DOOR AND FRAME, R-EX, SWINGING, ALUMINUM AND GLASS | LEAF |
| DR06 | DOOR AND FRAME, R-EX, SWINGING, STAINLESS STEEL AND GLASS | LEAF |
| DR07 | DOOR AND FRAME, R-EX, SWINGING, SOLID GLASS | LEAF |
| DR08 | DOOR AND FRAME, R-EX, SWINGING, HOLLOW METAL | LEAF |
| DR09 | DOOR AND FRAME, R-EX, SWINGING, HARDWOOD CUSTOM | LEAF |
| DR10 | DOOR AND FRAME, R-EX, SWINGING, WOOD STANDARD | LEAF |
| DR11 | DOOR AND FRAME, R-EX, SWINGING, FRENCH-STYLE, HARDWOOD | LEAF |
| DR12 | DOOR AND STOREFRONT, R-EX, SWINGING, ALUMINUM AND GLASS | LEAF |
| DR13 | DOOR AND FRAME, R-EX, SWINGING, SCREEN, LOCK | LEAF |
| DR14 | DOOR AND FRAME, R-EX, SWINGING, HIGH SECURITY BALLISTIC STEEL, LOCK | LEAF |
| DR15 | DOOR, R-EX, REVOLVING, POWERED, STANDARD | EA |
| DR16 | DOOR, R-EX, REVOLVING, POWERED, PREMIUM | EA |
| DR17 | DOOR, R-EX, SLIDING ENTRANCE SYSTEM, POWERED | EA |
| DR18 | DOOR, R-EX, SLIDING, RESIDENTIAL PATIO, LOCK, SCREEN | EA |
| DR19 | DOOR, R-EX, OVERHEAD ROLLING METAL, LOCK | SF |
| DR20 | DOOR, R-EX, OVERHEAD PANEL OR SECTIONAL, PAINTED, LOCK | SF |
| DR21 | DOOR, R-EX, OVERHEAD ROLLING GRILLE, LOCK | SF |
| DR22 | DOOR, R-EX, SLIDING, POWERED, STEEL HANGAR, LOCK | SF |
| DR23 | DOOR, R-EX, BULKHEAD CELLAR, PAINTED, SHROUDS, LOCK, FOUNDATION PLATES | SF |
| DR24 | DOOR LOCK, COMMERCIAL-GRADE, R-IN | EA |
| DR25 | DOOR LOCK, RESIDENTIAL-GRADE, R-IN | EA |
| DR26 | DOOR PANIC HARDWARE, R-IN | EA |
| DR27 | DOOR LOCK, SECURITY, R-IN | EA |
| DR28 | DOOR OPERATOR, POWER-ASSIST | EA |
| DR29 | DOOR ACCESS CONTROL SYSTEM | EA |
| DR30 | DOOR OPERATOR, OVERHEAD DOOR, COMMERCIAL, PADS | EA |
| DR31 | DOOR OPERATOR, OVERHEAD PANEL DOOR, RESIDENTIAL, PADS | EA |
| DR32 | DOOR OPERATOR, OVERHEAD COIL DOOR, PADS | EA |
| DR33 | LOADING DOCK SEAL | EA |
| DR34 | DOOR LOCK, COMMERCIAL-GRADE, R-EX | EA |
| DR35 | DOOR LOCK, RESIDENTIAL-GRADE, R-EX | EA |
| DR36 | DOOR PANIC HARDWARE, R-EX | EA |
| DR37 | DOOR LOCK, SECURITY, R-EX | EA |
| EF01 | WALL FINISH - APPLIED, STANDARD | SF |
| EF02 | SURFACE FINISH - APPLIED, STANDARD | SF |
| EF03 | STAIR TREAD AND LANDING FINISH | FLR |
| EF04 | DOOR OR WINDOW APPLIED FINISH | EA |
| EF05 | TRIM APPLIED FINISH | SF |
| EF06 | DECK, ELEVATED WOOD | SF |
| EF07 | FLOORING, WOOD STRIP, T&G FIR | SF |
| EF08 | FLOORING, APPLIED FINISH, NEOPRENE TRAFFIC BEARING | SF |
| EF09 | FLOORING, PAVER OVER MEMBRANE | SF |
| EF10 | DECK, ELEVATED WOOD WASH AND STAIN | SF |
| EF11 | FLOORING, APPLIED FINISH, SAND, PAINT OR STAIN | SF |
| EL01 | EXIT SIGN - CENTRAL POWER | EA |
| EL02 | EXIT SIGN - WITH BATTERY BACK-UP | EA |
| EL03 | EXIT SIGN - SELF-ILLUMINATING | EA |
| EL04 | EMERGENCY LIGHT - UNITARY WITH BATTERY BACK-UP | EA |
| EW01 | WALL, R-EX, MASONRY POINTING | SF |
| EW02 | WALL, R-EX, STUCCO OR CONCRETE RESTORE | SF |
| EW03 | WALL, R-EX, SIDING, METAL CORRUGATED, V-BEAM, OR RIBBED | SF |
| EW04 | WALL, R-EX, SIDING, METAL, HORIZONTAL OR VERTICAL | SF |
| EW05 | WALL, R-EX, SIDING, FIBER CEMENT | SF |
| EW06 | WALL, R-EX, SIDING, WOOD BOARD, STANDARD | SF |
| EW07 | WALL, R-EX, SIDING, WOOD BOARD, PREMIUM | SF |
| EW08 | WALL, R-EX, SIDING, T-111 PLYWOOD | SF |
| EW09 | WALL, R-EX, SIDING, VINYL | SF |
| EW10 | WALL, R-EX, SHINGLE, WOOD | SF |
| EW11 | WALL, R-EX, EIFS | SF |
| EW12 | WALL, R-EX, PANEL JOINT RESTORATION | SF |
| EW13 | WALL, R-EX, TILE OR GLASS BLOCK CLEAN, GROUT, AND REPAIR | SF |
| EW14 | WALL, R-EX, TILT-UP OR PRECAST CONCRETE PANELS - RESTORE NATURAL FINISH | SF |
| EW15 | WALL, R-EX, TILT-UP OR PRECAST CONCRETE PANELS - JOINT MAINTENANCE | SF |
| EW16 | WALL, R-EX, MASONRY POINTING, CMU | SF |
| FA01 | FIRE ALARM SYSTEM - DEVICES | SF |
| FA02 | FIRE ALARM PANEL, DIALER, BATTERY, & CHARGER UP TO 50 POINTS | EA |
| FA03 | FIRE ALARM PANEL, DIALER, BATTERY, & CHARGER UP TO 200 POINTS | EA |
| FA04 | FIRE ALARM PANEL, DIALER, BATTERY, & CHARGER UP TO 400 POINTS | EA |
| FA05 | FIRE ALARM PANEL, DIALER, BATTERY, & CHARGER UP TO 700 POINTS | EA |
| FL01 | SPA FILTER, AVG | CF |
| FL02 | POOL FILTER, SAND / DE ALL EXCEPT SPA | CF |
| FN01 | FAN - AXIAL, RETURN (<=3 HP) 9,200 CFM | HP |
| FN02 | FAN - AXIAL, RETURN (4-5 HP) 13,200 CFM | HP |
| FN03 | FAN - AXIAL, RETURN (6-7.5 HP) 16,500 CFM | HP |
| FN04 | FAN - AXIAL, RETURN (7.6-10 HP) 19,500 CFM | HP |
| FN05 | FAN - AXIAL, RETURN (11-15 HP) 27,000 CFM | HP |
| FN06 | FAN - AXIAL, RETURN (16-20 HP) 32,000 CFM | HP |
| FN07 | FAN - AXIAL, RETURN (>20 HP) 38,500 CFM | HP |
| FN08 | FAN - AXIAL, SUPPLY (<=3 HP) 3800 CFM | HP |
| FN09 | FAN - AXIAL, SUPPLY (4-5 HP) 6400 CFM | HP |
| FN10 | FAN - AXIAL, SUPPLY (6-7.5 HP) 10,500 CFM | HP |
| FN11 | FAN - AXIAL, SUPPLY (7.6-10 HP) 15,600 CFM | HP |
| FN12 | FAN - AXIAL, SUPPLY (11-15 HP) 23,000 CFM | HP |
| FN13 | FAN - AXIAL, SUPPLY (16-20 HP) 28,000 CFM | HP |
| FN14 | FAN - AXIAL, SUPPLY (21-25 HP) 35,000 CFM | HP |
| FN15 | FAN - AXIAL, SUPPLY (26-30 HP) 42,000 CFM | HP |
| FN16 | FAN - AXIAL, SUPPLY (31-40 HP) 56,000 CFM | HP |
| FN17 | FAN - AXIAL, SUPPLY (>40 HP) 70,000 CFM | HP |
| FN18 | FAN - CENTRIFUGAL ROOF EXHAUST (10"-18" DIAMETER) | EA |
| FN19 | FAN - CENTRIFUGAL ROOF EXHAUST (20"-22" DIAMETER) | EA |
| FN20 | FAN - CENTRIFUGAL ROOF EXHAUST (25"-30" DIAMETER) | EA |
| FN21 | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY (<=30 HP) | HP |
| FN22 | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY (31-40 HP) | HP |
| FN23 | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY (41-50 HP) | HP |
| FN24 | FAN - INLINE CENTRIFUGAL AIRFOIL, SUPPLY (>50 HP) | HP |
| FN25 | FAN - PROPELLER WITH LOUVER (<=0.5 HP) | HP |
| FN26 | FAN - PROPELLER WITH LOUVER (.6-1 HP) | HP |
| FN27 | FAN - PROPELLER WITH LOUVER (1.1-1.5 HP) | HP |
| FN28 | FAN - PROPELLER WITH LOUVER (1.6-2 HP) | HP |
| FN29 | FAN - PROPELLER WITH LOUVER (3-4 HP) | HP |
| FN30 | FAN - PROPELLER WITH LOUVER (>4 HP) | HP |
| FN31 | FAN - UTILITY SET (<=0.5 HP) | HP |
| FN32 | FAN - UTILITY SET (.6-1.25 HP) | HP |
| FN33 | FAN - UTILITY SET (1.26-4 HP) | HP |
| FN34 | FAN - UTILITY SET (5-12 HP) | HP |
| FN35 | FAN - UTILITY SET (13-17 HP) | HP |
| FN36 | FAN - UTILITY SET (18-27 HP) | HP |
| FN37 | FAN - UTILITY SET (28-42 HP) | HP |
| FN38 | FAN - UTILITY SET (43-62 HP) | HP |
| FN39 | FAN - UTILITY SET (>62 HP) | HP |
| FN40 | FAN - MIXED-FLOW, SHORT STACK, EXHAUST (<=30 HP) | HP |
| FN41 | FAN - MIXED-FLOW, SHORT STACK, EXHAUST (31-40 HP) | HP |
| FN42 | FAN - MIXED-FLOW, SHORT STACK, EXHAUST (41-50 HP) | HP |
| FN43 | FAN - MIXED-FLOW, SHORT STACK, EXHAUST (>50 HP) | HP |
| FN44 | HEAT RECOVERY VENTILATOR, AIR TO AIR (<0.5 HP) | HP |
| FN45 | HEAT RECOVERY VENTILATOR, AIR TO AIR(.6-1.25 HP) | HP |
| FN46 | HEAT RECOVERY VENTILATOR, AIR TO AIR(1.26-4 HP) | HP |
| FN47 | HEAT RECOVERY VENTILATOR, AIR TO AIR(4.1-12 HP) | HP |
| FN48 | HEAT RECOVERY VENTILATOR, AIR TO AIR (12.1-15 HP) | HP |
| FN49 | HEAT RECOVERY VENTILATOR, AIR TO AIR(>15 HP) | HP |
| FP01 | FIRE PUMP - DIESEL, 500 GPM, 4" ID (<=30 HP) | HP |
| FP02 | FIRE PUMP - DIESEL, 500 GPM, 4" ID (31-70 HP) | HP |
| FP03 | FIRE PUMP - DIESEL, 750 GPM, 5" ID (71-100 HP) | HP |
| FP04 | FIRE PUMP - DIESEL, 1000 GPM, 6" ID (101-150 HP) | HP |
| FP05 | FIRE PUMP - DIESEL, 1500 GPM, 6" ID (151-225HP) | HP |
| FP06 | FIRE PUMP - DIESEL, 2000 GPM, 6" ID (226-250HP) | HP |
| FP07 | FIRE PUMP - DIESEL, 2500 GPM, 8" ID (251-350 HP) | HP |
| FP08 | FIRE PUMP - DIESEL, 3000+ GPM, 10" ID (>350 HP) | HP |
| FP09 | FIRE PUMP - ELECTRIC, 250 GPM, 2" ID (<=15 HP) | HP |
| FP10 | FIRE PUMP - ELECTRIC, 500 GPM, 3" ID (16-65 HP) | HP |
| FP11 | FIRE PUMP - ELECTRIC, 750 GPM, 4" ID (66-120 HP) | HP |
| FP12 | FIRE PUMP - ELECTRIC, 1000 GPM, 5" ID (121-150 HP) | HP |
| FP13 | FIRE PUMP - ELECTRIC, 1500 GPM, 6" ID (151-250 HP) | HP |
| FP14 | FIRE PUMP - ELECTRIC, 2000 GPM, 6" ID (251-280 HP) | HP |
| FP15 | FIRE PUMP - ELECTRIC, 2500 GPM, 8" ID (281-350 HP) | HP |
| FP16 | FIRE PUMP - ELECTRIC, 3000+ GPM, 10" ID (>350 HP) | HP |
| FS01 | FIRE SPRINKLER SYSTEM - WET | SF |
| FS02 | FIRE SPRINKLER SYSTEM - DRY | SF |
| FS03 | FOAM DELUGE FIRE EXTINGUISHMENT SYSTEM | SF |
| FS04 | FM200 OR INERGEN FIRE SUPPRESSION | CF |
| FX01 | FIXTURE - LAVATORY, COUNTER | EA |
| FX02 | FIXTURE - LAVATORY, WALL HUNG | EA |
| FX03 | FIXTURE - LAVATORY, GANG | EA |
| FX04 | FIXTURE - SINK, KITCHEN | EA |
| FX05 | FIXTURE - SINK, LABORATORY-USE | EA |
| FX06 | FIXTURE - SINK, SERVICE/LAUNDRY/UTILITY | EA |
| FX07 | FIXTURE - SHOWER, GANG PEDESTAL, STAINLESS STEEL | EA |
| FX08 | FIXTURE - SHOWER VALVE AND HEAD | EA |
| FX09 | FIXTURE - BATHTUB WITH FIXTURES | EA |
| FX10 | FIXTURE - URINAL | EA |
| FX11 | FIXTURE - WATER CLOSET, TANK-TYPE | EA |
| FX12 | FIXTURE - WATER CLOSET, TANKLESS | EA |
| FX13 | FIXTURE - COMBINATION TOILET/SINK, STAINLESS STL, INSTITUTIONAL | EA |
| FX14 | FIXTURE - EMERGENCY SHOWER | EA |
| FX15 | FIXTURE - EMERGENCY EYEWASH | EA |
| FX16 | FIXTURE - EMERGENCY COMBINATION SHOWER/EYEWASH | EA |
| GH01 | GREENHOUSE - POLYCARBONATE PLASTIC | SF |
| GH02 | GREENHOUSE - LAMINATED GLASS | SF |
| GN01 | GENERATOR - DIESEL (<=30 KW) | KW |
| GN02 | GENERATOR - DIESEL (31-100KW) | KW |
| GN03 | GENERATOR - DIESEL (101-200 KW) | KW |
| GN04 | GENERATOR - DIESEL (201-500 KW) | KW |
| GN05 | GENERATOR - DIESEL (>500 KW) | KW |
| GN06 | GENERATOR - NATURAL GAS OR GASOLINE (<=20 KW) | KW |
| GN07 | GENERATOR - NATURAL GAS OR GASOLINE (21-100 KW) | KW |
| GN08 | GENERATOR - NATURAL GAS OR GASOLINE (>100 KW) | KW |
| GN09 | SWITCH - AUTO TRANSFER, 208 OR 240 V (<=30 AMP) | AMP |
| GN10 | SWITCH - AUTO TRANSFER, 208 OR 240 V (31-100 AMP) | AMP |
| GN11 | SWITCH - AUTO TRANSFER, 208 OR 240 V (>100 AMP) | AMP |
| GN12 | SWITCH - AUTO TRANSFER, 480 V (<=30 AMP) | AMP |
| GN13 | SWITCH - AUTO TRANSFER, 480 V (31-60 AMP) | AMP |
| GN14 | SWITCH - AUTO TRANSFER, 480 V (61-100 AMP) | AMP |
| GN15 | SWITCH - AUTO TRANSFER, 480 V (101-400 AMP) | AMP |
| GN16 | SWITCH - AUTO TRANSFER, 480 V (>400 AMP) | AMP |
| GS01 | PERMANENT GRANDSTAND / BLEACHER REPLACEMENT (PER SEAT) | EA |
| GS02 | PORTABLE GRANDSTAND / BLEACHER REPLACEMENT (PER SEAT) | EA |
| GS03 | GRANDSTAND/BLEACHER SEAT REPLACEMENT | EA |
| HD01 | HOOD, FUME | LF |
| HD02 | HOOD, KITCHEN, COMMERCIAL WITH FIRE SUPPRESSION | LF |
| HE01 | Surgical Supply Sterilizer Assembly | EA |
| HE02 | Autoclave | EA |
| HE03 | Solid Medical Waste Incinerator | EA |
| HE04 | Trash Compactor | EA |
| HE05 | Commercial FS Traywasher and Conveyor | EA |
| HE06 | Washer-Commercial Laundry | EA |
| HE07 | Dryer-Commercial Laundry | EA |
| HU01 | CONDENSER - REFRIGERANT, AIR-COOLED (<=10 TON) | TON |
| HU02 | CONDENSER - REFRIGERANT, AIR-COOLED (11-35 TON) | TON |
| HU03 | CONDENSER - REFRIGERANT, AIR-COOLED (36-75 TON) | TON |
| HU04 | CONDENSER - REFRIGERANT, AIR-COOLED (>75 TON) | TON |
| HU05 | CONDENSING UNIT, EVAPORATIVE | TON |
| HU06 | AC COIL AND FAN UNIT, NO HEAT (<=1.5 TON) | TON |
| HU07 | AC COIL AND FAN UNIT, NO HEAT (1.6-2 TON) | TON |
| HU08 | AC COIL AND FAN UNIT, NO HEAT (2.1-3 TON) | TON |
| HU09 | AC COIL AND FAN UNIT, NO HEAT (>3 TON) | TON |
| HU10 | AC COIL AND FAN UNIT, ELECTRIC HEAT (<=5 KW) | KW |
| HU11 | AC COIL AND FAN UNIT, ELECTRIC HEAT (6-7.5 KW) | KW |
| HU12 | AC COIL AND FAN UNIT, ELECTRIC HEAT (7.6-12.5 KW) | KW |
| HU13 | AC COIL AND FAN UNIT, ELECTRIC HEAT (>12.5 KW) | KW |
| HU14 | AC COIL AND FAN UNIT, NATURAL GAS HEAT (<=45 MBH) | MBH |
| HU15 | AC COIL AND FAN UNIT, NATURAL GAS HEAT (46-100 MBH) | MBH |
| HU16 | AC COIL AND FAN UNIT, NATURAL GAS HEAT (>100 MBH) | MBH |
| HU17 | DUCTLESS DX SPLIT SYSTEM (<=1 TON) | TON |
| HU18 | DUCTLESS DX SPLIT SYSTEM (1.1-2 TON) | TON |
| HU19 | DUCTLESS DX SPLIT SYSTEM (>2 TON) | TON |
| HU20 | DUCTLESS DX SPLIT SYSTEM (2 @ .75 TON) | TON |
| HU21 | PTAC, DX/ HP COOL, ELEC HEAT (<=0.5 TON) | TON |
| HU22 | PTAC, DX/ HP COOL, ELEC HEAT (0.5-1.25 TON) | TON |
| HU23 | PTAC, DX/ HP COOL, ELEC HEAT (1.26-2 TON) | TON |
| HU24 | PTAC, DX/ HP COOL, ELEC HEAT (>2 TON) | TON |
| HU25 | UNIT HEATER - INDOOR, GAS, SUSPENDED (<=40 MBH) | MBH |
| HU26 | UNIT HEATER - INDOOR, GAS, SUSPENDED (41-100 MBH) | MBH |
| HU27 | UNIT HEATER - INDOOR, GAS, SUSPENDED (101-140 MBH) | MBH |
| HU28 | UNIT HEATER - INDOOR, GAS, SUSPENDED (141-180 MBH) | MBH |
| HU29 | UNIT HEATER - INDOOR, GAS, SUSPENDED (>180 MBH) | MBH |
| HU30 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (<= 5 TON) | TON |
| HU31 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (6-9 TON) | TON |
| HU32 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (10-35 TON) | TON |
| HU33 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (36-55 TON) | TON |
| HU34 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (56-70 TON) | TON |
| HU35 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (71-85 TON) | TON |
| HU36 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, SINGLE-ZONE (>85 TON) | TON |
| HU37 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, MULTI-ZONE (9-35 TON) | TON |
| HU38 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, MULTI-ZONE (36-55 TON) | TON |
| HU39 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, MULTI-ZONE (56-70 TON) | TON |
| HU40 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, MULTI-ZONE (71-85 TON) | TON |
| HU41 | PACKAGE R-HVAC UNIT, DX, GAS OR ELECTRIC HEAT, MULTI-ZONE (>85 TON) | TON |
| HU42 | FURNACE, OUTDOOR, NATURAL GAS (<=75 MBH) | MBH |
| HU43 | FURNACE, OUTDOOR, NATURAL GAS (76-120 MBH) | MBH |
| HU44 | FURNACE, OUTDOOR, NATURAL GAS (121-225 MBH) | MBH |
| HU45 | FURNACE, OUTDOOR, NATURAL GAS (226-450 MBH) | MBH |
| HU46 | FURNACE, OUTDOOR, NATURAL GAS (>450 MBH) | MBH |
| HU47 | EVAPORATIVE COOLER (<=0.5 HP) | HP |
| HU48 | EVAPORATIVE COOLER (0.6-1 HP) | HP |
| HU49 | EVAPORATIVE COOLER (1.1-2 HP) | HP |
| HU50 | EVAPORATIVE COOLER (2.1-3 HP) | HP |
| HU51 | EVAPORATIVE COOLER (3.1-5 HP) | HP |
| HU52 | UNIT HEATER, ELECTRIC | KW |
| HU53 | UNIT HEATER, STEAM/HYDRONIC STD (TO 250 MBH) | EA |
| HU54 | SPACE HEATER, GAS RADIANT TUBE | LF |
| HV01 | DISTRIBUTION NETWORKS - COURTHOUSE | SF |
| HV02 | DISTRIBUTION NETWORKS - CLASSROOM | SF |
| HV03 | DISTRIBUTION NETWORKS - DATA CENTER | SF |
| HV04 | DISTRIBUTION NETWORKS - DORMITORY | SF |
| HV05 | DISTRIBUTION NETWORKS - FOOD SERVICE FACILITY | SF |
| HV06 | DISTRIBUTION NETWORKS - GYMNASIUM | SF |
| HV07 | DISTRIBUTION NETWORKS - HOTEL | SF |
| HV08 | DISTRIBUTION NETWORKS - JAIL / CORRECTIONS | SF |
| HV09 | DISTRIBUTION NETWORKS - LABORATORY, WET | SF |
| HV10 | DISTRIBUTION NETWORKS - LIBRARY | SF |
| HV11 | DISTRIBUTION NETWORKS - MEDICAL CLINIC | SF |
| HV12 | DISTRIBUTION NETWORKS - HOSPITAL | SF |
| HV13 | DISTRIBUTION NETWORKS - MEDICAL RESIDENCE | SF |
| HV14 | DISTRIBUTION NETWORKS - OFFICE | SF |
| HV15 | DISTRIBUTION NETWORKS - PARKING STRUCTURE | SF |
| HV16 | DISTRIBUTION NETWORKS - RELIGIOUS FACILITY | SF |
| HV17 | DISTRIBUTION NETWORKS - RESIDENCE | SF |
| HV18 | DISTRIBUTION NETWORKS - RETAIL | SF |
| HV19 | DISTRIBUTION NETWORKS - SCHOOL K-12 | SF |
| HV20 | DISTRIBUTION NETWORKS - SHOPS / TRADES, DRY LABORATORY | SF |
| HV21 | DISTRIBUTION NETWORKS - STUDENT UNION | SF |
| HV22 | DISTRIBUTION NETWORKS - THEATER | SF |
| HV23 | DISTRIBUTION NETWORKS - WAREHOUSE | SF |
| HX01 | HEAT EXCHANGER - SHELL & TUBE WATER TO WATER (<=85 GPM) | GPM |
| HX02 | HEAT EXCHANGER - SHELL & TUBE WATER TO WATER (86-255 GPM) | GPM |
| HX03 | HEAT EXCHANGER - SHELL & TUBE WATER TO WATER (>255 GPM) | GPM |
| HX04 | HEAT EXCHANGER - SHELL & TUBE STEAM TO WATER (20-85 GPM) | GPM |
| HX05 | HEAT EXCHANGER - SHELL & TUBE STEAM TO WATER (>85 GPM) | GPM |
| HX06 | HEAT EXCHANGER - PLATE FRAME (<=200 GPM) | GPM |
| HX07 | HEAT EXCHANGER - PLATE FRAME (201-600 GPM) | GPM |
| HX08 | HEAT EXCHANGER - PLATE FRAME (>600 GPM) | GPM |
| HX09 | PRESSURE REDUCING VALVE, STEAM SYSTEM (2") | EA |
| HX10 | PRESSURE REDUCING VALVE, STEAM SYSTEM (2.5") | EA |
| HX11 | PRESSURE REDUCING VALVE, STEAM SYSTEM (3") | EA |
| HX12 | PRESSURE REDUCING VALVE, STEAM SYSTEM (4") | EA |
| IC01 | CEILING FINISH - SUSPENDED ACOUSTICAL TILE, STANDARD | SF |
| IC02 | CEILING FINISH - SUSPENDED ACOUSTICAL TILE, PREMIUM | SF |
| IC03 | CEILING FINISH - ATTACHED ACOUSTICAL TILE | SF |
| IC04 | CEILING FINISH - APPLIED PAINT OR STAIN, STANDARD | SF |
| IC05 | CEILING FINISH - APPLIED PAINT OR STAIN, TEXTURED | SF |
| IC06 | CEILING FINISH - METAL OR SPECIALTY TILE | SF |
| IC07 | CEILING FINISH - SUSPENDED ARCHITECTURAL | SF |
| IF01 | FLOORING - CARPET, TILE OR ROLL, STANDARD | SF |
| IF02 | FLOORING - CARPET, TILE OR ROLL, PREMIUM (WOOL, CUSTOM) | SF |
| IF03 | FLOORING - VINYL COMPOSITION TILE, STANDARD | SF |
| IF04 | FLOORING - VINYL SHEET, STANDARD | SF |
| IF05 | FLOORING - VINYL RESILIENT, TILE OR ROLL | SF |
| IF06 | FLOORING - TILE, CERAMIC / STONE / QUARRY STANDARD | SF |
| IF07 | FLOORING - TILE, CERAMIC / STONE / QUARRY PREMIUM | SF |
| IF08 | FLOORING - TILE, CERAMIC / STONE / QUARRY ECONOMY | SF |
| IF09 | FLOORING - TERRAZZO RESURFACE | SF |
| IF10 | FLOORING - HARDWOOD STRIP, STANDARD | SF |
| IF11 | FLOORING - HARDWOOD STRIP, PREMIUM | SF |
| IF12 | FLOORING - LAMINATE PLANK, STANDARD | SF |
| IF13 | FLOORING - LAMINATE PLANK, PREMIUM | SF |
| IF14 | FLOORING - FLUID APPLIED, EPOXY / ACRYLIC / POLYURETHANE | SF |
| IF15 | FLOORING - FLUID APPLIED, PAINT OR CLEAR SEAL | SF |
| IF16 | FLOORING - SLATE | SF |
| IF17 | FLOORING - ATHLETIC, RUBBER, TILE OR ROLL | SF |
| IF18 | FLOORING - ATHLETIC COURT, WOOD | SF |
| IF19 | FLOORING - ATHLETIC TRACK, WOOD | SF |
| IF20 | FLOORING - MED/LAB, TROWELED, POLYACRYLATE AGGREGATE | SF |
| IF21 | FLOORING - MED/LAB, CONDUCTIVE RUBBER, ROLL | SF |
| IF22 | FLOORING - CORK, TILE OR ROLL | SF |
| IF23 | FLOORING - GLASS / MOSAIC TILE | SF |
| IF24 | FLOORING - WOOD STRIP, FIR PORCH | SF |
| IF25 | FLOORING - HARDWOOD, PARQUET | SF |
| IF26 | STAIR TREAD AND LANDING FINISH | FLR |
| IW01 | WALL FINISH - APPLIED, STANDARD | SF |
| IW02 | WALL FINISH - APPLIED, PREMIUM | SF |
| IW03 | WALL FINISH - TILE, CERAMIC / STONE, STANDARD | SF |
| IW04 | WALL FINISH - TILE, CERAMIC / STONE, PREMIUM | SF |
| IW05 | WALL FINISH - TILE, CERAMIC / STONE, ECONOMY | SF |
| IW06 | WALL FINISH - WOOD PANEL, ECONOMY | SF |
| IW07 | WALL FINISH - WOOD PANEL, PREMIUM | SF |
| IW08 | WALL FINISH - WOOD PANEL, STANDARD | SF |
| IW09 | WALL FINISH - WALL COVERING, ROLL | SF |
| IW10 | WALL FINISH - TILE, GLASS MOSAICS | SF |
| IW11 | WALL FINISH - CORK | SF |
| IW12 | WALL FINISH - PANEL, MEDICAL / LABORATORY APPLICATION | SF |
| IW13 | STRUCTURAL INTUMESCENT FIRE PROOFING | SF |
| IW14 | TOILET PARTITION WITH ACCESSORIES | SYS |
| IW15 | URINAL PARTITION WITH ACCESSORIES | EA |
| IW16 | PARTITION, MOVEABLE PANEL, ACOUSTICAL | SF |
| LE01 | RES R-EX BLDG MT DECO OR FLOOD LIGHTING | EA |
| LE02 | COM R-EX BLDG MT DECO LIGHTING (COACH, SCONCE, PEND, SOFFIT) | EA |
| LE03 | COM R-EX BLDG MT HI FLOOD LIGHTING (WALLPACK, WALLWASH) | EA |
| LE04 | COM R-EX BOLLARD LIGHTING | EA |
| LE05 | COM R-EX POLE ONLY - TALL (>=21 FT, POLE, 4 ARMS) | EA |
| LE06 | COM R-EX POLE ONLY - SHORT (<=20 FT, POLE, 2 ARMS) | EA |
| LE07 | COM R-EX POLE ARM FIXTURE STD (LPS, HPS, MH) NO POLE OR ARM | EA |
| LE08 | COM R-EX POLE ARM FIXTURE PREM (LED) NO POLE OR ARM | EA |
| LI01 | LIGHTING SYSTEM, R-IN - COURTHOUSE | SF |
| LI02 | LIGHTING SYSTEM, R-IN - CLASSROOM | SF |
| LI03 | LIGHTING SYSTEM, R-IN - DATA CENTER | SF |
| LI04 | LIGHTING SYSTEM, R-IN - DORMITORY | SF |
| LI05 | LIGHTING SYSTEM, R-IN - FOOD SERVICE FACILITY | SF |
| LI06 | LIGHTING SYSTEM, R-IN - GYMNASIUM | SF |
| LI07 | LIGHTING SYSTEM, R-IN - HOTEL | SF |
| LI08 | LIGHTING SYSTEM, R-IN - JAIL / CORRECTIONS | SF |
| LI09 | LIGHTING SYSTEM, R-IN - LABORATORY, WET | SF |
| LI10 | LIGHTING SYSTEM, R-IN - LIBRARY | SF |
| LI11 | LIGHTING SYSTEM, R-IN - MEDICAL CLINIC | SF |
| LI12 | LIGHTING SYSTEM, R-IN - HOSPITAL | SF |
| LI13 | LIGHTING SYSTEM, R-IN - MEDICAL RESIDENCE | SF |
| LI14 | LIGHTING SYSTEM, R-IN - OFFICE | SF |
| LI15 | LIGHTING SYSTEM, R-IN - PARKING STRUCTURE | SF |
| LI16 | LIGHTING SYSTEM, R-IN - RELIGIOUS FACILITY | SF |
| LI17 | LIGHTING SYSTEM, R-IN - RESIDENCE | SF |
| LI18 | LIGHTING SYSTEM, R-IN - RETAIL | SF |
| LI19 | LIGHTING SYSTEM, R-IN - SCHOOL K-12 | SF |
| LI20 | LIGHTING SYSTEM, R-IN - SHOPS / TRADES, DRY LABORATORY | SF |
| LI21 | LIGHTING SYSTEM, R-IN - STUDENT UNION | SF |
| LI22 | LIGHTING SYSTEM, R-IN - THEATER | SF |
| LI23 | LIGHTING SYSTEM, R-IN - WAREHOUSE | SF |
| LI24 | OCCUPANCY SENSING AND TIMER LIGHTING CONTROL | SF |
| LI25 | DAYLIGHT DIMMING LIGHTING CONTROL | SF |
| LP01 | LIGHTNING PROTECTION | SF |
| MC01 | MOTOR CONTROL CENTER VERTICAL SECTION, 600V (<=400A) W/STARTERS | EA |
| MC02 | MOTOR CONTROL CENTER VERTICAL SECTION, 600V (401-600A) W/STARTERS | EA |
| MC03 | MOTOR CONTROL CENTER VERTICAL SECTION, 600V (601-800A) W/STARTERS | EA |
| MC04 | MOTOR CONTROL CENTER VERTICAL SECTION, 600V (>800A) W/STARTERS | EA |
| PB01 | PANELBOARD, 1 PH, 240V (<=100 AMP), INCL. BRK. | AMP |
| PB02 | PANELBOARD, 1 PH, 240V (101-150 AMP), INCL. BRK. | AMP |
| PB03 | PANELBOARD, 1 PH, 240V (151-300 AMP), INCL. BRK. | AMP |
| PB04 | PANELBOARD, 1 PH, 240V (301-500 AMP), INCL. BRK. | AMP |
| PB05 | PANELBOARD, 1 PH, 240V (501-700 AMP), INCL. BRK. | AMP |
| PB06 | PANELBOARD, 3 PH, 480/277V (<=150 AMP), INCL. BRK. | AMP |
| PB07 | PANELBOARD, 3 PH, 480/277V (151-300 AMP), INCL. BRK. | AMP |
| PB08 | PANELBOARD, 3 PH, 480/277V (301-500 AMP), INCL. BRK. | AMP |
| PB09 | PANELBOARD, 3 PH, 480/277V (501-700 AMP), INCL. BRK. | AMP |
| PB10 | PANELBOARD, 3 PH, 480/277V (701-900 AMP), INCL. BRK. | AMP |
| PB11 | PANELBOARD, 3 PH, 480/277V (901-1100 AMP), INCL. BRK. | AMP |
| PB12 | PANELBOARD, 3 PH, 480/277V (1101-1300 AMP), INCL. BRK. | AMP |
| PB13 | PANELBOARD, 3 PH, 208/120V (<=150 AMP), INCL. BRK. | AMP |
| PB14 | PANELBOARD, 3 PH, 208/120V (151-300 AMP), INCL. BRK. | AMP |
| PB15 | PANELBOARD, 3 PH, 208/120V (301-500 AMP), INCL. BRK. | AMP |
| PB16 | PANELBOARD, 3 PH, 208/120V (501-700 AMP), INCL. BRK. | AMP |
| PB17 | PANELBOARD, 3 PH, 208/120V (701-900 AMP), INCL. BRK. | AMP |
| PB18 | PANELBOARD, 3 PH, 208/120V (901-1100 AMP), INCL. BRK. | AMP |
| PB19 | PANELBOARD, 3 PH, 208/120V (1101-1300 AMP), INCL. BRK. | AMP |
| PC01 | CAPACITOR APFC, 3PH 480V, 6-18 KVAR, INDOOR W/CAB | KVAR |
| PC02 | CAPACITOR APFC, 3PH 480V, 19-27 KVAR, INDOOR W/CAB | KVAR |
| PC03 | CAPACITOR APFC, 3PH 480V, 28-39 KVAR, INDOOR W/CAB | KVAR |
| PC04 | CAPACITOR APFC, 3PH 480V, 40-54 KVAR, INDOOR W/CAB | KVAR |
| PC05 | CAPACITOR APFC, 3PH 480V, 40-54 KVAR, INDOOR W/CAB | KVAR |
| PC06 | CAPACITOR APFC, 3PH 480V, 76-165 KVAR, INDOOR W/CAB | KVAR |
| PD01 | DRAIN PIPING SYSTEM - COURTHOUSE | SF |
| PD02 | DRAIN PIPING SYSTEM - CLASSROOM | SF |
| PD03 | DRAIN PIPING SYSTEM - DATA CENTER | SF |
| PD04 | DRAIN PIPING SYSTEM - DORMITORY | SF |
| PD05 | DRAIN PIPING SYSTEM - FOOD SERVICE FACILITY | SF |
| PD06 | DRAIN PIPING SYSTEM - GYMNASIUM | SF |
| PD07 | DRAIN PIPING SYSTEM - HOTEL | SF |
| PD08 | DRAIN PIPING SYSTEM - JAIL / CORRECTIONS | SF |
| PD09 | DRAIN PIPING SYSTEM - LABORATORY, WET | SF |
| PD10 | DRAIN PIPING SYSTEM - LIBRARY | SF |
| PD11 | DRAIN PIPING SYSTEM - MEDICAL CLINIC | SF |
| PD12 | DRAIN PIPING SYSTEM - HOSPITAL | SF |
| PD13 | DRAIN PIPING SYSTEM - MEDICAL RESIDENCE | SF |
| PD14 | DRAIN PIPING SYSTEM - OFFICE | SF |
| PD15 | DRAIN PIPING SYSTEM - PARKING STRUCTURE | SF |
| PD16 | DRAIN PIPING SYSTEM - RELIGIOUS FACILITY | SF |
| PD17 | DRAIN PIPING SYSTEM - RESIDENCE | SF |
| PD18 | DRAIN PIPING SYSTEM - RETAIL | SF |
| PD19 | DRAIN PIPING SYSTEM - SCHOOL K-12 | SF |
| PD20 | DRAIN PIPING SYSTEM - SHOPS / TRADES, DRY LABORATORY | SF |
| PD21 | DRAIN PIPING SYSTEM - STUDENT UNION | SF |
| PD22 | DRAIN PIPING SYSTEM - THEATER | SF |
| PD23 | DRAIN PIPING SYSTEM - WAREHOUSE | SF |
| PG01 | AIR COMPRESSOR - MEDICAL/LABORATORY PCKG (<=15 HP), WITH DRYER | HP |
| PG02 | AIR COMPRESSOR - MEDICAL/LABORATORY PCKG (15-20 HP), WITH DRYER | HP |
| PG03 | AIR COMPRESSOR - MEDICAL/LABORATORY PCKG (21-40 HP), WITH DRYER | HP |
| PG04 | AIR COMPRESSOR - MEDICAL/LABORATORY PCKG (>40 HP), WITH DRYER | HP |
| PG05 | VACUUM PUMP - ROTARY VANE (<=2 HP) | HP |
| PG06 | VACUUM PUMP - ROTARY VANE (2.1-4 HP) | HP |
| PG07 | VACUUM PUMP - ROTARY VANE (4.1-6 HP) | HP |
| PG08 | VACUUM PUMP - ROTARY VANE (6.1-30 HP) | HP |
| PG09 | VACUUM PUMP - ROTARY VANE (31-100 HP) | HP |
| PG10 | VACUUM PUMP - H2O SEAL (<=3 HP) | HP |
| PG11 | VACUUM PUMP - H2O SEAL (4-8 HP) | HP |
| PG12 | VACUUM PUMP - H2O SEAL (9-20 HP) | HP |
| PG13 | VACUUM PUMP - H2O SEAL (21-40 HP) | HP |
| PG14 | MEDICAL GAS CONTROL PANEL | EA |
| PG15 | AIR COMPRESSOR - UTILITY (<=5 HP) | HP |
| PG16 | AIR COMPRESSOR - UTILITY (>5 HP) | HP |
| PG17 | VACUUM PUMP - H2O SEAL (40-60 HP) | HP |
| PH01 | PUMP - ELECTRIC (<=10 HP) | HP |
| PH02 | PUMP - ELECTRIC (11-15 HP) | HP |
| PH03 | PUMP - ELECTRIC (16-20 HP) | HP |
| PH04 | PUMP - ELECTRIC (21-25 HP) | HP |
| PH05 | PUMP - ELECTRIC (26-30 HP) | HP |
| PH06 | PUMP - ELECTRIC (31-40 HP) | HP |
| PH07 | PUMP - ELECTRIC (41-50 HP) | HP |
| PH08 | PUMP - ELECTRIC (51-75 HP) | HP |
| PH09 | PUMP - ELECTRIC (76-100 HP) | HP |
| PH10 | PUMP - ELECTRIC (101-150 HP) | HP |
| PH11 | PUMP - ELECTRIC (151-200 HP) | HP |
| PH12 | PUMP - ELECTRIC (>200 HP) | HP |
| PH13 | CONDENSATE RECEIVER, ELECTRIC, 1 PUMP | HP |
| PH14 | CONDENSATE RECEIVER, ELECTRIC, 2 PUMPS | HP |
| PH15 | CONDENSATE RECEIVER, ELECTRIC, 3 PUMPS | HP |
| PH16 | CONDENSATE RECEIVER, PNEUMATIC (<=30 GPM) | GPM |
| PH17 | CONDENSATE RECEIVER, PNEUMATIC (31-100 GPM) | GPM |
| PH18 | CONDENSATE RECEIVER, PNEUMATIC (>100 GPM) | GPM |
| PP01 | DOMESTIC WATER BOOSTER SYSTEM | HP |
| PP02 | GREYWATER LIFT STATION | HP |
| PP03 | SEWAGE LIFT STATION | HP |
| PP04 | GREYWATER SUMP PUMP -SUBMERSIBLE PUMP (<0.5HP) | EA |
| PS01 | SUPPLY PIPING SYSTEM - COURTHOUSE | SF |
| PS02 | SUPPLY PIPING SYSTEM - CLASSROOM | SF |
| PS03 | SUPPLY PIPING SYSTEM - DATA CENTER | SF |
| PS04 | SUPPLY PIPING SYSTEM - DORMITORY | SF |
| PS05 | SUPPLY PIPING SYSTEM - FOOD SERVICE FACILITY | SF |
| PS06 | SUPPLY PIPING SYSTEM - GYMNASIUM | SF |
| PS07 | SUPPLY PIPING SYSTEM - HOTEL | SF |
| PS08 | SUPPLY PIPING SYSTEM - JAIL / CORRECTIONS | SF |
| PS09 | SUPPLY PIPING SYSTEM - LABORATORY, WET | SF |
| PS10 | SUPPLY PIPING SYSTEM - LIBRARY | SF |
| PS11 | SUPPLY PIPING SYSTEM - MEDICAL CLINIC | SF |
| PS12 | SUPPLY PIPING SYSTEM - HOSPITAL | SF |
| PS13 | SUPPLY PIPING SYSTEM - MEDICAL RESIDENCE | SF |
| PS14 | SUPPLY PIPING SYSTEM - OFFICE | SF |
| PS15 | SUPPLY PIPING SYSTEM - PARKING STRUCTURE | SF |
| PS16 | SUPPLY PIPING SYSTEM - RELIGIOUS FACILITY | SF |
| PS17 | SUPPLY PIPING SYSTEM - RESIDENCE | SF |
| PS18 | SUPPLY PIPING SYSTEM - RETAIL | SF |
| PS19 | SUPPLY PIPING SYSTEM - SCHOOL K-12 | SF |
| PS20 | SUPPLY PIPING SYSTEM - SHOPS / TRADES, DRY LABORATORY | SF |
| PS21 | SUPPLY PIPING SYSTEM - STUDENT UNION | SF |
| PS22 | SUPPLY PIPING SYSTEM - THEATER | SF |
| PS23 | SUPPLY PIPING SYSTEM - WAREHOUSE | SF |
| PS24 | OLYMPIC POOL PIPING SYSTEM | CF |
| PS25 | RECREATIONAL POOL PIPING SYSTEM | CF |
| PS26 | RESIDENTIAL POOL PIPING SYSTEM | CF |
| PS27 | SPA PIPING SYSTEM | CF |
| PV01 | PHOTOVOLTAIC POWER SYSTEM (700 to 2800 SF) | SF |
| PV02 | POWER INVERTER, DC TO AC | EA |
| RH01 | HEATING SYSTEM, STEAM OR HYDRONIC | SF |
| RR01 | ROOF - FLUID APPLIED (HYPALON, NEOPRENE) | SF |
| RR02 | ROOF - FLUID APPLIED, TRAFFIC DECK (PVC SPRAYED) | SF |
| RR03 | ROOF - 1-PLY, UNBALLASTED | SF |
| RR04 | ROOF - 1-PLY, BALLASTED | SF |
| RR05 | ROOF - SPRAYED POLY FOAM | SF |
| RR06 | ROOF - BITUMINOUS, 3-PLY, SBS MODIFIED BITUMEN, MOP | SF |
| RR07 | ROOF - BITUMINOUS, 2-PLY, APPLIED MODIFIED BITUMEN, TORCH | SF |
| RR08 | ROOF - BITUMINOUS, 4-PLY, COAL TAR PITCH - R30 | SF |
| RR09 | ROOF - PANEL, COPPER, STANDING/WELD SEAM (TERNE-COAT) | SF |
| RR10 | ROOF - PANEL, ALUMINUM OR GALVANIZED, STANDING SEAM | SF |
| RR11 | ROOF - PANEL, ALUMINUM OR GALVANIZED, CORRUGATED | SF |
| RR12 | ROOF - SHINGLE ASPHALT COMPOR-SI, PREMIUM | SF |
| RR13 | ROOF - SHINGLE ASPHALT COMPOR-SI, STANDARD | SF |
| RR14 | ROOF - SHINGLE, CEDAR (MILLED OR SHAKE) | SF |
| RR15 | ROOF - TILE, SLATE OR SIMILAR | SF |
| RR16 | ROOF - TILE, CONCRETE | SF |
| RR17 | ROOF - TILE, METAL | SF |
| RR18 | ROOF - TILE, CLAY, FLAT | SF |
| RR19 | ROOF - TILE, CLAY, MISSION PAN AND CAP OR BARREL | SF |
| RR20 | ROOF GUTTER AND LEADER - ALUMINUM OR GALVANIZED, COATED | LF |
| RR21 | ROOF GUTTER AND LEADER - COPPER, LEAD-COATED | LF |
| RR22 | ROOF GUTTER AND LEADER - COPPER, MILLED-FINISH OR STAINLESS STEEL | LF |
| RR23 | ROOF SKYLIGHT - PLASTIC DOME | SF |
| RR24 | ROOF SKYLIGHT - FIBERGLASS ROOF SANDWICH PANEL | SF |
| RR26 | ROOF SKYLIGHT - GLASS WITH ALUMINUM FRAME | SF |
| RR27 | ROOF - GREEN COVERING OVER MEMBRANE | SF |
| RR28 | ROOF - APPLIED FINISH OVER CONCRETE STRUCTURE | SF |
| SE01 | DISTRIBUTION NETWORK - COURTHOUSE | SF |
| SE02 | DISTRIBUTION NETWORK - CLASSROOM | SF |
| SE03 | DISTRIBUTION NETWORK - DATA CENTER | SF |
| SE04 | DISTRIBUTION NETWORK - DORMITORY | SF |
| SE05 | DISTRIBUTION NETWORK - FOOD SERVICE FACILITY | SF |
| SE06 | DISTRIBUTION NETWORK - GYMNASIUM | SF |
| SE07 | DISTRIBUTION NETWORK - HOTEL | SF |
| SE08 | DISTRIBUTION NETWORK - JAIL / CORRECTIONS | SF |
| SE09 | DISTRIBUTION NETWORK - LABORATORY, WET | SF |
| SE10 | DISTRIBUTION NETWORK - LIBRARY | SF |
| SE11 | DISTRIBUTION NETWORK - MEDICAL CLINIC | SF |
| SE12 | DISTRIBUTION NETWORK - HOSPITAL | SF |
| SE13 | DISTRIBUTION NETWORK - MEDICAL RESIDENCE | SF |
| SE14 | DISTRIBUTION NETWORK - OFFICE | SF |
| SE15 | DISTRIBUTION NETWORK - PARKING STRUCTURE | SF |
| SE16 | DISTRIBUTION NETWORK - RELIGIOUS FACILITY | SF |
| SE17 | DISTRIBUTION NETWORK - RESIDENCE | SF |
| SE18 | DISTRIBUTION NETWORK - RETAIL | SF |
| SE19 | DISTRIBUTION NETWORK - SCHOOL K-12 | SF |
| SE20 | DISTRIBUTION NETWORK - SHOPS / TRADES, DRY LABORATORY | SF |
| SE21 | DISTRIBUTION NETWORK - STUDENT UNION | SF |
| SE22 | DISTRIBUTION NETWORK - THEATER | SF |
| SE23 | DISTRIBUTION NETWORK - WAREHOUSE | SF |
| SF01 | SEATING, FIXED, FOLDING, STANDARD | EA |
| SF02 | SEATING, FIXED, FOLDING, PREMIUM | EA |
| SF03 | BLEACHER, TELESCOPING, ECON., UP TO 15 TIER, MANUAL | EA |
| SF04 | BLEACHER, TELESCOPING, AVE., UP TO 23 TIER, MANUAL | EA |
| SF05 | BLEACHER, TELESCOPING, ECON., UP TO 30 TIER, POWER | EA |
| SG01 | MAIN SWITCHBOARD W/BREAKERS (<400 AMP) | AMP |
| SG02 | MAIN SWITCHBOARD W/BREAKERS (401-600 AMP) | AMP |
| SG03 | MAIN SWITCHBOARD W/BREAKERS (601-800 AMP) | AMP |
| SG04 | MAIN SWITCHBOARD W/BREAKERS (801-1,200 AMP) | AMP |
| SG05 | MAIN SWITCHBOARD W/BREAKERS (1,201-1,600 AMP) | AMP |
| SG06 | MAIN SWITCHBOARD W/BREAKERS (1,601-2,500 AMP) | AMP |
| SG07 | MAIN SWITCHBOARD W/BREAKERS (>2,500 AMP) | AMP |
| SG08 | MC SWGR BREAKER - FME Adjustable (<=200 AMP) | AMP |
| SG09 | MC SWGR BREAKER - FME Adjustable (201-400 AMP) | AMP |
| SG10 | MC SWGR BREAKER - FME Adjustable (401-600 AMP) | AMP |
| SG11 | MC SWGR BREAKER - FME Adjustable (601-800 AMP) | AMP |
| SG12 | MC SWGR BREAKER - FME Adjustable (801-1,600 AMP) | AMP |
| SG13 | MC SWGR BREAKER - FME Adjustable (1,601-2,500 AMP) | AMP |
| SG14 | MC SWGR BREAKER - FME Adjustable (2,501-3,200 AMP) | AMP |
| SG15 | MC SWGR BREAKER - FME Adjustable (3,201-4,000 AMP) | AMP |
| SG16 | MC SWGR BREAKER - FME Adjustable (>4,000 AMP) | AMP |
| SG17 | MC SWGR ENCLOSURE VERT STACK SECT (<=800 AMP) | EA |
| SG18 | MC SWGR ENCLOSURE VERT STACK SECT (801-1,600 AMP) | EA |
| SG19 | MC SWGR ENCLOSURE VERT STACK SECT (1,601-2,500 AMP) | EA |
| SG20 | MC SWGR ENCLOSURE VERT STACK SECT (2,501-3,200 AMP) | EA |
| SG21 | MC SWGR ENCLOSURE VERT STACK SECT (3,201-4,000 AMP) | EA |
| SG22 | MC SWGR ENCLOSURE VERT STACK SECT (>4,000 AMP) | EA |
| SG23 | MC SWGR INCOMING PWR CONNECT (CABLE/CONDUIT) | EA |
| SG24 | MC SWGR METERING AND INSTRUMENT SYSTEMS | EA |
| SG25 | SWGR TIEBREAK SELECTOR, FME, MANUAL | EA |
| SG26 | SWGR TIEBREAK SELECTOR, FME, AUTOMATIC | EA |
| SG27 | SWGR STATION BATTERY AND CHARGER SYSTEM | EA |
| SG28 | SWGR SYNCHRONOUS LOAD TRANSFER SYSTEM | EA |
| SI01 | CONCRETE PEDESTRIAN PAVING - JOINT MAINTENANCE | LF |
| SI02 | ASPHALT PEDESTRIAN PAVING - SEALCOAT | SY |
| SI03 | BRICK PAVERS | SF |
| SI04 | SLATE PAVERS | SF |
| SI05 | GRANITE PAVERS | SF |
| SI06 | ASPHALT VEHICULAR PAVING - SEALCOAT AND STRIPE | SY |
| SI07 | CONCRETE VEHICULAR PAVING - JOINT MAINTENANCE | LF |
| SI08 | CONCRETE ROADWAYS, DRIVES, AND PARKING LOTS | SF |
| SI09 | FENCING, PERIMETER SECURITY | LF |
| SI10 | VEHICLE GATE, SLIDING OR SWINGING, MOTORIZED | EA |
| SI11 | VEHICULAR TRAFFIC CONTROL BARRIER ARM AND OPERATOR, MOTORIZED | EA |
| SI12 | FENCE, CHAIN LINK, 6 FT, GATES AT 100 FT | LF |
| SI13 | FENCE, STEEL WIRE, 4 STRAND, 5 FT, GATES AT 100 FT | LF |
| SI14 | SPORTS TURF SYSTEM - SYNTHETIC, INCL. FABRIC AND FILL | SF |
| SW01 | LOAD INTERRUPTER ALLOCATION (5-15 kV, UP TO 600 AMP) | EA |
| TK01 | WATER TANK (<25 GAL) | GL |
| TK02 | WATER TANK (25-54 GAL) | GL |
| TK03 | WATER TANK (55-274 GAL) | GL |
| TK04 | WATER TANK (275-1,649 GAL) | GL |
| TK05 | WATER TANK (1,650-4,000 GAL) | GL |
| TK06 | EXPANSION TANK, STL PT (<20 GAL) | GL |
| TK07 | EXPANSION TANK, STL PT (20-26 GAL) | GL |
| TK08 | EXPANSION TANK, STL PT (27-49 GAL) | GL |
| TK09 | EXPANSION TANK, STL PT (50-450 GAL) | GL |
| TK10 | EXPANSION TANK, GALV (<20 GAL) | GL |
| TK11 | EXPANSION TANK, GALV (20-26 GAL) | GL |
| TK12 | EXPANSION TANK, GALV (27-49 GAL) | GL |
| TK13 | EXPANSION TANK, GALV (50-450 GAL) | GL |
| TK14 | EXPANSION TANK, DIAPHRAGM (<25 GAL) | GL |
| TK15 | EXPANSION TANK, DIAPHRAGM (25-44 GAL) | GL |
| TK16 | EXPANSION TANK, DIAPHRAGM (45-69 GAL) | GL |
| TK17 | EXPANSION TANK, DIAPHRAGM (70-99 GAL) | GL |
| TK18 | EXPANSION TANK, DIAPHRAGM (100-249 GAL) | GL |
| TK19 | EXPANSION TANK, DIAPHRAGM (250-550 GAL) | GL |
| TK20 | EXPANSION TANK, STL PT (<20 GAL) | GL |
| TK21 | EXPANSION TANK, STL PT (20-26 GAL) | GL |
| TK22 | EXPANSION TANK, STL PT (27-49 GAL) | GL |
| TK23 | EXPANSION TANK, STL PT (50-450 GAL) | GL |
| TK24 | EXPANSION TANK, GALV (<20 GAL) | GL |
| TK25 | EXPANSION TANK, GALV (20-26 GAL) | GL |
| TK26 | EXPANSION TANK, GALV (27-49 GAL) | GL |
| TK27 | EXPANSION TANK, GALV (50-450 GAL) | GL |
| TK28 | EXPANSION TANK, DIAPHRAGM (<25 GAL) | GL |
| TK29 | EXPANSION TANK, DIAPHRAGM (25-44 GAL) | GL |
| TK30 | EXPANSION TANK, DIAPHRAGM (45-69 GAL) | GL |
| TK31 | EXPANSION TANK, DIAPHRAGM (70-99 GAL) | GL |
| TK32 | EXPANSION TANK, DIAPHRAGM (100-249 GAL) | GL |
| TK33 | EXPANSION TANK, DIAPHRAGM (250-550 GAL) | GL |
| TK34 | FUEL TANK, UNDER GROUND (<1,550 GAL) | GL |
| TK35 | FUEL TANK, UNDER GROUND (1,550-3,249 GAL) | GL |
| TK36 | FUEL TANK, UNDER GROUND (3,250-6,999 GAL) | GL |
| TK37 | FUEL TANK, UNDER GROUND (7,000-12,499 GAL) | GL |
| TK38 | FUEL TANK, UNDER GROUND (12,500-50,000 GAL) | GL |
| TK39 | FUEL TANK, ABOVE GROUND (<1,250 GAL) | GL |
| TK40 | FUEL TANK, ABOVE GROUND (1,250-2,999 GAL) | GL |
| TK41 | FUEL TANK, ABOVE GROUND (3,000-6,999 GAL) | GL |
| TK42 | FUEL TANK, ABOVE GROUND (7,000-17,499 GAL) | GL |
| TK43 | FUEL TANK, ABOVE GROUND (17,500-35,000 GAL) | GL |
| TK44 | FUEL TANK, UNDER GROUND (<1,550 GAL) | GL |
| TK45 | FUEL TANK, UNDER GROUND (1,550-3,249 GAL) | GL |
| TK46 | FUEL TANK, UNDER GROUND (3,250-6,999 GAL) | GL |
| TK47 | FUEL TANK, UNDER GROUND (7,000-12,499 GAL) | GL |
| TK48 | FUEL TANK, UNDER GROUND (12,500-50,000 GAL) | GL |
| TK49 | FUEL TANK, ABOVE GROUND (<1,250 GAL) | GL |
| TK50 | FUEL TANK, ABOVE GROUND (1,250-2,999 GAL) | GL |
| TK51 | FUEL TANK, ABOVE GROUND (3,000-6,999 GAL) | GL |
| TK52 | FUEL TANK, ABOVE GROUND (7,000-17,499 GAL) | GL |
| TK53 | FUEL TANK, ABOVE GROUND (17,500-35,000 GAL) | GL |
| TX01 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (75 KVA) | KVA |
| TX02 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (76-112.5 KVA) | KVA |
| TX03 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (112.6-150 KVA) | KVA |
| TX04 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (151-225 KVA) | KVA |
| TX05 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (226-300 KVA) | KVA |
| TX06 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (301-500 KVA) | KVA |
| TX07 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (501-750 KVA) | KVA |
| TX08 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (751-1,000 KVA) | KVA |
| TX09 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (1,001-1,500 KVA) | KVA |
| TX10 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (1,501-2,000 KVA) | KVA |
| TX11 | TRANSFORMER - DRY-TYPE, 3PH, 5-15KV PRIMARY (>2,000 KVA) | KVA |
| TX12 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (75 KVA) | KVA |
| TX13 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (76-112.5 KVA) | KVA |
| TX14 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (112.6-150 KVA) | KVA |
| TX15 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (151-225 KVA) | KVA |
| TX16 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (226-300 KVA) | KVA |
| TX17 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (301-500 KVA) | KVA |
| TX18 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (501-750 KVA) | KVA |
| TX19 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (751-1,000 KVA) | KVA |
| TX20 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (1,001-1,500 KVA) | KVA |
| TX21 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (1,501-2,000 KVA) | KVA |
| TX22 | TRANSFORMER - OIL-FILLED, 3PH, 5-15KV PRIMARY (>2,000 KVA) | KVA |
| TX23 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (9 KVA) | KVA |
| TX24 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (10-30 KVA) | KVA |
| TX25 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (31-50 KVA) | KVA |
| TX26 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (51-75 KVA) | KVA |
| TX27 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (76-112.5 KVA) | KVA |
| TX28 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (112.6-150 KVA) | KVA |
| TX29 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (151-225 KVA) | KVA |
| TX30 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (226-300 KVA) | KVA |
| TX31 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (301-500 KVA) | KVA |
| TX32 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (501-750 KVA) | KVA |
| TX33 | TRANSFORMER - DRY-TYPE, 3PH, 480V SECONDARY (>750KVA) | KVA |
| TX34 | TRANSFORMER - DRY-TYPE, 1PH, 480V SECONDARY (3KVA) | KVA |
| TX35 | TRANSFORMER - DRY-TYPE, 1PH, 480V SECONDARY (4-10 KVA) | KVA |
| TX36 | TRANSFORMER - DRY-TYPE, 1PH, 480V SECONDARY (11-25KVA) | KVA |
| TX37 | TRANSFORMER - DRY-TYPE, 1PH, 480V SECONDARY (26-50 KVA) | KVA |
| TX38 | TRANSFORMER - DRY-TYPE, 1 PH, 480V SECONDARY (51-75 KVA) | KVA |
| TX39 | TRANSFORMER - DRY-TYPE, 1 PH, 480V SECONDARY (76-100 KVA) | KVA |
| TX40 | TRANSFORMER - DRY-TYPE, 1 PH, 480V SECONDARY (101-125 KVA) | KVA |
| TX41 | TRANSFORMER - DRY-TYPE, 1 PH, 480V SECONDARY (126-175 KVA) | KVA |
| TX42 | TRANSFORMER - DRY-TYPE, 1 PH, 480V SECONDARY (176-200 KVA) | KVA |
| TX43 | TRANSFORMER - DRY-TYPE, 1 PH, 480V SECONDARY (>200 KVA) | KVA |
| UP01 | UNINTERRUPTIBLE POWER SUPPLY (<=2 KVA) | KVA |
| UP02 | UNINTERRUPTIBLE POWER SUPPLY (3-5 KVA) | KVA |
| UP03 | UNINTERRUPTIBLE POWER SUPPLY (6-40 KVA) | KVA |
| UP04 | UNINTERRUPTIBLE POWER SUPPLY (41-80 KVA) | KVA |
| UP05 | UNINTERRUPTIBLE POWER SUPPLY (>80 KVA) | KVA |
| VF01 | VARIABLE FREQUENCY DRIVE (<=5 HP) | HP |
| VF02 | VARIABLE FREQUENCY DRIVE (6-7.5 HP) | HP |
| VF03 | VARIABLE FREQUENCY DRIVE (7.6-10 HP) | HP |
| VF04 | VARIABLE FREQUENCY DRIVE (11-15 HP) | HP |
| VF05 | VARIABLE FREQUENCY DRIVE (16-20 HP) | HP |
| VF06 | VARIABLE FREQUENCY DRIVE (21-25 HP) | HP |
| VF07 | VARIABLE FREQUENCY DRIVE (26-30 HP) | HP |
| VF08 | VARIABLE FREQUENCY DRIVE (31-40 HP) | HP |
| VF09 | VARIABLE FREQUENCY DRIVE (41-50 HP) | HP |
| VF10 | VARIABLE FREQUENCY DRIVE (51-75 HP) | HP |
| VF11 | VARIABLE FREQUENCY DRIVE (76-100 HP) | HP |
| VF12 | VARIABLE FREQUENCY DRIVE (101-150 HP) | HP |
| VF13 | VARIABLE FREQUENCY DRIVE (>150 HP) | HP |
| VT01 | ELEVATOR MODERNIZATION - TRACTION - LOW RISE 2-8 FLOORS | EA |
| VT02 | ELEVATOR MODERNIZATION - TRACTION - HIGH RISE 9-22 FLOORS | EA |
| VT03 | ELEVATOR MODERNIZATION - HYDRAULIC 2-5 FLOORS | EA |
| VT04 | ELEVATOR MODERNIZATION - TRACTION - HIGH RISE ADD PER FLOOR OVER 9 | FLR |
| VT05 | WHEELCHAIR LIFT, VERTICAL, AVERAGE (3 FLOORS MAX) | EA |
| VT06 | ESCALATOR, STAINLESS STEEL, 48 INCH WIDTH, 15 FOOT FLOOR HEIGHT | FLR |
| VT07 | DUMBWAITER | EA |
| WH01 | WATER HEATER - COMMERCIAL, GAS (<=87 MBH INPUT) | MBH |
| WH02 | WATER HEATER - COMMERCIAL, GAS (88-168 MBH INPUT) | MBH |
| WH03 | WATER HEATER - COMMERCIAL, GAS (169-225 MBH INPUT) | MBH |
| WH04 | WATER HEATER - COMMERCIAL, GAS (226-310 MBH INPUT) | MBH |
| WH05 | WATER HEATER - COMMERCIAL, GAS (311-613 MBH INPUT) | MBH |
| WH06 | WATER HEATER - COMMERCIAL, GAS (>613 MBH INPUT) | MBH |
| WH07 | WATER HEATER - RESIDENTIAL, GAS (<=35 GAL) | GL |
| WH08 | WATER HEATER - RESIDENTIAL, GAS (36-45 GAL) | GL |
| WH09 | WATER HEATER - RESIDENTIAL, GAS (46-55 GAL) | GL |
| WH10 | WATER HEATER - RESIDENTIAL, GAS (>55 GAL) | GL |
| WH11 | WATER HEATER - COMMERCIAL, ELECTRIC (<=30 GAL) | GL |
| WH12 | WATER HEATER - COMMERCIAL, ELECTRIC (31-70 GAL) | GL |
| WH13 | WATER HEATER - COMMERCIAL, ELECTRIC (71-90 GAL) | GL |
| WH14 | WATER HEATER - COMMERCIAL, ELECTRIC (91-110 GAL) | GL |
| WH15 | WATER HEATER - COMMERCIAL, ELECTRIC (111-135 GAL) | GL |
| WH16 | WATER HEATER - COMMERCIAL, ELECTRIC (136-175 GAL) | GL |
| WH17 | WATER HEATER - COMMERCIAL, ELECTRIC (176-225 GAL) | GL |
| WH18 | WATER HEATER - COMMERCIAL, ELECTRIC (226-325 GAL) | GL |
| WH19 | WATER HEATER - COMMERCIAL, ELECTRIC (326-550 GAL) | GL |
| WH20 | WATER HEATER - COMMERCIAL, ELECTRIC (>550 GAL) | GL |
| WH21 | WATER HEATER - RESIDENTIAL, ELECTRIC (<=15 GAL) | GL |
| WH22 | WATER HEATER - RESIDENTIAL, ELECTRIC (16-25 GAL) | GL |
| WH23 | WATER HEATER - RESIDENTIAL, ELECTRIC (26-46 GAL) | GL |
| WH24 | WATER HEATER - RESIDENTIAL, ELECTRIC (47-100 GAL) | GL |
| WH25 | WATER HEATER - RESIDENTIAL, ELECTRIC (>100 GAL) | GL |
| WH26 | WATER HEATER - SHELL & TUBE (<=45 GPM) | GPM |
| WH27 | WATER HEATER - SHELL & TUBE (46-93 GPM) | GPM |
| WH28 | WATER HEATER - SHELL & TUBE (94-105 GPM) | GPM |
| WH29 | WATER HEATER - SHELL & TUBE (106-400 GPM) | GPM |
| WH30 | WATER HEATER - SHELL & TUBE (401-675 GPM) | GPM |
| WH31 | WATER HEATER - SHELL & TUBE (>675 GPM) | GPM |
| WH32 | WATER HEATER (ELECTRIC INSTANTANEOUS) | EA |
| WH33 | SOLAR HEAT COLLECTOR SYSTEM (LIQUID) (NO PUMPS) | SF |
| WH34 | WATER HEATER, AIR - WATER HEAT PUMP (TO 188 MBH HW) | MBH |
| WN01 | GLASS, WINDOW, ALUMINUM OR WOOD, STANDARD | SF |
| WN02 | GLASS, WINDOW, ALUMINUM OR WOOD, CUSTOM | SF |
| WN03 | GLASS, CURTAIN WALL, STANDARD | SF |
| WN04 | GLASS, CURTAIN WALL, PREMIUM | SF |
| WN05 | GLASS, STOREFRONT | SF |
| WN06 | GLASS, WINDOW, STEEL - STANDARD | SF |
| WT01 | WATER SOFTENER (41 - 70 GPM) | GPM |
| WT02 | WATER SOFTENER (71 - 120 GPM) | GPM |
| WT03 | WATER SOFTENER (121 - 200 GPM) | GPM |
| WT04 | WATER SOFTENER (>200 GPM) | GPM |
| WT05 | REVERSE OSMOSIS SYSTEM (<=5,000 GPD) | GPD |
| WT06 | REVERSE OSMOSIS SYSTEM (5,001-10,000 GPD) | GPD |
| WT07 | REVERSE OSMOSIS SYSTEM (>10,000 GPD) | GPD |
| WT08 | POOL FILTRATION, TREATMENT, PUMPING, HEATING SYSTEMS | SF |
| WT09 | OLYMPIC POOL WATER TREATMENT SYSTEM | CF |
| WT10 | RECREATIONAL POOL WATER TREATMENT SYSTEM | CF |
| WT11 | RESIDENTIAL POOL WATER TREATMENT SYSTEM | CF |