## Sheet1
Asset_Name*** | Asset ID | Asset Description | Parent Asset ID | Asset Type | Building | Floor/Level | Location | Room # | Manufacturer | Model No | Serial No | Year Purchased | Life Cycle Replacement Year | Capital Replacement Cost
CP-1 | MLG.CP.1.1 | Ciculation Pump | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Bell&Gossett | EcoCircXLN65-130 |  | 2022 | 2037 | 4186
CP-2 | MLG.CP.1.2 | Ciculation Pump | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Bell&Gossett | EcoCircXLN55-45 |  | 2022 | 2037 | 3099
DF-1.1.1 | MLG.DF.1.1.1 | Drinking Fountain | UWT | PLUMBING | Milgard Hall | 01 | MLG.100C | 100C | Elkay | LZWS-EDFP217K |  | 2022 | 2032 | 2700
DF-1.2.1 | MLG.DF.1.2.1 | Drinking Fountain | UWT | PLUMBING | Milgard Hall | 02 | MLG.200C | 200C | Elkay | LZWS-EDFP217K |  | 2022 | 2032 | 2700
DF-1.3.1 | MLG.DF.1.3.1 | Drinking Fountain | UWT | PLUMBING | Milgard Hall | 03 | MLG.300C | 300C | Elkay | LZWS-EDFP217K |  | 2022 | 2032 | 2700
EEW-1.1.1 | MLG.EEW.1.1.1 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 01 | MLG.122 | 122 | Guardian | GBF1849LH-R |  | 2022 | 2037 | 458.49
EEW-1.2.1 | MLG.EEW.1.2.1 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 02 | MLG.227 | 227 | Guardian | GBF1849LH-R |  | 2022 | 2037 | 458.49
EEW-1.2.2 | MLG.EEW.1.2.2 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 02 | MLG.230 | 230 | Guardian | GBF1849LH-R |  | 2022 | 2037 | 458.49
EEW-1.2.3 | MLG.EEW.1.2.3 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 02 | MLG.226 | 226 | Guardian | GBF1849LH-R |  | 2022 | 2037 | 458.49
EEW-1.3.1 | MLG.EEW.1.3.1 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 03 | MLG.333 | 333 | Guardian | GBF1849LH-R |  | 2022 | 2037 | 458.49
EEW-2.1.1 | MLG.EEW.2.1.1 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 01 | MLG.134 | 134 | Guardian | GBF1724 |  | 2022 | 2037 | 422.13
EEW-2.1.2 | MLG.EEW.2.1.2 | Emergency Eye Wash | UWT | PLUMBING | Milgard Hall | 01 | MLG.128 | 128 | Guardian | GBF1724 |  | 2022 | 2037 | 422.13
ES-1.1.1 | MLG.ES.1.1.1 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 01 | MLG.128 | 128 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-1.2.1 | MLG.ES.1.2.1 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 02 | MLG.227 | 227 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-1.2.2 | MLG.ES.1.2.2 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 02 | MLG.230 | 230 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-1.2.3 | MLG.ES.1.2.3 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 02 | MLG.226 | 226 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-1.2.4 | MLG.ES.1.2.4 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 02 | MLG.222 | 222 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-1.3.1 | MLG.ES.1.3.1 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 03 | MLG.333 | 333 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-2.1.1 | MLG.ES.2.1.1 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 01 | MLG.134 | 134 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ES-2.1.2 | MLG.ES.2.1.2 | Emergency Shower | UWT | PLUMBING | Milgard Hall | 01 | MLG.122 | 122 | Guardian | GBF1643-GRN |  | 2022 | 2037 | 255.17
ET-1 | MLG.ET.1 | Expansion Tank | UWT | MECHANICAL | Milgard Hall | 01 | MLG.106A | 106A | Amtrol | ST-30V-C |  | 2022 | 2032 | 1362.72
ET-2 | MLG.ET.2 | Expansion Tank | UWT | MECHANICAL | Milgard Hall | 01 | MLG.106A | 106A | Amtrol | ST-5-C |  | 2022 | 2032 | 816.85
MLG.AC.1 | MLG.AC.1 | Air Cmpressor | UWT | PLUMBING | Milgard Hall | 01 | MLG.134A | 134A | Atlas Copco | GA11VSD+ FF |  | 2022 | 2032 | 13266
MLG.BC.1 | MLG.BC.1 | Branch Controller | UWT | MECHANICAL | Milgard Hall | 01 | MLG.117 | 117 | Trane | TCMBM1016JA11N4BV |  | 2022 | 2040 | 8793.93
MLG.BC.2 | MLG.BC.2 | Branch Controller | UWT | MECHANICAL | Milgard Hall | 01 | MLG.110C | 110C | Trane | TCMBM1012JA11N4BV |  | 2022 | 2040 | 8793.93
MLG.BC.3 | MLG.BC.3 | Branch Controller | UWT | MECHANICAL | Milgard Hall | 02 | MLG.225 | 225 | Trane | TCMBM1012JA11N4BV |  | 2022 | 2040 | 7973.75
MLG.BC.4 | MLG.BC.4 | Branch Controller | UWT | MECHANICAL | Milgard Hall | 02 | MLG.216 | 216 | Trane | TCMBM1012JA11N4BV |  | 2022 | 2040 | 7973.75
MLG.BC.5 | MLG.BC.5 | Branch Controller | UWT | MECHANICAL | Milgard Hall | 03 | MLG.331 | 331 | Trane | TCMBM1012JA11N4BV |  | 2022 | 2040 | 7973.75
MLG.BC.6 | MLG.BC.6 | Branch Controller | UWT | MECHANICAL | Milgard Hall | 03 | MLG.316 | 316 | Trane | TCMBM1012JA11N4BV |  | 2022 | 2040 | 7973.75
MLG.BH.1 | MLG.BH.1 | Baseboard Heater System (11) | UWT | MECHANICAL | Milgard Hall |  |  |  | Indeeco | 916U01250CW-1500-S |  | 2022 | 2032 | 5034
MLG.BSC.203 | MLG.BSC.203 | Biosafety Cabinet | UWT | LAB EQUIPMENT | Milgard Hall | 02 | MLG.226 | 226 | NuAire | 540-400 |  | 2022 | 2032 | 11977.25
MLG.CUH.1 | MLG.CUH.1 | Unit Heater | UWT | MECHANICAL | Milgard Hall | 01 | MLG.1ST2 | 1ST2 | Trane | UHAA031ATA |  | 2022 | 2037 | 766.67
MLG.CUH.2 | MLG.CUH.2 | Unit Heater | UWT | MECHANICAL | Milgard Hall | 01 | MLG.1ST1 | 1ST1 | Trane | UHAA031ATA |  | 2022 | 2037 | 766.67
MLG.DOAS.1 | MLG.DOAS.1 | Air Handling Unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Valent | VPRP-352-CWZ-60E-C-5XC |  | 2022 | 2042 | 95978.66
MLG.DOAS.2 | MLG.DOAS.2 | Air Handling Unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Valent | VXE-212-58-40H-17.5A |  | 2022 | 2042 | 95978.67
MLG.DOAS.3 | MLG.DOAS.3 | Air Handling Unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Valent | VXE-212-58-40H-17.5A |  | 2022 | 2042 | 95978.67
MLG.DOAS.4 | MLG.DOAS.4 | Air Handling Unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Valent | VX-112-7.5A |  | 2022 | 2042 | 50000
MLG.EAV.2.1 | MLG.EAV.2.1 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.227 | 227 | Antec | VV108 |  | 2022 | 2032 | 5533
MLG.EAV.2.2 | MLG.EAV.2.2 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.226 | 226 | Antec | VV108 |  | 2022 | 2032 | 5533
MLG.EAV.3.1 | MLG.EAV.3.1 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.333 | 333 | Antec | VV108 |  | 2022 | 2032 | 5533
MLG.EAV.3.2 | MLG.EAV.3.2 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.333 | 333 | Antec | VV108 |  | 2022 | 2032 | 5533
MLG.EAV.3.3 | MLG.EAV.3.3 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.333 | 333 | Antec | VV112 |  | 2022 | 2032 | 5533
MLG.EAV.3.4 | MLG.EAV.3.4 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.333 | 333 | Antec | VV112 |  | 2022 | 2032 | 5533
MLG.EF.1.1 | MLG.EF.1.1 | Exhaust Fan | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Cook | 180TMX (VF2) |  | 2022 | 2042 | 4100
MLG.EF.R.1 | MLG.EF.R.1 | Exhaust Fan | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Cook | 195 CPSALES-3A |  | 2022 | 2042 | 8313.18
MLG.EF.R.2 | MLG.EF.R.2 | Exhaust Fan | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Cook | 195 CPSALES-3A |  | 2022 | 2042 | 8313.18
MLG.ELEV.1 | MLG.ELEV.1 | Elevator | UWT | ELEVATOR | Milgard Hall | 01 | MLG.1EL1 | 1EL1 | Otis | Gen2 |  | 2022 | 2047
MLG.ETU.1.1 | MLG.ETU.1.1 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.117 | 117 | Price | SDE5 Size 6 |  | 2022 | 2037 | 282.72
MLG.ETU.1.2 | MLG.ETU.1.2 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Price | SDE5 Size 10 |  | 2022 | 2037 | 282.72
MLG.ETU.1.3 | MLG.ETU.1.3 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Price | SDE5 Size 10 |  | 2022 | 2037 | 282.72
MLG.ETU.1.4 | MLG.ETU.1.4 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.128 | 128 | Price | SDE5 Size 10 |  | 2022 | 2037 | 282.72
MLG.ETU.1.5 | MLG.ETU.1.5 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.126 | 126 | Price | SDE5 Size 6 |  | 2022 | 2037 | 282.72
MLG.ETU.1.6 | MLG.ETU.1.6 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.120 | 120 | Price | SDE5 Size 12 |  | 2022 | 2037 | 282.72
MLG.ETU.1.7 | MLG.ETU.1.7 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.114 | 114 | Price | SDE5 Size 12 |  | 2022 | 2037 | 282.72
MLG.ETU.2.1 | MLG.ETU.2.1 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.227 | 227 | Price | SDE5 Size 12 |  | 2022 | 2037 | 282.72
MLG.ETU.2.2 | MLG.ETU.2.2 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.230 | 230 | Price | SDE5 Size 14 |  | 2022 | 2037 | 282.72
MLG.ETU.2.3 | MLG.ETU.2.3 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.226 | 226 | Price | SDE5 Size 10 |  | 2022 | 2037 | 282.72
MLG.ETU.2.4 | MLG.ETU.2.4 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.214 | 214 | Price | SDE5 Size 12 |  | 2022 | 2037 | 282.72
MLG.ETU.3.1 | MLG.ETU.3.1 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.331 | 331 | Price | SDE5 Size 6 |  | 2022 | 2037 | 282.72
MLG.ETU.3.3 | MLG.ETU.3.3 | Exhaust Terminal Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.314 | 314 | Price | SDE5 Size 12 |  | 2022 | 2037 | 282.72
MLG.FACP.1 | MLG.FACP.1 | Fire Alarm Control Panel | UWT | FIRE ALARM | Milgard Hall | 01 | MLG.106 | 106 | SIMPLEX | 4100-9706 |  | 2022 | 2042 | 5000
MLG.FFB.1 | MLG.FFB.1 | Fan Filter Box | UWT | MECHANICAL | Milgard Hall | 01 | MLG.128 | 128 | Camfil | M21H2 |  | 2022 | 2032 | 2000
MLG.FH.201 | MLG.FH.201 | 4' Fume Hood | UWT | LAB EQUIPMENT | Milgard Hall | 02 | MLG.226 | 226 | Labconco | XStream 110410000 |  | 2022 | 2032 | 45000
MLG.FH.203 | MLG.FH.203 | 4' Fume Hood | UWT | LAB EQUIPMENT | Milgard Hall | 02 | MLG.227 | 227 | Labconco | XStream 110410000 |  | 2022 | 2032 | 75000
MLG.FH.301 | MLG.FH.301 | 4' Fume Hood | UWT | LAB EQUIPMENT | Milgard Hall | 03 | MLG.333 | 333 | Labconco | XStream 110410000 |  | 2022 | 2032 | 5000
MLG.FH.302 | MLG.FH.302 | 4' Fume Hood | UWT | LAB EQUIPMENT | Milgard Hall | 03 | MLG.333 | 333 | Labconco | XStream 110410000 |  | 2022 | 2032 | 5000
MLG.FH.303 | MLG.FH.303 | 6' Fume Hood | UWT | LAB EQUIPMENT | Milgard Hall | 03 | MLG.333 | 333 | Labconco | XStream 110610000 |  | 2022 | 2032 | 5000
MLG.FH.304 | MLG.FH.304 | 6' Fume Hood | UWT | LAB EQUIPMENT | Milgard Hall | 03 | MLG.333 | 333 | Labconco | XStream 110610000 |  | 2022 | 2032 | 5000
MLG.MSBN1A | MLG.MSBN1A | Main Switchgear | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | QED-2 |  | 2022 | 2052 | 5000
MLG.PS1 | MLG.PS1 | Primary Switch | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | METAL ENCLOSED |  | 2022 | 2052 | 45000
MLG.SHADES.1 | MLG.SHADES.1 | Electic Roller Shades System | UWT | SYSTEM | Milgard Hall |  |  |  | Draper | NA |  | 2022 | 2037
MLG.SUBN1A | MLG.SUBN1A | Substation | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | VPI |  | 2022 | 2057 | 75000
MLG.UH.1 | MLG.UH.1 | Unit Heater | UWT | MECHANICAL | Milgard Hall | 01 | MLG.106A | 106A | Trane | UHEC031AACA |  | 2022 | 2032 | 2000
MLG.VAV.1.1 | MLG.VAV.1.1 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.110 | 110 | Price | SDV5 Size 6 |  | 2022 | 2032 | 2000
MLG.VAV.1.2 | MLG.VAV.1.2 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.110B | 110B | Price | SDV5 Size 6 |  | 2022 | 2032 | 2000
MLG.VAV.1.3 | MLG.VAV.1.3 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.117 | 117 | Price | SDV5 Size 12 |  | 2022 | 2032 | 5000
MLG.VAV.1.4 | MLG.VAV.1.4 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Price | SDV5 Size 10 |  | 2022 | 2032 | 5000
MLG.VAV.1.5 | MLG.VAV.1.5 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Price | SDV5 Size 10 |  | 2022 | 2032 | 5000
MLG.VAV.1.6 | MLG.VAV.1.6 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.132 | 132 | Price | SDV5 Size 6 |  | 2022 | 2032 | 5000
MLG.VAV.1.7 | MLG.VAV.1.7 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.128 | 128 | Price | SDV5 Size 10 |  | 2022 | 2032 | 5000
MLG.VAV.1.8 | MLG.VAV.1.8 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.122 | 122 | Price | SDV5 Size 10 |  | 2022 | 2032 | 50000
MLG.VAV.2.1 | MLG.VAV.2.1 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.200 | 200 | Price | SDV5 Size 6 |  | 2022 | 2032 | 25000
MLG.VAV.2.10 | MLG.VAV.2.10 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.227 | 227 | Price | SDV5 Size 12 |  | 2022 | 2032 | 25000
MLG.VAV.2.11 | MLG.VAV.2.11 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.230 | 230 | Price | SDV5 Size 12 |  | 2022 | 2037 | 282.72
MLG.VAV.2.12 | MLG.VAV.2.12 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.226 | 226 | Price | SDV5 Size 12 |  | 2022 | 2037 | 282.72
MLG.VAV.2.13 | MLG.VAV.2.13 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.222 | 222 | Price | SDV5 Size 8 |  | 2022 | 2037 | 282.72
MLG.VAV.2.2 | MLG.VAV.2.2 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.200 | 200 | Price | SDV5 Size 12 |  | 2022 | 2037 | 282.72
MLG.VAV.2.3 | MLG.VAV.2.3 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.203 | 203 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.2.4 | MLG.VAV.2.4 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.201 | 201 | Price | SDV5 Size 10 |  | 2022 | 2037 | 282.72
MLG.VAV.2.5 | MLG.VAV.2.5 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.204 | 204 | Price | SDV5 Size 8 |  | 2022 | 2037 | 282.72
MLG.VAV.2.6 | MLG.VAV.2.6 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.204 | 204 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.2.7 | MLG.VAV.2.7 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.215 | 215 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.2.8 | MLG.VAV.2.8 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.221 | 221 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.2.9 | MLG.VAV.2.9 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.225 | 225 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.3.1 | MLG.VAV.3.1 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.300 | 300 | Price | SDV5 Size 12 |  | 2022 | 2037 | 282.72
MLG.VAV.3.10 | MLG.VAV.3.10 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.326A | 326A | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.3.11 | MLG.VAV.3.11 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.322 | 322 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.3.2 | MLG.VAV.3.2 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.307 | 307 | Price | SDV5 Size 8 |  | 2022 | 2037 | 282.72
MLG.VAV.3.3 | MLG.VAV.3.3 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.315 | 315 | Price | SDV5 Size 6 |  | 2022 | 2037 | 282.72
MLG.VAV.3.4 | MLG.VAV.3.4 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.300 | 300 | Price | SDV5 Size 12 |  | 2022 | 2037 | 282.72
MLG.VAV.3.5 | MLG.VAV.3.5 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.325B | 325B | Price | SDV5 Size 10 |  | 2022 | 2037 | 282.72
MLG.VAV.3.6 | MLG.VAV.3.6 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.325M | 325M | Price | SDV5 Size 8 |  | 2022 | 2037 | 282.72
MLG.VAV.3.8 | MLG.VAV.3.8 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.330 | 330 | Price | SDV5 Size 10 |  | 2022 | 2037 | 282.72
MLG.VAV.3.9 | MLG.VAV.3.9 | Variable Air Volume Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.326 | 326 | Price | SDV5 Size 8 |  | 2022 | 2037 | 282.72
MLG.VFD.DOAS.1.EF1 | MLG.VFD.DOAS.1.EF1 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.1.EF2 | MLG.VFD.DOAS.1.EF2 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.1.SF1 | MLG.VFD.DOAS.1.SF1 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.1.SF2 | MLG.VFD.DOAS.1.SF2 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.2.EF | MLG.VFD.DOAS.2.EF | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.2.SF | MLG.VFD.DOAS.2.SF | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.3.EF | MLG.VFD.DOAS.3.EF | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.3.SF | MLG.VFD.DOAS.3.SF | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.DOAS.4 | MLG.VFD.DOAS.4 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.EF.R.1 | MLG.VFD.EF.R.1 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VFD.EF.R.2 | MLG.VFD.EF.R.2 | Variable Frequency Drive | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Danfoss | FC102 |  | 2022 | 2037 | 1000
MLG.VRF.1.1 | MLG.VRF.1.1 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.106 | 106 | Trane | TPEFYP072MH140A |  | 2022 | 2037 | 1946.26
MLG.VRF.1.10 | MLG.VRF.1.10 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.115 | 115 | Trane | TPKFYP006LM140A |  | 2022 | 2037 | 1163.5
MLG.VRF.1.11 | MLG.VRF.1.11 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Trane | TPEFYP030MA144A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.12 | MLG.VRF.1.12 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | Trane | TPEFYP030MA144A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.13 | MLG.VRF.1.13 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.132 | 132 | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.14 | MLG.VRF.1.14 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.128 | 128 | Trane | TPEFYP024MA144A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.15 | MLG.VRF.1.15 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.122 | 122 | Trane | TPEFYP048MA144A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.16 | MLG.VRF.1.16 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.103 | 103 | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.17 | MLG.VRF.1.17 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.110B | 110B | Trane | TPKFYP024KM142A |  | 2022 | 2037 | 1163.5
MLG.VRF.1.2 | MLG.VRF.1.2 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.102 | 102 | Trane | TPLFYP015FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.3 | MLG.VRF.1.3 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.101 | 101 | Trane | TPEFYP048MA144A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.4 | MLG.VRF.1.4 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.101 | 101 | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.5 | MLG.VRF.1.5 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.101N | 101N | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.6 | MLG.VRF.1.6 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.101M | 101M | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.7 | MLG.VRF.1.7 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.101H | 101H | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.8 | MLG.VRF.1.8 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.101K | 101K | Trane | TPEFYP036MA144A |  | 2022 | 2037 | 1256.9
MLG.VRF.1.9 | MLG.VRF.1.9 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 01 | MLG.113 | 113 | Trane | TPKFYP024KM142A |  | 2022 | 2037 | 1163.5
MLG.VRF.2.1 | MLG.VRF.2.1 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.203B | 203B | Trane | TPEFYP054MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.10 | MLG.VRF.2.10 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.215 | 215 | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1271.27
MLG.VRF.2.11 | MLG.VRF.2.11 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.217 | 217 | Trane | TPKFYP024KM142A |  | 2022 | 2037 | 1176.79
MLG.VRF.2.12 | MLG.VRF.2.12 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.219 | 219 | Trane | TPKFYP006LM140A |  | 2022 | 2037 | 1176.79
MLG.VRF.2.13 | MLG.VRF.2.13 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.221 | 221 | Trane | TPEFYP030MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.14 | MLG.VRF.2.14 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.221B | 221B | Trane | TPLFYP012FM140A |  | 2022 | 2037 | 1271.27
MLG.VRF.2.15 | MLG.VRF.2.15 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.221A | 221A | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1271.27
MLG.VRF.2.16 | MLG.VRF.2.16 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.227 | 227 | Trane | TPEFYP048MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.17 | MLG.VRF.2.17 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.230 | 230 | Trane | TPEFYP024MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.18 | MLG.VRF.2.18 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.230 | 230 | Trane | TPEFYP024MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.19 | MLG.VRF.2.19 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.226 | 226 | Trane | TPEFYP027MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.2 | MLG.VRF.2.2 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.203D | 203D | Trane | TPEFYP054MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.20 | MLG.VRF.2.20 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.222 | 222 | Trane | TPEFYP036MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.21 | MLG.VRF.2.21 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.202 | 202 | Trane | TPEFYP030MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.3 | MLG.VRF.2.3 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.201 | 201 | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1271.27
MLG.VRF.2.4 | MLG.VRF.2.4 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.203 | 203 | Trane | TPEFYP072MH140A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.5 | MLG.VRF.2.5 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.201 | 201 | Trane | TPEFYP018MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.6 | MLG.VRF.2.6 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.210 | 210 | Trane | TPLFYP012FM140A |  | 2022 | 2037 | 1271.27
MLG.VRF.2.8 | MLG.VRF.2.8 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.204 | 204 | Trane | TPEFYP048MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.2.9 | MLG.VRF.2.9 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 02 | MLG.211 | 211 | Trane | TPEFYP048MA144A |  | 2022 | 2037 | 1974.2
MLG.VRF.3.1 | MLG.VRF.3.1 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.301 | 301 | Trane | TPEFYP036MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.10 | MLG.VRF.3.10 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.317 | 317 | Trane | TPEFYP036MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.11 | MLG.VRF.3.11 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.321 | 321 | Trane | TPLFYP018FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.12 | MLG.VRF.3.12 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.323 | 323 | Trane | TPLFYP018FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.13 | MLG.VRF.3.13 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.306 | 306 | Trane | TPLFYP018FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.14 | MLG.VRF.3.14 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.325 | 325 | Trane | TPLFYP012FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.15 | MLG.VRF.3.15 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.325A | 325A | Trane | TPEFYP036MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.16 | MLG.VRF.3.16 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.325L | 325L | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.17 | MLG.VRF.3.17 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.331 | 331 | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.18 | MLG.VRF.3.18 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.325M | 325M | Trane | TPLFYP005FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.19 | MLG.VRF.3.19 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.327 | 327 | Trane | TPKFYP024KM142A |  | 2022 | 2037 | 1141.45
MLG.VRF.3.2 | MLG.VRF.3.2 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.301 | 301 | Trane | TPEFYP036MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.20 | MLG.VRF.3.20 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.329 | 329 | Trane | TPKFYP006LM140A |  | 2022 | 2037 | 1141.45
MLG.VRF.3.22 | MLG.VRF.3.22 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.330 | 330 | Trane | TPEFYP024MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.23 | MLG.VRF.3.23 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.330 | 330 | Trane | TPEFYP024MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.24 | MLG.VRF.3.24 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.326 | 326 | Trane | TPEFYP048MH142A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.25 | MLG.VRF.3.25 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.326B | 326B | Trane | TPKFYP030KM142A |  | 2022 | 2037 | 1141.45
MLG.VRF.3.26 | MLG.VRF.3.26 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.322 | 322 | Trane | TPEFYP024MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.3 | MLG.VRF.3.3 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.305 | 305 | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.4 | MLG.VRF.3.4 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.305 | 305 | Trane | TPEFYP048MH142A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.5 | MLG.VRF.3.5 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.307 | 307 | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.6 | MLG.VRF.3.6 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.311 | 311 | Trane | TPEFYP030MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.7 | MLG.VRF.3.7 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.311 | 311 | Trane | TPEFYP030MA144A |  | 2022 | 2037 | 1899.85
MLG.VRF.3.8 | MLG.VRF.3.8 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.315 | 315 | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1231.84
MLG.VRF.3.9 | MLG.VRF.3.9 | VRF Indoor Unit | UWT | MECHANICAL | Milgard Hall | 03 | MLG.317 | 317 | Trane | TPLFYP008FM140A |  | 2022 | 2037 | 1231.84
MLG.VRFCU.1 | MLG.VRFCU.1 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TURYE2404AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.2 | MLG.VRFCU.2 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TURYE2164AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.3 | MLG.VRFCU.3 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TURYE1924AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.4 | MLG.VRFCU.4 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TURYE2164AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.5 | MLG.VRFCU.5 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TURYE2164AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.6 | MLG.VRFCU.6 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TURYE2404AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.7 | MLG.VRFCU.7 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TUHYE1924AN40AN |  | 2022 | 2042 | 15941.21
MLG.VRFCU.8 | MLG.VRFCU.8 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TUHYE2644BN40AN |  | 2022 | 2042 | 28425
MLG.VRFCU.9 | MLG.VRFCU.9 | VRF Outdoor unit | UWT | MECHANICAL | Milgard Hall | ROOF | MLG.ROOF | ROOF | Trane | TUHYE2644BN40AN |  | 2022 | 2042 | 28425
OWS-1 | MLG.OLS.1 | Oil Water Seprator | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134A | 134A | Atlas Copco | OSC |  | 2022 | 2032 | 1325
PCB-MLG01-NR1 | MLG.PCB.MLG01.NR1 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.115 | 115 | Square D | NC68SHR |  | 2022 | 2042 | 5000
PCB-MLG01-NR2 | MLG.PCB.MLG01.NR2 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.115 | 115 | Square D | NC44SHR |  | 2022 | 2042 | 5000
PCB-MLG02-NR1 | MLG.PCB.MLG02.NR1 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 02 | MLG.219 | 219 | Square D | NC68SHR |  | 2022 | 2042 | 5000
PCB-MLG02-NR2 | MLG.PCB.MLG02.NR2 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 02 | MLG.219 | 219 | Square D | NC38SHR |  | 2022 | 2042 | 5000
PCB-MLG03-NH1 | MLG.PCB.MLG03.NH1 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 03 | MLG.329 | 329 | Square D | HC4486TSHR |  | 2022 | 2042 | 5000
PCB-MLG03-NR1 | MLG.PCB.MLG03.NR1 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 03 | MLG.329 | 329 | Square D | NC68SHR |  | 2022 | 2042 | 5000
PCB-MLG03-NR2 | MLG.PCB.MLG03.NR2 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 03 | MLG.329 | 329 | Square D | NC38SHR |  | 2022 | 2042 | 5000
PCB-MLG03-NR3 | MLG.PCB.MLG03.NR3 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 03 | MLG.304 | 304 | Square D | NC26SHR |  | 2022 | 2042 | 5000
PCB-MLG03-NR4 | MLG.PCB.MLG03.NR4 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 03 | MLG.309 | 309 | Square D | NC38SHR |  | 2022 | 2042 | 5000
PCD-MLG01-NH1 | MLG.PCD.MLG01.NH1 | Distribution Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | HC4486TSHR |  | 2022 | 2042 | 5000
PCD-MLG01-NH2 | MLG.PCD.MLG01.NH2 | Distribution Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | NC38SHR |  | 2022 | 2042 | 5000
PCD-MLG01-NR1 | MLG.PCD.MLG01.NR1 | Distribution Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.115 | 115 | Square D | hc4268TSHR |  | 2022 | 2042 | 5000
PCD-MLG01-NR2 | MLG.PCD.MLG01.NR2 | Distribution Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | NC50SHR |  | 2022 | 2042 | 5000
PCD-MLG01-NR3 | MLG.PCD.MLG01.NR3 | Distribution Panelboard | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | NC38SHR |  | 2022 | 2042 | 5000
PCD-MLG03-NR5 | MLG.PCD.MLG03.NR5 | Panelboard | UWT | ELECTRICAL | Milgard Hall | 03 | MLG.329 | 329 | Square D | NC38SHR |  | 2022 | 2042 | 5000
RPBA-1 | MLG.RPBA.1.1 | Reduced Pressure Backflow Assembly | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Watts | 957NRS |  | 2022 | 2032 | 2605.64
RPBA-2 | MLG.RPBA.1.2 | Reduced Pressure Backflow Assembly | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Watts | 957NRS |  | 2022 | 2032 | 2605.64
RPBA-3 | MLG.RPBA.1.3 | Reduced Pressure Backflow Assembly | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Watts | LF009 |  | 2022 | 2032 | 371.14
RPBA-4 | MLG.RPBA.1.4 | Reduced Pressure Backflow Assembly | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Watts | LF009 |  | 2022 | 2032 | 1448.15
RPBA-5 | MLG.RPBA.1.5 | Reduced Pressure Backflow Assembly | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Watts | LF009 |  | 2022 | 2032 | 664.68
RPBA-6 | MLG.RPBA.1.6 | Reduced Pressure Backflow Assembly | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | Watts | LF009 |  | 2022 | 2032 | 1448.15
SP-1 | MLG.SP.1 | Sump Pump | UWT | PLUMBING | Milgard Hall | 01 | MLG.1EL1 | 1EL1 | Zoeller | I163 |  | 2022 | 2032 | 1000
TR-MLG01-NO1 | MLG.TR.MLG01.NO1 | Transformer | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.115 | 115 | Square D | EX300T3H |  | 2022 | 2052 | 50000
TR-MLG01-NO2 | MLG.TR.MLG01.NO2 | Transformer | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | EXN45TEH |  | 2022 | 2052 | 25000
TR-MLG01-NO3 | MLG.TR.MLG01.NO3 | Transformer | UWT | ELECTRICAL | Milgard Hall | 01 | MLG.106 | 106 | Square D | EXN30T3H |  | 2022 | 2052 | 25000
WH-1 | MLG.WH.1.1 | Water Heater | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | A.O. Smith | DVE-300A-216XI |  | 2022 | 2032 | 24628.32
WH-2 | MLG.WH.1.2 | Water Heater | UWT | PLUMBING | Milgard Hall | 01 | MLG.106A | 106A | A.O. Smith | DSE-65A-75XI |  | 2022 | 2032 | 11423.2
WS-1 | MLG.WS.1 | Exhaust Fan (Welding Snorkel) | UWT | MECHANICAL | Milgard Hall | 01 | MLG.134 | 134 | AQX MaxiDrive | DF-01 |  | 2022 | 2042 | 3926