## Equipment List
Equipment Name | System | Equip Sequence | Property | Sub-Building/Wing | Floor | Location | Asset_Group | Description | Elec_Parent | HVAC_Parent | Support_Location | installer | manufacturer | model | original_cost | life_expectancy | warranty_term | warranty_comments | Size | Attributes | Serial | Date Purchased/Installed | Comments | Equipment_photos | Submittal_files | OM_files | Warranty_files | Other_files
AHU-D5 | MECH | 4 | Northwest | D | 7 | D7000 | AHU | Air Handling Unit | PCD-1111-1111 | NA | serves floor 2 | McKinstry | HAAKON | CUSTOM | 100000 | 24 | 2 | NA | NA | NA | NA | 2025-11-17 |  | FALSE | FALSE | FALSE | FALSE | FALSE
AHU-D2 | MECH | 1 | Northwest | D | 7 | D7000 | AHU | Air Handling Unit | PCD-DDMP-EQ01 | NA | NA | McKinstry | HAAKON | CUSTOM | 220543.11 | 25 | 2 | 1 YEAR LABOR AND 2 YEAR PARTS FROM SUBSTANTIAL COMPLETION | 46,000 CFM / 25 HP Motors | 0 | 22-8039-442-C |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
AHU-D3 | MECH | 2 | Northwest | D | 7 | D7000 | AHU | Air Handling Unit | PCD-DDMP-EQ01 | NA | NA | McKinstry | HAAKON | CUSTOM | 207626.185 | 25 | 2 | 1 YEAR LABOR AND 2 YEAR PARTS FROM SUBSTANTIAL COMPLETION | 22,000 CFM / 7.5 HP and 15 HP Motors | 0 | 22-8039-444-C |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
AHU-D4 | MECH | 3 | Northwest | D | 7 | D7000 | AHU | Air Handling Unit | PCD-DDMP-EQ01 | NA | NA | McKinstry | HAAKON | CUSTOM | 213984.57 | 25 | 2 | 1 YEAR LABOR AND 2 YEAR PARTS FROM SUBSTANTIAL COMPLETION | 32,000 CFM / 15 HP Motors | 0 | 22-8039-445-C |  |  | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
[24 empty] | FALSE | FALSE | FALSE | FALSE | FALSE
Note on C1: Lorn, Chona J: Count all Assets within an Asset Group

## Equipment Format
Asset Group | Asset Description (example) | System
SWAT | Switch Automatic Transfer | ELEC
FACP | Fire Alarm Control Panel | FLS
AHU | Air Handling Unit | MECH
BFP | Backflow Preventer | PLMB
AIRCOND | Air Conditioning Unit
AIRCURT | Air Curtain
AIRDRY | Air Dryer
AIRSEP | Air Separator
ATS | Automatic Transfer Switch
ATTENUATOR | Sound Attenuator
BAS | Building Automation System
BATCHRGR | Battery Charger - Standby
BLR | Hot Water Boiler
CAAMS | Access Control System
CHILLBM | Chilled Beam Unit
CHLR | Chiller
CHLR | Air Cooled Chiller
CHLR | Heat Recovery Chiller
COIL | Chilled/Heating Coil
COMP | Air Compressor
COND | Condensing Unit
CT | Cooling Tower
CP | Capacitor
CRAC | Computer Room AC
CVT | Constant Volume Terminal
DISC | Electrical Disconnect
DOORS | Building Doors System
EF | Exhaust Fan
ELCPNL | Electrical Panelboard
ELEV | Elevator
ET | Expansion Tank
LIGHT | Exterior/Interior Lighting System
FAN | Fan
FCU | Fan Coil Unit
FILTER | Filter
FINISH | Building Finishes System
FLOOR | Building Floors System
FUELTNK | Fuel Tank
GEN | Generator
GLYCFEED | Glycol Feed System
HRU | Heat Recovery Unit
HTR | Heater
HUMID | Humidifier
HX | Heat Exchanger
LCP | Lighting Control Panel
LOADBANK | Load Bank
MAC | Medical Air Compressor
MCC | Motor Control Center
MCS | Motor Control Starter
MEDGAS | Medical Gas System
MGALARM | Medical Gas Alarm
NURSECALL | Nurse Call System
PCB | Power Center Branch
PCD | Power Center Distribution
PCM | Power Center Main
PCU | Power Center Unit
PMS | Power Monitoring System
PTS | Pneumatic Tube System/Station
PTSB | P-Tube Blower
PTT | P-Tube Transfer Units
PUMP | Pump
PUMP | Booster Pump
PUMP | Circulation Pump
PUMP | Sump Pump
PUMP | Fuel Oil Pump
PUMP | Fire Pump
PUMP | Jockey Pump
PUMP | Medical Vacuum Pump
PUMP | Secondary Pump
RF | Return Fan
ROOF | Building Roofing System
RSBU | Riser Bus
RSCA | Riser Cable
SF | Supply Fan
SWA | Switch Air
SWBRD | Electrical Panelboard
SWBRD | Distribution Panelboard
SWBRD | Electrical Switchboard
SWBRD | Paralleling Gear
SWBRD | Main Switchgear
SWCB | Switch Circuit Breaker
SWFA | Switch Fused Air
SWMT | Switch Motor
TANK | Tank
TANK | Chemical Bypass Feeder
TANK | Domestic Water Heater
TANK | Fuel Oil Storage Tank
TANK | Grease Interceptor
TB | Terminal Box
TR | Transformer
TU | Terminal Unit
UPS | Uninterruptable Power Supply
VAV | Variable Air Volume
VFD | Variable Frequency Drive
WALLS | Building Walls System
WINDOWS | Building Windows System
XFMR | Secondary Transformer

## Wing-Sub Building
Property | Sub-Building | Description | Building ID | Facility Code | Short Name
Montlake | AA | AA | 1222 | HSAA | Mag H.S.C./AA
Montlake | BB | BB | 1223 | HSBB | Mag H.S.C./BB
Montlake | CC | CC | 1224 | HSC | Mag H.S.C./C
Montlake | CU | CUP - SA Central Utility Plant | 6353 | UMCU | UWMC Montlake Util
Montlake | EA | EA | 1254 | UMEA | UWMC Montlake/EA
Montlake | EB | EB | 1255 | UMEB | UWMC Montlake/EB
Montlake | EC | EC | 1256 | UMEC | UWMC Montlake/EC
Montlake | EE | EE | 1241 | UMEE | UWMC Montlake/EE
Montlake | NE | NE | 1257 | UMNE | UWMC Montlake/NE
Montlake | NN | NN | 1258 | UMNN | UWMC Montlake/NN
Montlake | NW | NW | 1259 | UMNW | UWMC Montlake/NW
Montlake | SE | SE | 1260 | UMSE | UWMC Montlake/SE
Montlake | SS | SS | 1261 | UMSS | UWMC Montlake/SS
Montlake | SP | Surgery Pavilion | 3958 | UMSP | UWMC Montlake/SP
Montlake | SW | SW | 1262 | UMSW | UWMC Montlake/SW
Montlake | PH | Pump House | 6498 | UMPH | UWMC Montlake PH
Montlake | RR | RR | 1175 | HSRR | Mag H.S.C./RR
Montlake | S1 | South Campus Garage | 1295 | SPG | South Campus Pk Grg
Montlake | SA | Montlake Tower | 6091 | UMSA | UWMC Montlake/SA
Northwest | A | A-Wing | 6446 | NWHA | UWMC NW/A
Northwest | B | B-Wing | 6447 | NWHB | UWMC NW/B
Northwest | C | C-Wing | 6448 | NWHC | UWMC NW/C
Northwest | D | D-Wing/Behavioral Health/BHTF | 6567 | NWBH | UWMC NW/BHTF
Northwest | E | E-Wing | 6450 | NWHE | UWMC NW/E
Northwest | DAY | Daycare | 6539 | NWCC | UWMC NW Child Care
Northwest | MOB | Medical Office Building | 6422 | NWMO | Medical Office Bldg
Northwest | MAB | Medical Arts Building | 6421 | NWMA | Medical Arts Bldg
Northwest | OPMC | Out Patient Medical Center | 6423 | NOW | NWH Outpatient
Northwest | NWPG | Parking Garage | 6540 | NWPG | UWMC NW Parking Grg
Northwest | MCM | McMurrary Building | 6319 | NWMM | McMurray Med Bldg

## Example
Table 03 - Data Format Example
Equipment Name | AHU-D5 | AHU-D2 | AHU-D3
System | MECH | MECH | MECH
Equip Sequence | 4 | 1 | 2
Property | Northwest | BHTF | BHTF
Tower/Wing | D | D | D
Floor | 7 | 7 | 7
Location | D7000 | D7000 | D7000
Asset_Group | AHU | AHU | AHU
Description | Air Handling Unit | Air Handling Unit | Air Handling Unit
Elec_Parent | PCD-1111-1111 | PCD-DDMP-EQ01 | PCD-DDMP-EQ01
HVAC_Parent | NA | NA | NA
Support_Location | serves floor 2 | NA | NA
installer | McKinstry | McKinstry | McKinstry
manufacturer | HAAKON | HAAKON | HAAKON
model | CUSTOM | CUSTOM | CUSTOM
original_cost | 100000 | 220543.11 | 207626.185
life_expectancy | 24 | 25 | 25
warranty_term | 2 | 2 | 2
warranty_comments |  | 1 YEAR LABOR AND 2 YEAR PARTS FROM SUBSTANTIAL COMPLETION | 1 YEAR LABOR AND 2 YEAR PARTS FROM SUBSTANTIAL COMPLETION
Size |  | 46,000 CFM / 25 HP Motors | 22,000 CFM / 7.5 HP and 15 HP Motors
Attributes
Serial | na | 22-8039-442-C | 22-8039-444-C
Date Purchased/Installed | 2025-11-17
Comments
Equipment_photos | FALSE | FALSE | FALSE
Submittal_files | FALSE | FALSE | FALSE
OM_files | FALSE | FALSE | FALSE
Warranty_files | FALSE | FALSE | FALSE
Other_files | FALSE | FALSE | FALSE
Note on A4: Lorn, Chona J: Count all Assets within an Asset Group

## TMS Asset Worksheet
TMS Asset Name | Status | Account Code | Site | Building Code | Location | Category Code | Sub-Category Code | Type | description | manufacturer | model | serial | Building | Asset Type | TMS Req Equipment code | asset | Wing | Floor | Seq | Location Served (no field) | Account Code Desc | Location Description | Category | Sub Category | size | property | asset_group | installer | warranty_term | warranty_comments | life_expectancy | original_cost | elec_parent | hvac_parent | support_loc
FCU-C02-011 | ACTIV | 6076 | C-WING | C-2FL | C202 | #N/A | FCU | PE | FCU-N-11; Fan/Coil Unit; WAITING | LG | ARNU123TUD4 | 003KCDG25D18 | C-WING, 2ND FLOOR | FCU | #N/A | FCU-N-11 | C | 2 | 11 | WAITING | UWMC NW CBC | C-WING, 2ND FLOOR, SOUTH, CBC, WAITING, C202 | HVAC EQUIPMENT | Fan/Coil Unit
FCU-C02-032 | ACTIV | 6076 | C-WING | C-2FL | C206 | #N/A | FCU | PE | FCU-S-08; Fan/Coil Unit; FAN COIL UNITS; ON-CALL #4 |  |  |  | C-WING, 2ND FLOOR | FCU | #N/A | FCU-S-08 | C | 2 | 32 | FAN COIL UNITS; ON-CALL #4 | UWMC NW CBC | C-WING, 2ND FLOOR, SOUTH, CBC, ON-CALL #4, C206 | HVAC EQUIPMENT | Fan/Coil Unit
FCU-C02-025 | ACTIV | 6076 | C-WING | C-2FL | C211 | #N/A | FCU | PE | FCU-S-01; Fan/Coil Unit; FAN COIL UNITS; W LOCKER RM |  |  |  | C-WING, 2ND FLOOR | FCU | #N/A | FCU-S-01 | C | 2 | 25 | FAN COIL UNITS; W LOCKER RM | UWMC NW CBC | C-WING, 2ND FLOOR, WEST, CBC, W LOCKER RM, C211 | HVAC EQUIPMENT | Fan/Coil Unit