## Point Names
Point Name | Units | Used In PI
AirChgRat | (cph) | FALSE
AirChgRatSp | (cph) | FALSE
AirCondMode | (Off/Vent/Cool/Heat) | FALSE
AirCondModeCmd | (Cool/Heat) | FALSE
AirCondModeCmd | (Off/Cool/Heat/Vent) | FALSE
AirCondModeCmd | (Off/Vent/Cool/Heat) | FALSE
AirCondModeDb | (⁰F) | FALSE
AirCondModeDly | (sec) | FALSE
AirCondModeSts | (Cool/Heat) | FALSE
AirCondModeSts | (Off/Cool/Heat/Vent) | FALSE
AirCondModeSts | (Off/Vent/Cool/Heat) | FALSE
AirDirCmd | (varies) | FALSE
AirDirSts | (varies) | FALSE
AirFlwPct | (%) | FALSE
AirFlwPctSp | (%) | FALSE
ATSSts | (Off/On) | FALSE
AutoRst | (Off/On) | FALSE
AuxCont | (Off/On) | FALSE
AvgCCVlvCmd | (%) | FALSE
AvgHCVlvCmd | (%) | FALSE
AvgHXAprohTmp | (°F) | FALSE
AvgSAStPrs | (inWC) | FALSE
AvgZnRHCVlvCmd | (%) | FALSE
BattVlt | (VDC) | FALSE
BbHtgCmd | (Off/On) | FALSE
BbHtgEna | (Off/On) | FALSE
BbHtgOATmpSp | (⁰F) | FALSE
BbHtgOATmpSpDb | (⁰F) | FALSE
BbHtgStg1Cmd | (Off/On) | FALSE
BbHtgStg2Cmd | (Off/On) | FALSE
BbHtgStg3Cmd | (Off/On) | FALSE
BbHtgVlvCmd | (Off/On) | FALSE
BbHtgVlvCmd | (%) | FALSE
Bldg1:0PMMsConc | TBD | TRUE
Bldg10:0PMMsConc | TBD | TRUE
Bldg2:5PMMsConc | TBD | TRUE
Bldg4:0PMMsConc | TBD | TRUE
BldgAirQltyMode | TBD | TRUE
BldgPMAvgSize | TBD | TRUE
BldgStPrs | (inWC) | TRUE
BldgStPrsSp | (inWC) | TRUE
BldgStPrsSpDif | (inWC) | FALSE
BldgVOCMsConc | TBD | TRUE
BldgVOCVolConc | TBD | TRUE
BlrBlwdnFlwRat | (gpm) | FALSE
BlrBlwdnFlwTot | (gal) | FALSE
BlrBlwdnVlvCmd | (Off/On) | FALSE
BlrCmbsDmpCmd | (Off/On) | FALSE
BlrCmbsDmpSts | (Closed/Open) | FALSE
BlrCmbsFanCmd | (Off/On) | FALSE
BlrCmbsFanSts | (Off/On) | FALSE
BlrCmd | (Off/On) | FALSE
BlrDifPrs | (PSI) | FALSE
BlrDifTmp | (⁰F) | FALSE
BlrDifTmpSp | (⁰F) | FALSE
BlrEna | (Off/On) | FALSE
BlrEntTmp | (⁰F) | FALSE
BlrFlwSw | (Off/On) | FALSE
BlrLvgTmp | (⁰F) | FALSE
BlrLvgTmpSp | (⁰F) | FALSE
BlrPmpCmd | (Off/On) | FALSE
BlrPmpEnrg | (kWh) | FALSE
BlrPmpFdbk | (%) | FALSE
BlrPmpPwr | (kW) | FALSE
BlrPmpRnTm | (hours) | FALSE
BlrPmpSpd | (%) | FALSE
BlrPmpSts | (Off/On) | FALSE
BlrSts | (Off/On) | FALSE
BstrPmpCmd | (Off/On) | FALSE
BstrPmpEnrg | (kWh) | FALSE
BstrPmpFdbk | (%) | FALSE
BstrPmpPwr | (kW) | FALSE
BstrPmpRnTm | (hours) | FALSE
BstrPmpSpd | (%) | FALSE
BstrPmpSts | (Off/On) | FALSE
Buzz | (Off/On) | FALSE
BuzzOvrd | (Off/Silence) | FALSE
BypArea | (sqft | FALSE
BypDmpCmd | (%) | FALSE
BypDmpPos | (%) | FALSE
BypDmpSts | (Closed/Open) | FALSE
BypHWTmp | (⁰F) | FALSE
CCTmp | (⁰F) | TRUE
CCTmpSp | (⁰F) | TRUE
CCTmpSpDif | (⁰F) | FALSE
CCVlvCmd | (%) | TRUE
CCVlvEna | (Off/On) | FALSE
CCVlvPos | (%) | FALSE
CCVolTot | (gpm) | FALSE
CDCCVlvCmd | TBD | TRUE
CdDifPrs | (psi) | FALSE
CDDmpCmd | (%) | TRUE
CDDmpPos | (%) | FALSE
CDDmpSts | (Off/On) | FALSE
CdEntIsoVlvCmd | (Open/Closed) | FALSE
CdEntTmp | (°F) | FALSE
CdEntTmpSp | (°F) | FALSE
CdFanCmd | (Off/On) | FALSE
CdFanEnrg | (kWh) | FALSE
CdFanFdbk | (%) | FALSE
CdFanPwr | (kW) | FALSE
CdFanRnTm | (hours) | FALSE
CdFanSpd | (%) | FALSE
CdFanSts | (Off/On) | FALSE
CdFlwRat | (gpm) | FALSE
CdFlwSw | (Off/On) | FALSE
CdLvgIsoVlvCmd | (Open/Closed) | FALSE
CdLvgTmp | (°F) | FALSE
CdPanSw | (Off/On) | FALSE
CdPmpCmd | (Off/On) | FALSE
CdPmpRqst | (Off/On) | FALSE
CdPrs | (PSI) | FALSE
CdRfgPrs | (psi) | FALSE
CdRfgPrsSp | (psi) | FALSE
CdRfgTmp | (°F) | FALSE
CDSAStPrs | TBD | TRUE
CDSAStPrsSp | TBD | TRUE
CDSATmp | TBD | TRUE
CDSATmpSp | TBD | TRUE
CDSATmpSpRstHi | TBD | TRUE
CDSATmpSpRstLo | TBD | TRUE
CDSATmpSpRstOAHi | TBD | TRUE
CDSATmpSpRstOALo | TBD | TRUE
CdSatRfgTmp | (°F) | FALSE
CdTmp | (⁰F) | FALSE
CdTmpSp | (⁰F) | FALSE
CdTmpSpDif | (⁰F) | FALSE
CDWBtuHrSqFt | (btu/hr/sqft) | FALSE
CDWBtukWh | (btu/kWh) | FALSE
CDWCapacity | (tons, | FALSE
CDWCtrlVlv | (%open) | FALSE
CDWDifPrs | (PSI) | FALSE
CDWDifPrsSp | (PSI) | FALSE
CDWEnrgRat | (energy | FALSE
CDWEnrgTot | (energy | FALSE
CDWEntTmp | (°F) | FALSE
CDWEntTmpSp | (⁰F) | FALSE
CDWIsoVlvCmd | (Open/Closed) | FALSE
CDWkWTon | (kW/ton) | FALSE
CDWLoad | (tons) | FALSE
CDWLvgTmp | (°F) | FALSE
CDWPmpAutoMode | (Hand/Auto) | FALSE
CDWPmpCmd | (Off/On) | FALSE
CDWPmpCur | (Amps) | FALSE
CDWPmpEnrg | (kWh) | FALSE
CDWPmpFdbk | (%) | FALSE
CDWPmpFreq | (Hz) | FALSE
CDWPmpPos | (%) | FALSE
CDWPmpPwr | (kW) | FALSE
CDWPmpRnTm | (hours) | FALSE
CDWPmpSpd | (%) | FALSE
CDWPmpSts | (Off/On) | FALSE
CDWPmpVltAC | (VAC) | FALSE
CDWPmpVltDC | (VDC) | FALSE
CDWRTmp | (°F) | FALSE
CDWRTmpSp | (°F) | FALSE
CDWSFlwRat | (gpm) | FALSE
CDWSFlwTot | (gal) | FALSE
CDWSTmp | (°F) | FALSE
CDWSTmpSp | (°F) | FALSE
CDWTons | (tons) | FALSE
CDWTonsSqFt | (tons/sqft) | FALSE
CDWVlvCmd | (%) | FALSE
CDWVlvPos | (%) | FALSE
ChargeCur | (Amps) | FALSE
ChlrActCapPct | (%) | FALSE
ChlrAvgRnTm | (min) | FALSE
ChlrCdAproh | (°F) | FALSE
ChlrCur | (Amps) | FALSE
ChlrEnrg | (kWh) | FALSE
ChlrEvAproh | (°F) | FALSE
ChlrHeadPrs | (psi) | FALSE
ChlrHeadPrsAlm | (Normal/Alarm) | FALSE
ChlrHeadPrsLmt | (psi) | FALSE
ChlrHotGasByp | (Off/On) | FALSE
ChlrLagCmd | (Off/On) | FALSE
ChlrLagEna | (Off/On) | FALSE
ChlrLead | (chiller#) | FALSE
ChlrLeadCmd | (Off/On) | FALSE
ChlrLeadEna | (Off/On) | FALSE
ChlrLmtSpActive | (Off/On) | FALSE
ChlrLmtSpPct | (%) | FALSE
ChlrLmtSpPwr | (kW) | FALSE
ChlrLocRem | (Local/Remote) | FALSE
ChlrNomCap | (tons, | FALSE
ChlrOperMode | (varies) | FALSE
ChlrOvrdMode | (Off/On) | FALSE
ChlrPwr | (kW) | FALSE
ChlrRdyTot | (chillers) | FALSE
ChlrRLA | (%) | FALSE
ChlrRnTm | (hours) | FALSE
ChlrRotCmd | (Off/On) | FALSE
ChlrRotSched | (Off/On) | FALSE
ChlrRunMode | (varies) | FALSE
ChlrSeq | (seq) | FALSE
ChlrSpCtrl | (Local/Remote) | FALSE
ChlrSpCtrlEna | (Off/On) | FALSE
ChlrStg | (stage) | FALSE
ChlrStg1Cmd | (Off/On) | FALSE
ChlrStg1Ena | (Off/On) | FALSE
ChlrStg1Sts | (Off/On) | FALSE
ChlrStg2Cmd | (Off/On) | FALSE
ChlrStg2Ena | (Off/On) | FALSE
ChlrStg2Sts | (Off/On) | FALSE
ChlrStgCmd | (stage) | FALSE
ChlrStgDmd | (stage) | FALSE
ChlrStrts | (starts) | FALSE
ChlrSts | (Off/On) | FALSE
ChlrStsTot | (chillers) | FALSE
CHWCapacity | (tons, | FALSE
CHWCtrlVlv | (%open) | FALSE
CHWDifPrs | (PSI) | TRUE
CHWDifPrsSp | (PSI) | FALSE
CHWDifPrsSpDif | (PSI) | FALSE
CHWDifPrsSpRst | (PSI) | FALSE
CHWDifPrsSpRstHi | (PSI) | FALSE
CHWDifPrsSpRstLo | (PSI) | FALSE
CHWEnrgRat | (energy | FALSE
CHWEnrgTot | (energy | FALSE
CHWIsoVlv | (Open/Closed) | FALSE
CHWkWTon | (kW/ton) | FALSE
CHWLoad | (tons) | FALSE
CHWMUFlwTot | (gal) | FALSE
CHWMUVlvCmd | (Closed/Open) | FALSE
CHWPmpAutoMode | (Hand/Off/Auto) | FALSE
CHWPmpCmd | (Off/On) | FALSE
CHWPmpEna | (Off/On) | FALSE
CHWPmpEnrg | (kWh) | FALSE
CHWPmpFdbk | (%) | FALSE
CHWPmpLagEna | (Off/On) | FALSE
CHWPmpLeadEna | (Off/On) | FALSE
CHWPmpPos | (%) | FALSE
CHWPmpPwr | (kW) | FALSE
CHWPmpRnTm | (hours) | FALSE
CHWPmpRotCmd | (Off/On) | FALSE
CHWPmpRotSchedCmd | (Off/On) | FALSE
CHWPmpSeq | (seq) | FALSE
CHWPmpSpd | (%) | FALSE
CHWPmpSts | (Off/On) | FALSE
CHWRFlwRat | (gpm) | FALSE
CHWRFlwTot | (gal) | FALSE
CHWRTmp | (°F) | TRUE
CHWRTmpSp | (⁰F) | FALSE
CHWRTmpSpDif | (°F) | FALSE
CHWSFlwRat | (gpm) | FALSE
CHWSFlwTot | (gal) | FALSE
CHWSStrAlm | (Normal/Alarm) | FALSE
CHWSStrDifPrs | (psi) | FALSE
CHWSStrDifPrsDb | (psi) | FALSE
CHWSStrDifPrsSp | (psi) | FALSE
CHWSTmp | (°F) | TRUE
CHWSTmpSp | (⁰F) | FALSE
CHWSTmpSpDif | (°F) | FALSE
CHWSTmpSpRst | (°F) | FALSE
CHWSTmpSpRstHi | (°F) | FALSE
CHWSTmpSpRstLo | (°F) | FALSE
CHWSTmpSpRstOAHi | (°F) | FALSE
CHWSTmpSpRstOALo | (°F) | FALSE
CHWSysActCap | (%) | FALSE
CHWSysCap | (tons,kbtu,Mbtu) | FALSE
CHWSysEna | (Off/On) | FALSE
CHWSysLoad | (tons,kbtu,Mbtu) | FALSE
CHWTons | (tons) | FALSE
CHWTonsSqFt | (tons/sqft) | FALSE
CHWVlvCmd | (%) | FALSE
CHWVlvPos | (%) | FALSE
CirPmpCmd | (Off/On) | FALSE
CirPmpEnrg | (kWh) | FALSE
CirPmpFdbk | (%) | FALSE
CirPmpPwr | (kW) | FALSE
CirPmpRnTm | (hours) | FALSE
CirPmpSpd | (%) | FALSE
CirPmpSts | (Off/On) | FALSE
ClDnCmd | (Off/On) | TRUE
ClDnMode | (Off/On) | FALSE
ClDnRmTmpSp | (⁰F) | FALSE
ClDnSATmpSp | (⁰F) | FALSE
ClDnSts | (Off/On) | FALSE
ClgAva | TBD | TRUE
ClgDmd | (Off/On) | FALSE
ClgEna | (Off/On) | TRUE
ClgEnaSp | (⁰F) | FALSE
ClgLckCmd | (Off/On) | FALSE
ClgLckSts | (Off/On) | FALSE
ClgLckTmpDb | (⁰F) | FALSE
ClgLckTmpSp | (⁰F) | FALSE
ClgMode | (Off/On) | FALSE
ClgModeCmd | (Off/On) | FALSE
ClgModeSts | (Off/On) | FALSE
ClgModeWtrTmpSp | (°F) | FALSE
ClgStg01Cmd | (Off/On) | FALSE
ClgStg01ModCmd | (%) | FALSE
ClgStg01Sts | (Off/On) | FALSE
ClgStg02Cmd | (Off/On) | FALSE
ClgStg02ModCmd | (%) | FALSE
ClgStg02Sts | (Off/On) | FALSE
ClgStg01Cmd | (Off/On) | FALSE
ClgStg01ModCmd | (%) | FALSE
ClgStg01Sts | (Off/On) | FALSE
CmbFanCmd | (Off/On) | FALSE
CmbFanSts | (Off/On) | FALSE
Cmp01Cmd | (Off/On) | FALSE
Cmp01Ena | (Off/On) | FALSE
Cmp01ModCmd | (%) | FALSE
Cmp01Sts | (Off/On) | FALSE
Cmp02Cmd | (Off/On) | FALSE
Cmp02Ena | (Off/On) | FALSE
Cmp02ModCmd | (%) | FALSE
Cmp02Sts | (Off/On) | FALSE
CmpAvgRnTm | (min) | FALSE
CmpCmd | (Off/On) | FALSE
CmpFlt | (Off/On) | FALSE
CmpRnTm | (hours) | FALSE
CmpStrts | (starts) | FALSE
CmpSts | (Off/On) | FALSE
CndPanSw | (Off/On) | FALSE
CoolantTmp | (⁰F) | FALSE
CTAprohTmp | (°F) | FALSE
CTBasinHtrCmd | (Off/On) | FALSE
CTBasinVlvCmd | (Closed/Open) | FALSE
CTBasinVlvPos | (Closed/Open) | FALSE
CTBasinVlvSts | (Closed/Open) | FALSE
CTBasinWtrHtr | (Off/On) | FALSE
CTBasinWtrLvl | (inches) | FALSE
CTBasinWtrLvlAlm | (Normal/Alarm) | FALSE
CTBasinWtrLvlWarn | (Off/On) | FALSE
CTBasinWtrTmp | (⁰F) | FALSE
CTBlwdnFlwTot | (gal) | FALSE
CTBlwDnVlvCmd | (Closed/Open) | FALSE
CTCapacity | (tons, | FALSE
CTDivVlvCmd | (%) | FALSE
CTDivVlvPos | (%) | FALSE
CTDivVlvSts | (Tower/Byp) | FALSE
CTFanCmd | (Off/On) | FALSE
CTFanEnrg | (kWh) | FALSE
CTFanFdbk | (%) | FALSE
CTFanHighCmd | (Off/On) | FALSE
CTFanLowCmd | (Off/On) | FALSE
CTFanPwr | (kW) | FALSE
CTFanRnTm | (hours) | FALSE
CTFanSpd | (%) | FALSE
CTFanSpdCmd | (Off/High/Low) | FALSE
CTFanSpdSts | (Off/High/Low) | FALSE
CTFanStopCmd | (Off/On) | FALSE
CTFanSts | (Off/On) | FALSE
CTMUFlwRat | (gpm) | FALSE
CTMUFlwTot | (gal) | FALSE
CTMUVlvCmd | (Closed/Open) | FALSE
CTPmpCmd | (Off/On) | FALSE
CTPmpEnrg | (kWh) | FALSE
CTPmpFdbk | (%) | FALSE
CTPmpPwr | (kW) | FALSE
CTPmpRnTm | (hours) | FALSE
CTPmpSpd | (%) | FALSE
CTPmpSts | (Off/On) | FALSE
CtrlAirCmpFault | (Normal/Fault) | FALSE
CtrlAirCmpSts | (Off/On) | FALSE
CtrlAirStPrs | (PSI) | FALSE
CtrlAirStPrsLL | (PSI) | FALSE
CtrlAirStPrsSp | (PSI) | FALSE
CurLmt | (Amps) | FALSE
DASmkAlm | (Normal/Alarm) | FALSE
DASmkDet | (Off/On) | FALSE
DAStPrs | (inWC) | TRUE
DAStPrsRst | (inWC) | FALSE
DAStPrsRstHi | (inWC) | FALSE
DAStPrsRstLo | (inWC) | FALSE
DAStPrsSp | (inWC) | TRUE
DAStPrsSpDif | (inWC) | FALSE
DAStPrsSpRstHi | TBD | TRUE
DAStPrsSpRstLo | TBD | TRUE
DAStPrsSw | (Off/On) | FALSE
DATmp | TBD | TRUE
DayLgtLvl | (W/sqft, | FALSE
DehumCCTmpSp | (⁰F) | FALSE
DehumCmd | (Off/On) | FALSE
DehumSp | (%) | TRUE
DehumSpDb | (%) | FALSE
DevAdd | (Device | FALSE
DevAlm | (Normal/Alarm) | FALSE
DevBootCount | (boots) | FALSE
DevComSts | (OK/Fault) | FALSE
DevFlt | (Off/On) | FALSE
DevFWVer | (Version) | FALSE
DevHWVer | (Version) | FALSE
DevID | (Device | FALSE
DevIPAdd | (IP | FALSE
DevLink | (varies) | FALSE
DevMACAdd | (MAC | FALSE
DevMfg | (Manufacturer) | FALSE
DevModel | (Model) | FALSE
DevNetID | (Network | FALSE
DevSerial | (sn) | FALSE
DevSts | (OK/Fault) | FALSE
DevSWVer | (Version) | FALSE
DHWPmpCmd | (Off/On) | FALSE
DHWPmpRnTm | (hours) | FALSE
DHWPmpSts | (Off/On) | FALSE
DHWRTmp | (⁰F) | FALSE
DHWSTmp | (⁰F) | TRUE
DHWTmp | (⁰F) | FALSE
DHWTmpDb | (⁰F) | FALSE
DHWTmpSp | (⁰F) | FALSE
DiagWarn | (varies) | FALSE
DifVolAlm | (Normal/Alarm) | FALSE
DifVolTot | (cfm) | FALSE
DifVolTotSp | (cfm) | FALSE
DoorAlm | (Normal/Alarm) | FALSE
DoorSw | (Closed/Open) | FALSE
EABypDmpCmd | (%) | FALSE
EABypDmpPos | (%) | FALSE
EABypDmpSts | (Open/Byp) | FALSE
EADmpCmd | (%) | TRUE
EADmpPos | (%) | FALSE
EADmpSts | (Closed/Open) | TRUE
EADuctArea | (sqft) | FALSE
EAEjectVel | (fps) | FALSE
EAEjectVelPrs | (inWC) | FALSE
EAEjectVelSp | (fps) | FALSE
EAFltAlm | (Normal/Alarm) | FALSE
EAFltAlmDly | (Normal/Alarm) | FALSE
EAFltDifPrs | (inWC) | FALSE
EAFltDifPrsSp | (inWC) | FALSE
EAFltRst | (Off/On) | FALSE
EAFltTmSp | (hours) | FALSE
EAIsoDmpCmd | (Closed/Open) | FALSE
EAIsoDmpSts | (Closed/Open) | FALSE
EAMfStPrs | (inWC) | FALSE
EAMfStPrsSp | (inWC) | FALSE
EAMfStPrsSpDif | (inWC) | FALSE
EAPleStPrs | (inWC) | FALSE
EAPleStPrsSp | (inWC) | FALSE
EAPreFltAlm | (Normal/Alarm) | FALSE
EAPreFltRst | (Off/On) | FALSE
EAPreFltTmSp | (hours) | FALSE
EAStPrs | (inWC) | TRUE
EAStPrsSp | (inWC) | TRUE
EAStPrsSpDif | (inWC) | FALSE
EATmp | (⁰F) | TRUE
EAVel | (fps) | FALSE
EAVelPrs | (inWC) | FALSE
EAVelSp | (fps) | FALSE
EAVol | (cfm) | FALSE
EAVolCoeff | (coeff) | FALSE
EAVolSp | (cfm) | TRUE
EAVolSpDif | (cfm) | FALSE
EAVolSpMax | (cfm) | FALSE
EAVolSpMin | (cfm) | FALSE
EAVolTot | (cfm) | FALSE
EAVolTotSp | (cfm) | FALSE
EconClgCap | (tons,kbtu,Mbtu) | FALSE
EconClgCDWSTmpSp | (°F) | FALSE
EconClgCmd | (Off/On) | FALSE
EconClgEna | (Off/On) | FALSE
EconClgLck | (Off/On) | FALSE
EconClgOARelHumSp | (%) | FALSE
EconClgOARelHumSpDbH | (%) | FALSE
EconClgOARelHumSpDbL | (%) | FALSE
EconClgOATmpSp | (°F) | FALSE
EconClgOATmpSpDbH | (°F) | FALSE
EconClgOATmpSpDbL | (°F) | FALSE
EconClgOAWBTmpSp | (°F) | FALSE
EconClgOAWBTmpSpDbH | (°F) | FALSE
EconClgOAWBTmpSpDbL | (°F) | FALSE
EconDmd | (%) | FALSE
EconDmdDb | (%) | FALSE
EconDmdSp | (%) | FALSE
EconDmpAva | TBD | TRUE
EconDmpCmd | (%) | TRUE
EconDmpMinCmd | TBD | TRUE
EconDmpPos | (%) | FALSE
EconDmpSts | (Closed/Open) | FALSE
EconEna | (Off/On) | TRUE
EFCmd | (Off/On) | TRUE
EFCur | TBD | TRUE
EFEnrg | (kWh) | TRUE
EffCHWSTmpSp | (°F) | FALSE
EffClgSp | (⁰F) | FALSE
EFFdbk | (%) | FALSE
EffEvLvgTmpSp | (°F) | FALSE
EffHtgSp | (⁰F) | FALSE
EffOcc | (Occ/Uoc) | TRUE
EffOccMode | TBD | TRUE
EFFreq | TBD | TRUE
EffUsrSp | (⁰F) | FALSE
EffZnTmp | (⁰F) | FALSE
EffZnTmpClgSp | (⁰F) | TRUE
EffZnTmpHtgSp | (⁰F) | TRUE
EffZnTmpSp | (⁰F) | TRUE
EFInletPrs | (inWC) | FALSE
EFLagEna | (Off/On) | FALSE
EFLeadEna | (Off/On) | FALSE
EFPwr | (kW) | FALSE
EFRmpSpd | (%) | FALSE
EFRmpTm | (seconds) | FALSE
EFRnTm | (hours) | TRUE
EFRotCmd | (Off/On) | FALSE
EFSeq | (Seq) | FALSE
EFSpd | (%) | TRUE
EFSts | (Off/On) | TRUE
EFVlt | TBD | TRUE
EmerDAStPrsSp | (inWC) | FALSE
Ena | (Off/On) | FALSE
EnaCmd | (varies) | FALSE
EnaSts | (varies) | FALSE
EngRnTm | (hours) | FALSE
EngSpd | (rpm) | FALSE
EngStartCmd | (Off/On) | FALSE
EngStarts | (starts) | FALSE
EnrgRec | (kWh) | FALSE
EnthWhCmd | (Off/On) | FALSE
EnthWhDfrstCmd | (Off/On) | FALSE
EnthWhDfrstSts | (Off/On) | FALSE
EnthWhEna | (Off/On) | FALSE
EnthWhEnrg | (kWh) | FALSE
EnthWhFdbk | (%) | FALSE
EnthWhFrstAlm | (Normal/Alarm) | FALSE
EnthWhPwr | (kW) | FALSE
EnthWhRnTm | (hours) | FALSE
EnthWhSpd | (%) | FALSE
EnthWhSts | (Off/On) | FALSE
ErrorCode | (varies) | FALSE
ErrorSts | (Off/On) | FALSE
EvDifPrs | (psi) | FALSE
EvEntIsoVlv | (Open/Closed) | FALSE
EvEntTmp | (°F) | FALSE
EvFlowRat | (gpm) | FALSE
EvFlowSw | (Off/On) | FALSE
EVID | (SN) | FALSE
EvLvgIsoVlv | (Open/Closed) | FALSE
EvLvgTmp | (°F) | FALSE
EvLvgTmpSp | (°F) | FALSE
EvRfgPrs | (psi) | FALSE
EvRfgTmp | (°F) | FALSE
ExhEna | (Off/On) | FALSE
ExhLvrCmd | (Off/On) | FALSE
ExhLvrSts | (Off/On) | FALSE
FaceArea | (sqft | FALSE
FaceVel | (fps) | FALSE
FaceVelAlm | (Normal/Alarm) | FALSE
FaceVelSp | (fps) | FALSE
FailBlrAlm | (Normal/Alarm) | FALSE
FailBlrPmpAlm | (Normal/Alarm) | FALSE
FailBstrPmpAlm | (Normal/Alarm) | FALSE
FailCdFanAlm | (Normal/Alarm) | FALSE
FailCDWPmpAlm | (Normal/Alarm) | FALSE
FailChlrAlm | (Normal/Alarm) | FALSE
FailCHWPmpAlm | (Normal/Alarm) | FALSE
FailCirPmpAlm | (Normal/Alarm) | FALSE
FailCmbsFanAlm | (Normal/Alarm) | FALSE
FailCmp01Alm | (Normal/Alarm) | FALSE
FailCmp02Alm | (Normal/Alarm) | FALSE
FailCmpAlm | (Normal/Alarm) | FALSE
FailCTBasinHtrAlm | (Normal/Alarm) | FALSE
FailCTFanAlm | (Normal/Alarm) | FALSE
FailCTPmpAlm | (Normal/Alarm) | FALSE
FailCtrlAirCmpAlm | (Normal/Alarm) | FALSE
FailDHWPmpAlm | (Normal/Alarm) | FALSE
FailEAVolAlm | (Normal/Alarm) | FALSE
FailEFAlm | (Normal/Alarm) | FALSE
FailEnthWhAlm | (Normal/Alarm) | FALSE
FailHtRecPmpAlm | (Normal/Alarm) | TRUE
FailHtRecWhAlm | (Normal/Alarm) | TRUE
FailLabAirCmpAlm | (Normal/Alarm) | FALSE
FailOAFanAlm | (Normal/Alarm) | FALSE
FailPmpAlm | (Normal/Alarm) | TRUE
FailRFAlm | (Normal/Alarm) | TRUE
FailSecCHWPmpAlm | (Normal/Alarm) | FALSE
FailSecHWPmpAlm | (Normal/Alarm) | FALSE
FailSFAlm | (Normal/Alarm) | TRUE
FailSprPmpAlm | (Normal/Alarm) | FALSE
FanCmd | (Off/On) | FALSE
FanFlt | (Off/On) | FALSE
FanSpdCmd | (Off/Low/High) | FALSE
FanSpdCmd | (varies) | FALSE
FanSpdSts | (Off/Low/High) | FALSE
FanSpdSts | (varies) | FALSE
FanSts | (Off/On) | FALSE
FireAlm | (Normal/Alarm) | TRUE
FireAlmShutdown | (Normal/Alarm) | FALSE
FltAlm | (Normal/Alarm) | TRUE
FltCode | (varies) | FALSE
FltCount | (faults) | FALSE
FltDifPrs | TBD | TRUE
FltRst | (Off/On) | FALSE
FltTm | (hours) | FALSE
FltTmSp | (hours) | FALSE
FlushBtn | (Off/On) | FALSE
FlushButton | (Off/On) | FALSE
FlushCmd | (Off/On) | FALSE
FlushSts | (Off/On) | FALSE
FlwRat | (gpm) | FALSE
FlwRat | (lb/hour) | FALSE
FnlFltDifPrs | (inWC) | TRUE
FrstAlm | (Normal/Alarm) | FALSE
FuelRat | (gal/hr) | FALSE
FuelRem | (gal) | FALSE
GenAlm | (Normal/Alarm) | FALSE
GenTest | (Off/On) | FALSE
GlyPmpCmd | (Off/On) | FALSE
GlyRTmp | (°F) | FALSE
GlySTmp | (°F) | FALSE
HCVlvCmd | (%) | TRUE
HCVlvEna | (Off/On) | FALSE
HCVlvPos | (%) | FALSE
HCVolTot | (gpm) | FALSE
HDDmpCmd | (%) | TRUE
HDDmpPos | (%) | FALSE
HDDmpSts | (Off/On) | FALSE
HDHCVlvCmd | TBD | TRUE
HDSAStPrs | TBD | TRUE
HDSAStPrsSp | TBD | TRUE
HDSATmp | TBD | TRUE
HDSATmpSp | TBD | TRUE
HDSATmpSpRstHi | TBD | TRUE
HDSATmpSpRstLo | TBD | TRUE
HDSATmpSpRstOAHi | TBD | TRUE
HDSATmpSpRstOALo | TBD | TRUE
HeaterSts | (Off/On) | FALSE
HgtStg02Cmd | (Off/On) | FALSE
HiBasinWtrTmpAlm | (Normal/Alarm) | FALSE
HiCdPanLvlAlm | (Normal/Alarm) | FALSE
HiCDWTmpAlm | (Normal/Alarm) | FALSE
HiCHWRTmpAlm | (Normal/Alarm) | FALSE
HiCHWSTmpAlm | (Normal/Alarm) | FALSE
HiEAStPrsAlm | (Normal/Alarm) | FALSE
HiHWRTmpAlm | (Normal/Alarm) | FALSE
HiHWSTmpAlm | (Normal/Alarm) | FALSE
HiRACO2Alm | (Normal/Alarm) | FALSE
HiSAStPrsAlm | (Normal/Alarm) | TRUE
HiStPrsAlm | (Normal/Alarm) | FALSE
HtgAuxCmd | (Off/On,%) | FALSE
HtgDmd | (Off/On) | FALSE
HtgEna | (Off/On) | FALSE
HtgEnaSp | (⁰F) | FALSE
HtgLckCmd | (Off/On) | FALSE
HtgLckSts | (Off/On) | FALSE
HtgLckTmpDb | (⁰F) | FALSE
HtgLckTmpSp | (⁰F) | FALSE
HtgModCmd | (%) | FALSE
HtgModCmd | (Off/On) | FALSE
HtgMode | (Off/On) | FALSE
HtgModeCmd | (Off/On) | FALSE
HtgModeSts | (Off/On) | FALSE
HtgModeWtrTmpSp | (°F) | FALSE
HtgStg01Cmd | (Off/On) | FALSE
HtgStg01ModCmd | (%) | FALSE
HtgStg01Sts | (Off/On) | FALSE
HtgStg02Cmd | (Off/On) | FALSE
HtgStg02ModCmd | (%) | FALSE
HtgStg02Sts | (Off/On) | FALSE
HtgStg03Cmd | (Off/On) | FALSE
HtRecAva | (Off/On) | TRUE
HtRecBypDmpCmd | (%) | FALSE
HtRecBypDmpSts | (%) | FALSE
HtRecCmd | (Off/On) | FALSE
HtRecDif | (⁰F) | FALSE
HtRecDifDb | (⁰F) | FALSE
HtRecDifSp | (⁰F) | TRUE
HtRecEADif | (⁰F) | FALSE
HtRecEAEntTmp | (⁰F) | FALSE
HtRecEff | (%) | FALSE
HtRecEffBase | (%) | FALSE
HtRecEna | (Off/On) | TRUE
HtRecEntAirTmp | (⁰F) | FALSE
HtRecEntWtrTmp | (⁰F) | FALSE
HtRecEntWtrTmpSp | (⁰F) | FALSE
HtRecFaceDmpCmd | (%) | FALSE
HtRecFaceDmpSts | (Open/Byp) | FALSE
HtRecFBypDmpCmd | (%) | FALSE
HtRecFBypDmpPos | (%) | FALSE
HtRecFBypDmpSts | (Open/Byp) | FALSE
HtRecLLSp | (⁰F) | TRUE
HtRecLpDifPrs | (psi) | FALSE
HtRecLpDifPrsSp | (psi) | FALSE
HtRecLpPrs | (psi) | FALSE
HtRecLpTmp | (⁰F) | FALSE
HtRecLvgAirTmp | (⁰F) | FALSE
HtRecLvgWtrTmp | (⁰F) | FALSE
HtRecLvgWtrTmpSp | (⁰F) | FALSE
HtRecMode | (Off/On) | FALSE
HtRecModeDb | (⁰F) | FALSE
HtRecModeSp | (⁰F) | FALSE
HtRecOADif | (⁰F) | FALSE
HtRecOALvgTmp | (⁰F) | FALSE
HtRecOATmpDb | (⁰F) | FALSE
HtRecOATmpSp | (⁰F) | FALSE
HtRecovered | (btu) | FALSE
HtRecPmpCmd | (Off/On) | TRUE
HtRecPmpEna | (Off/On) | FALSE
HtRecPmpEnrg | (kWh) | FALSE
HtRecPmpFdbk | (%) | FALSE
HtRecPmpPwr | (kW) | FALSE
HtRecPmpRnTm | (hours) | FALSE
HtRecPmpSpd | (%) | FALSE
HtRecPmpSts | (Off/On) | TRUE
HtRecRtnTmp | (⁰F) | FALSE
HtRecSupTmp | (⁰F) | TRUE
HtRecTmp | (⁰F) | FALSE
HtRecVlvCmd | (%) | TRUE
HtRecVlvPos | (%) | FALSE
HtRecVlvSts | (Closed/Open) | FALSE
HtRecWhCmd | (Off/On) | FALSE
HtRecWhDfrstCmd | (Off/On) | FALSE
HtRecWhDfrstSts | (Off/On) | TRUE
HtRecWhEna | (Off/On) | TRUE
HtRecWhEnrg | (kWh) | TRUE
HtRecWhFdbk | (%) | FALSE
HtRecWhFrstAlm | (Normal/Alarm) | FALSE
HtRecWhPwr | (kW) | FALSE
HtRecWhRnTm | (hours) | FALSE
HtRecWhSpd | (%) | TRUE
HtRecWhSts | (Off/On) | TRUE
HtRejected | (btu) | FALSE
HtRejMode | (Off/On) | FALSE
HtRejModeDb | (⁰F) | FALSE
HtRejModeSp | (⁰F) | FALSE
HumCmd | (Off/On) | FALSE
HumEna | (Off/On) | FALSE
HumSts | (Off/On) | FALSE
HumVlvCmd | (%) | FALSE
HumVlvPos | (%) | FALSE
HumVlvSts | (Off/On) | FALSE
HWBlwdnFlwTot | (gal) | FALSE
HWBlwdnVlvCmd | (Closed/Open) | FALSE
HWBtuHrSqFt | (btu/hr/sqft) | FALSE
HWBtukWh | (btu/kWh) | FALSE
HWCapacity | (btu) | FALSE
HWDifPrs | (PSI) | FALSE
HWDifPrsSp | (PSI) | FALSE
HWDifPrsSpDif | (PSI) | FALSE
HWDifPrsSpRst | (PSI) | FALSE
HWDifPrsSpRstHi | (PSI) | FALSE
HWDifPrsSpRstLo | (PSI) | FALSE
HWEnrgRat | (energy | FALSE
HWEnrgTot | (energy | FALSE
HWMUFlwRat | (gpm) | FALSE
HWMUFlwTot | (gal) | FALSE
HWMUVlvCmd | (Closed/Open) | FALSE
HWRFlwRat | (gpm) | FALSE
HWRFlwTot | (gal) | FALSE
HWRTmp | (⁰F) | FALSE
HWRTmpSp | (⁰F) | FALSE
HWRTmpSpDif | (⁰F) | FALSE
HWSFlwRat | (gpm) | FALSE
HWSFlwTot | (gal) | FALSE
HWSStrAlm | (Normal/Alarm) | FALSE
HWSStrDifPrs | (PSI) | FALSE
HWSStrDifPrsDb | (PSI) | FALSE
HWSStrDifPrsSp | (PSI) | FALSE
HWSTmp | (⁰F) | TRUE
HWSTmpSp | (⁰F) | TRUE
HWSTmpSpDif | (⁰F) | FALSE
HWSTmpSpRst | (⁰F) | FALSE
HWSTmpSpRstHi | (⁰F) | TRUE
HWSTmpSpRstLo | (⁰F) | TRUE
HWSTmpSpRstOAHi | (⁰F) | TRUE
HWSTmpSpRstOALo | (⁰F) | TRUE
HwSysEna | (Off/On) | FALSE
HWTmp | TBD | TRUE
HWTmpSp | TBD | TRUE
HWVlvCmd | TBD | TRUE
HXAprohTmp | (°F) | FALSE
HXCHWPmpCmd | (Off/On) | FALSE
HXColdCDWBypVlvCmd | (%byp) | FALSE
HXColdCDWIsoVlvCmd | (Off/On) | FALSE
HXColdCDWRTmp | (°F) | FALSE
HXColdCDWSTmp | (°F) | FALSE
HXColdEntTmp | (°F) | FALSE
HXColdGlyEntTmp | (°F) | FALSE
HXColdGlyLvgTmp | (°F) | FALSE
HXColdLvgFlwRat | (gpm) | FALSE
HXColdLvgTmp | (°F) | FALSE
HXEna | (Off/On) | TRUE
HXHHWPmpCmd | (Off/On) | FALSE
HXHotCHWBypVlvCmd | (%open) | FALSE
HXHotCHWEntTmp | (°F) | FALSE
HXHotCHWIsoVlvCmd | (Off/On) | FALSE
HXHotCHWLvgFlwRat | (gpm) | FALSE
HXHotCHWLvgTmp | (°F) | FALSE
HXHotCHWRTmp | (°F) | FALSE
HXHotCHWSFlwRat | (gpm) | FALSE
HXHotCHWSTmp | (°F) | FALSE
HXHotEntTmp | (°F) | FALSE
HXHotLvgTmp | (°F) | FALSE
HXPmpCmd | (Off/On) | FALSE
HXPriEntTmp | (⁰F) | FALSE
HXPriEntTmpSp | (⁰F) | FALSE
HXPriLvgTmp | (⁰F) | FALSE
HXSecEntTmp | (⁰F) | FALSE
HXSecLvgTmp | (⁰F) | FALSE
HXSecLvgTmpSp | (⁰F) | FALSE
HXStmCondFlwRat | (gpm) | FALSE
HXStmCondFlwTot | (gal) | FALSE
HXStmVlv01Cmd | (%open) | FALSE
HXStmVlv01Pos | (%open) | FALSE
HXStmVlv02Cmd | (%open) | FALSE
HXStmVlv02Pos | (%open) | FALSE
HXStmVlvCmd | (%open) | TRUE
HXStmVlvPos | (%open) | FALSE
HXVlvCmd | (%open) | FALSE
HXVlvPos | (%open) | FALSE
InletAirTmp | (°F) | FALSE
InletAirVelPrs | (INWC) | FALSE
InletAirVol | (cfm) | FALSE
InletAirVolCalCmd | (Off/On) | FALSE
InletAirVolCalSts | (Off/On) | FALSE
InletAirVolCoeff | (coeff) | FALSE
InletAirVolSp | (cfm) | FALSE
InletDmpCalCmd | (Off/On) | FALSE
InletDmpCmd | (%open) | FALSE
InletDmpOvrdCmd | (%open) | FALSE
InletDmpPos | (%open) | FALSE
InletDmpRotDir | (cw/ccw) | FALSE
InletDmpStrokeTm | (sec) | FALSE
InletDmpSts | (Closed/Open) | FALSE
InletDmpSts | (Off/On) | FALSE
InletDuctArea | (sqft) | FALSE
InletGuideVanePos | (%open) | FALSE
IntLgtLvl | (W/sqft, | FALSE
IrradDirNorm | (W/m^2) | FALSE
IrradGlbH | (W/m^2) | FALSE
IsoModeCmd | (neut/pro/inf) | FALSE
IsoModeSts | (neut/pro/inf) | FALSE
IsoVlvCmd | (Closed/Open) | FALSE
IsoVlvPos | (Closed/Open) | FALSE
IsoVlvSts | (Closed/Open) | FALSE
LabAirCmpFault | (Normal/Fault) | FALSE
LabAirCmpSts | (Off/On) | FALSE
LabAirStPrs | (PSI) | FALSE
LabAirStPrsLL | (PSI) | FALSE
LabAirStPrsSp | (PSI) | FALSE
LgtCmd | (Off/On) | FALSE
LgtEna | (Off/On) | FALSE
LgtGrpCmd | (Off/On) | FALSE
LgtGrpSts | (Off/On) | FALSE
LgtLck | (Off/On) | FALSE
LgtOutCmd | (%) | FALSE
LgtOutPos | (%) | FALSE
LgtOvrd | (Off/Ovrd) | FALSE
LgtOvrdTm | (min) | FALSE
LgtPnlAlm | (Normal/Alarm) | FALSE
LgtPnlFlt | (Off/On) | FALSE
LgtPnlSts | (varies) | FALSE
LgtRlyCmd | (Off/On) | FALSE
LgtRlySts | (Off/On) | FALSE
LgtSts | (Off/On) | FALSE
LoBasinWtrTmpAlm | (Normal/Alarm) | FALSE
LocCHWSTmpSp | (°F) | FALSE
LoCDWTmpAlm | (Normal/Alarm) | FALSE
LocEvLvgTmpSp | (°F) | FALSE
LoCHWRTmpAlm | (Normal/Alarm) | FALSE
LoCHWSTmpAlm | (Normal/Alarm) | FALSE
LoCtrlAirStPrsAlm | (Normal/Alarm) | FALSE
LoHWRTmpAlm | (Normal/Alarm) | FALSE
LoHWSTmpAlm | (Normal/Alarm) | FALSE
LoLabAirStPrsAlm | (Normal/Alarm) | FALSE
LoSAStPrsAlm | (Normal/Alarm) | TRUE
LoTmpAlm | (Normal/Alarm) | FALSE
LoTmpAlmSp | (Normal/Alarm) | TRUE
LowTmpDet | (Off/On) | FALSE
LpBias | (use | FALSE
LpDb | (use | FALSE
LpDifPrs | (PSI) | FALSE
LpDifPrsSp | (PSI) | FALSE
LpDifPrsSpDif | (PSI) | FALSE
LpDifPrsSpRst | (PSI) | FALSE
LpDifPrsSpRstHi | (PSI) | FALSE
LpDifPrsSpRstLo | (PSI) | FALSE
LpErr | (use | FALSE
LpIGain | (igain) | FALSE
LpPv | (use | FALSE
LpSp | (use | FALSE
LpTm | (sec) | FALSE
MADmpCmd | (%) | FALSE
MADmpDCVMinCmd | (%) | FALSE
MADmpEconCmd | (%) | FALSE
MADmpMinCmd | (%) | FALSE
MADmpPos | (%) | FALSE
MADmpSts | (Closed/Open) | FALSE
ManOvrdCmd | (Off/Ovrd) | FALSE
ManOvrdSts | (Off/Ovrd) | FALSE
ManRstReq | (Off/On) | FALSE
MATmp | (⁰F) | TRUE
MATmpEconSp | (⁰F) | FALSE
MATmpSp | (⁰F) | FALSE
MATmpSpDif | (⁰F) | FALSE
MaxCCVlvCmd | (%) | FALSE
MaxHCVlvCmd | (%) | FALSE
MaxZnRHCVlvCmd | (%) | FALSE
MechClgCap | (tons,kbtu,Mbtu) | FALSE
MechClgCDWSTmpSp | (°F) | FALSE
MechClgCmd | (Off/On) | FALSE
MechClgEna | (Off/On) | FALSE
MechClgLck | (Off/On) | FALSE
MechClgOARelHumSp | (%) | FALSE
MechClgOARelHumSpDbH | (%) | FALSE
MechClgOARelHumSpDbL | (%) | FALSE
MechClgOATmpSp | (°F) | FALSE
MechClgOATmpSpDbH | (°F) | FALSE
MechClgOATmpSpDbL | (°F) | FALSE
MechClgOAWBTmpSp | (°F) | FALSE
MechClgOAWBTmpSpDbH | (°F) | FALSE
MechClgOAWBTmpSpDbL | (°F) | FALSE
MinCCVlvCmd | (%) | FALSE
MinHCVlvCmd | (%) | FALSE
MinRnTmRem | (sec) | FALSE
MinRnTmSp | (sec) | FALSE
MinZnRHCVlvCmd | (%) | FALSE
OABypDmpCmd | (%) | FALSE
OABypDmpPos | (%) | FALSE
OABypDmpSts | (Open/Byp) | FALSE
OAClgLckTmpSp | TBD | TRUE
OACO2 | (ppm) | FALSE
OADew | (⁰F) | FALSE
OADmpCmd | (%) | TRUE
OADmpMinCmd | (%) | FALSE
OADmpMinPos | (%) | FALSE
OADmpPos | (%) | FALSE
OADmpSts | (Closed/Open) | TRUE
OAEconLckTmpSp | TBD | TRUE
OAEconTmpDb | (⁰F) | FALSE
OAEconTmpSp | (⁰F) | FALSE
OAEnth | (btu-lb) | FALSE
OAFanCmd | (Off/On) | FALSE
OAFanEnrg | (kWh) | FALSE
OAFanFdbk | (%) | FALSE
OAFanPwr | (kW) | FALSE
OAFanRmpSpd | (%) | FALSE
OAFanRmpTm | (seconds) | FALSE
OAFanRnTm | (hours) | FALSE
OAFanSpd | (%) | FALSE
OAFanSts | (Off/On) | FALSE
OAFltAlm | (Normal/Alarm) | FALSE
OAFltRst | (Off/On) | FALSE
OAFltTmSp | (hours) | FALSE
OAHtgEnaSp | TBD | TRUE
OAHtgLckTmpSp | TBD | TRUE
OALckTmpDb | (⁰F) | FALSE
OALckTmpSp | (⁰F) | FALSE
OAMinVolSp | (cfm) | FALSE
OAPrs | (inHg) | FALSE
OARelHum | (%) | TRUE
OATmp | (°F) | TRUE
OATmpAvg | (⁰F) | FALSE
OATmpLckSp | (°F) | FALSE
OATmpMax | (⁰F) | FALSE
OATmpMin | (⁰F) | FALSE
OAVOC | (ppm) | FALSE
OAVol | (cfm) | FALSE
OAVolPrs | (inWC) | FALSE
OAVolSp | (cfm) | TRUE
OAVolSpDif | (cfm) | FALSE
OAWBTmp | (⁰F) | FALSE
OccAirVolSp | (cfm) | FALSE
OccClgSp | (⁰F) | FALSE
OccCmd | (Occ/Uoc) | TRUE
OccHtgSp | (⁰F) | FALSE
OccMode | TBD | TRUE
OccOvrd | (Uoc/Ovrd) | FALSE
OccSnsr | (Occ/Uoc) | FALSE
OccSnsrEna | (Off/On) | FALSE
OccSts | (Occ/Uoc) | TRUE
OccZnTmpSp | (⁰F) | FALSE
OilPrs | (psi) | FALSE
OilPrsH | (psi) | FALSE
OilPrsL | (psi) | FALSE
OilTmp | (°F) | FALSE
OperModeCmd | (varies) | FALSE
OperModeSts | (varies) | FALSE
OptStClgSp | (⁰F) | FALSE
OptStErlyStopTm | (min) | FALSE
OptStErlyStrtTm | (min) | FALSE
OptStHtgSp | (⁰F) | FALSE
OptStMode | (null) | FALSE
OptStOATmp | (⁰F) | FALSE
OptStStopTm | (min) | FALSE
OptStStrtTm | (min) | FALSE
OptStZn | (null) | FALSE
OptStZnTmp | (⁰F) | FALSE
OTOccCmd | (Occ/Uoc) | FALSE
OTOccSts | (Occ/Uoc) | FALSE
OTOccTm | (hours) | FALSE
OvrdCmd | (Off/Ovrd) | FALSE
OvrdCnt | (count) | FALSE
OvrdEna | (Off/On) | FALSE
OvrdSts | (Off/Ovrd) | FALSE
OvrdTmr | (sec, | FALSE
OvrdTmRem | (min) | FALSE
OvrdTmSp | (hours) | FALSE
ParSFCmd | (Off/On) | FALSE
ParSFSts | (Off/On) | FALSE
PHAva | TBD | TRUE
PHCVlvCmd | (%) | TRUE
PHCVlvPos | (%) | FALSE
PHEna | TBD | TRUE
PHLck | (Off/On) | FALSE
PHTmp | (⁰F) | TRUE
PHTmpSp | (⁰F) | TRUE
PHTmpSpDif | (⁰F) | FALSE
Pmp03Cmd | TBD | TRUE
Pmp03Sts | TBD | TRUE
Pmp04Cmd | TBD | TRUE
Pmp04Sts | TBD | TRUE
PmpCmd | (Off/On) | TRUE
PmpCur | TBD | TRUE
PmpEnrg | (kWh) | TRUE
PmpFreq | TBD | TRUE
PmpPos | (%) | FALSE
PmpPwr | (kW) | FALSE
PmpRnTm | (hours) | TRUE
PmpSpd | (%) | FALSE
PmpSts | (Off/On) | TRUE
PmpVlt | TBD | TRUE
PrecipGauge | (in) | FALSE
PrecipSts | (Off/On) | FALSE
PreFltAlm | (Normal/Alarm) | FALSE
PreFltDifPrs | TBD | TRUE
PreFltRst | (Off/On) | FALSE
PreFltTm | (hours) | FALSE
PreFltTmSp | (hours) | FALSE
PrevFltCode | (varies) | FALSE
PriCHWTmp | (⁰F) | FALSE
PriCHWTmpSp | (°F) | FALSE
PriHWRTmp | (⁰F) | FALSE
PriHWSTmp | (⁰F) | FALSE
PriHWTmp | (⁰F) | FALSE
PriPmpAlm | (Normal/Alarm) | FALSE
PriPmpCmd | (Off/On) | FALSE
PriPmpEnrg | (kWh) | FALSE
PriPmpFdbk | (%) | FALSE
PriPmpPwr | (kW) | FALSE
PriPmpRnTm | (hours) | FALSE
PriPmpRqst | (Off/On) | FALSE
PriPmpSpd | (%) | FALSE
PriPmpSts | (Off/On) | FALSE
PrsAlm | (Normal/Alarm) | FALSE
PrsDmd | (Off/On) | FALSE
PrsModeCmd | (neut/pos/neg) | FALSE
PrsModeSts | (neut/pos/neg) | FALSE
PrsWarn | (Off/On) | FALSE
PurgeSts | (Off/On) | FALSE
PurgeTm | (sec) | FALSE
PwrCap | (kW) | FALSE
PwrLmt | (kW) | FALSE
PwrPct | (%) | FALSE
RABypDmpCmd | (%) | FALSE
RABypDmpPos | (%) | FALSE
RABypDmpSts | (Open/Byp) | FALSE
RACO2 | (ppm) | TRUE
RACO2Sp | (ppm) | FALSE
RADew | (⁰F) | FALSE
RADewSp | (⁰F) | FALSE
RadHtgCmd | (Off/On) | FALSE
RadHtgEna | (Off/On) | FALSE
RadHtgOATmpSp | (⁰F) | FALSE
RadHtgOATmpSpDb | (⁰F) | FALSE
RadHWRTmp | (⁰F) | FALSE
RadHWSTmp | (⁰F) | FALSE
RadHWVlvCmd | (%) | FALSE
RadHWVlvPos | (%) | FALSE
RADmpCmd | (%) | FALSE
RADmpPos | (%) | FALSE
RADmpSts | (Closed/Open) | FALSE
RAEnth | (btu-lb) | FALSE
RAEnthSp | (btu-lb) | FALSE
RAFltAlm | (Normal/Alarm) | FALSE
RAFltRst | (Off/On) | FALSE
RAFltTmSp | (hours) | FALSE
RAHtRecLvgTmp | (⁰F) | FALSE
RAHtRecWhEntTmp | (⁰F) | FALSE
RAHtRecWhLvgTmp | (⁰F) | FALSE
RAPreFltDifPrs | (in. | FALSE
RARelHum | (%) | TRUE
RARelHumSp | (%) | FALSE
RASmkAlm | (Normal/Alarm) | FALSE
RASmkDet | (Off/On) | FALSE
RATmp | (⁰F) | TRUE
RATmpClgSp | TBD | TRUE
RATmpHtgSp | TBD | TRUE
RATmpSp | (⁰F) | TRUE
RATmpSpDif | (⁰F) | FALSE
RAVel | (fps) | FALSE
RAVOC | (ppm) | FALSE
RAVOCAlm | (Normal/Alarm) | FALSE
RAVOCSp | (ppm) | FALSE
RAVol | (cfm) | FALSE
RAVolSp | (cfm) | TRUE
RAVolSpDif | (cfm) | FALSE
RebootCmd | (Off/On) | FALSE
RemCHWSTmpSp | (°F) | FALSE
RemEvLvgTmpSp | (°F) | FALSE
RetVelPrs | (inWC) | FALSE
RevVlvCmd | (Cool/Heat) | FALSE
RevVlvCmd | (Off/On) | FALSE
RevVlvSts | (Off/On) | FALSE
RFCmd | (Off/On) | TRUE
RFCur | TBD | TRUE
RFEnrg | (kWh) | TRUE
RFFdbk | (%) | FALSE
RFFreq | TBD | TRUE
RfgAlm | (Normal/Alarm) | FALSE
RfgLvl | (ppm) | FALSE
RfgLvlAlmSp | (Normal/Alarm) | FALSE
RfgLvlHL | (ppm) | FALSE
RfgLvlWarnSp | (ppm) | FALSE
RfgWarn | (Norm/Warn) | FALSE
RFInletPrs | (inWC) | FALSE
RFPwr | (kW) | FALSE
RFRmpSpd | (%) | FALSE
RFRmpTm | (seconds) | FALSE
RFRnTm | (hours) | FALSE
RFSpd | (%) | TRUE
RFSts | (Off/On) | TRUE
RFVlt | TBD | TRUE
RHCVlvCmd | (%) | FALSE
RHCVlvPos | (%) | FALSE
RHTmp | (⁰F) | FALSE
RHTmpSp | (⁰F) | FALSE
RHTmpSpDif | (⁰F) | FALSE
RnTm | (hours) | FALSE
RnTmRem | (hours) | FALSE
RstCmd | (Off/On) | FALSE
SABypDmpCmd | (%) | FALSE
SABypDmpPos | (%) | FALSE
SABypDmpSts | (Open/Byp) | FALSE
SACO2 | (ppm) | FALSE
SACO2Alm | (Normal/Alarm) | FALSE
SACO2Sp | (ppm) | FALSE
SADew | (⁰F) | FALSE
SADewSp | (⁰F) | FALSE
SADmpCmd | (%) | FALSE
SADmpPos | (%) | FALSE
SADuctArea | (sqft) | FALSE
SAEnth | (btu-lb) | FALSE
SAEnthSp | (btu-lb) | FALSE
SAFltAlm | (Normal/Alarm) | FALSE
SAHtRecWhLvgTmp | (⁰F) | FALSE
SARelHum | (%) | FALSE
SARelHumSp | (%) | FALSE
Sash01Pos | (varies) | FALSE
Sash02Pos | (varies) | FALSE
Sash03Pos | (varies) | FALSE
Sash04Pos | (varies) | FALSE
SashAlm | (Normal/Alarm) | FALSE
SashPos | (varies) | FALSE
SAStPrs | (inWC) | TRUE
SAStPrs01 | (inWC) | FALSE
SAStPrs02 | (inWC) | FALSE
SAStPrsHi | (inWC) | FALSE
SAStPrsHL | (inWC) | FALSE
SAStPrsLL | (inWC) | FALSE
SAStPrsLo | (inWC) | FALSE
SAStPrsRst | (inWC) | FALSE
SAStPrsRstHi | (inWC) | FALSE
SAStPrsRstLo | (inWC) | FALSE
SAStPrsSp | (inWC) | TRUE
SAStPrsSpDif | (inWC) | FALSE
SATmp | (°F) | TRUE
SATmp01 | (⁰F) | FALSE
SATmp02 | (⁰F) | FALSE
SATmpLpBias | (%) | FALSE
SATmpLpDb | (⁰F) | FALSE
SATmpLpDGain | (dgain) | FALSE
SATmpLpErr | (⁰F) | FALSE
SATmpLpIGain | (igain) | FALSE
SATmpLpPv | (⁰F) | FALSE
SATmpLpSp | (⁰F) | FALSE
SATmpLpTm | (sec) | FALSE
SATmpSp | (⁰F) | TRUE
SATmpSpDif | (⁰F) | FALSE
SATmpSpRst | (⁰F) | FALSE
SATmpSpRstHi | (⁰F) | TRUE
SATmpSpRstLo | (⁰F) | TRUE
SATmpSpRstOAHi | (⁰F) | TRUE
SATmpSpRstOALo | (⁰F) | TRUE
SAVel | (fps) | FALSE
SAVelPrs | (inWC) | FALSE
SAVOC | (ppm) | FALSE
SAVOCAlm | (Normal/Alarm) | FALSE
SAVOCSp | (ppm) | FALSE
SAVol | (cfm) | FALSE
SAVolAlm | (Normal/Alarm) | FALSE
SAVolCoeff | (coeff) | FALSE
SAVolSp | (cfm) | TRUE
SAVolSpDif | (cfm) | FALSE
SAVolSpMax | (cfm) | FALSE
SAVolSpMin | (cfm) | FALSE
SchedCmd | (Off/On) | TRUE
SchedEna | (Off/On) | FALSE
SchedSts | (Off/On) | FALSE
SecCHWPmpCmd | (Off/On) | FALSE
SecCHWPmpEnrg | (kWh) | FALSE
SecCHWPmpFdbk | (%) | FALSE
SecCHWPmpPwr | (kW) | FALSE
SecCHWPmpRnTm | (hours) | FALSE
SecCHWPmpSpd | (%) | FALSE
SecCHWPmpSts | (Off/On) | FALSE
SecHWPmpCmd | (Off/On) | FALSE
SecHWPmpEnrg | (kWh) | FALSE
SecHWPmpFdbk | (%) | FALSE
SecHWPmpPwr | (kW) | FALSE
SecHWPmpRnTm | (hours) | FALSE
SecHWPmpSpd | (%) | FALSE
SecHWPmpSts | (Off/On) | FALSE
SerAlm | (Normal/Alarm) | FALSE
SerReq | (Off/On) | FALSE
SerSFCmd | (Off/On) | FALSE
SerSFSts | (Off/On) | FALSE
SFCmd | (Off/On) | TRUE
SFCur | TBD | TRUE
SFEnrg | (kWh) | TRUE
SFFastCmd | (Off/On) | FALSE
SFFdbk | (%) | FALSE
SFFreq | TBD | TRUE
SFHighCmd | (Off/On) | FALSE
SFInletPrs | (inWC) | FALSE
SFLowCmd | (Off/On) | FALSE
SFMedCmd | (Off/On) | FALSE
SFPwr | (kW) | FALSE
SFRmpSpd | (%) | FALSE
SFRmpTm | (seconds) | FALSE
SFRnTm | (hours) | TRUE
SFRnTmDay | (days) | FALSE
SFRnTmHr | (hours) | FALSE
SFRnTmSec | (seconds) | FALSE
SFSlowCmd | (Off/On) | FALSE
SFSpd | (%) | TRUE
SFSpdCmd | (Off/High/Low) | FALSE
SFSpdSts | (Off/High/Low) | FALSE
SFStopCmd | (Off/On) | FALSE
SFSts | (Off/On) | TRUE
SFVlt | TBD | TRUE
ShdCmd | (Off/On, | FALSE
ShdPos | (%) | FALSE
ShdSts | (Off/On) | FALSE
ShutdownRelay | (Off/On) | FALSE
SlabTmp | (⁰F) | FALSE
SlabTmpHL | (⁰F) | FALSE
SlabTmpLL | (⁰F) | FALSE
SlabTmpSp | (⁰F) | FALSE
SmkAlm | (Normal/Alarm) | FALSE
SprPmpCmd | (Off/On) | FALSE
SprPmpEnrg | (kWh) | FALSE
SprPmpFdbk | (%) | FALSE
SprPmpPwr | (kW) | FALSE
SprPmpRnTm | (hours) | FALSE
SprPmpSpd | (%) | FALSE
SprPmpSts | (Off/On) | FALSE
StationEna | (Off/On) | FALSE
StationMode | (varies) | FALSE
StationSts | (varies) | FALSE
Stby | (Off/On) | FALSE
StbyClgSp | (⁰F) | FALSE
StbyHtgSp | (⁰F) | FALSE
StbyModeSts | (Off/On) | FALSE
StmCndFlwRat | (gpm) | FALSE
StmCndVolTot | (gal) | FALSE
StmHPrs | (PSI) | FALSE
StmHPrsFlwRat | (lb/hour) | FALSE
StmHPrsSp | (PSI) | FALSE
StmHPrsTot | (lb) | FALSE
StmHPrsVlv1Cmd | (%) | FALSE
StmHPrsVlv1Pos | (%) | FALSE
StmHPrsVlv2Cmd | (%) | FALSE
StmHPrsVlv2Pos | (%) | FALSE
StmLck | (Off/On) | FALSE
StmLPrs | (PSI) | FALSE
StmLPrsFlwRat | (lb/hour) | FALSE
StmLPrsSp | (PSI) | FALSE
StmLPrsTot | (lb) | FALSE
StmLPrsVlv1Cmd | (%) | FALSE
StmLPrsVlv1Pos | (%) | FALSE
StmLPrsVlv2Cmd | (%) | FALSE
StmLPrsVlv2Pos | (%) | FALSE
StmMPrs | (PSI) | FALSE
StmMPrsFlwRat | (lb/hour) | FALSE
StmMPrsSp | (PSI) | FALSE
StmMPrsTot | (lb) | FALSE
StmMPrsVlv1Cmd | (%) | FALSE
StmMPrsVlv1Pos | (%) | FALSE
StmMPrsVlv2Cmd | (%) | FALSE
StmMPrsVlv2Pos | (%) | FALSE
StmSupPrs | (PSI) | FALSE
StmSupPrsSp | (PSI) | FALSE
StrAlm | (Normal/Alarm) | FALSE
StrDifPrs | (psi) | FALSE
StrDifPrsDb | (psi) | FALSE
StrDifPrsSp | (psi) | FALSE
StrtDly | (sec) | FALSE
SupAirVolTot | (cfm) | FALSE
SupAirVolTotSp | (cfm) | FALSE
SupFltRst | (Off/On) | FALSE
SupFltTmSp | (hours) | FALSE
SurfTmp | (⁰F) | FALSE
SurfTmpHL | (⁰F) | FALSE
SurfTmpLL | (⁰F) | FALSE
SurfTmpSp | (⁰F) | FALSE
SysAva | TBD | TRUE
SysEna | (Off/On) | TRUE
SysOperState | (varies) | FALSE
SysSts | (varies) | FALSE
TmpCtrlVol | (cfm) | FALSE
TmpLpBias | (null) | FALSE
TmpLpDb | (⁰F) | FALSE
TmpLpDGain | (dgain) | FALSE
TmpLpErr(⁰F) |  | FALSE
TmpLpIGain | (igain) | FALSE
TmpLpPv | (⁰F) | FALSE
TmpLpSp | (⁰F) | FALSE
TmpLpTm | (sec) | FALSE
TrkModeCmd | (none/ETS/STE) | FALSE
TrkModeSts | (none/ETS/STE) | FALSE
UnitAlm | (Normal/Alarm) | FALSE
UnitStrtCmd | (Off/On) | FALSE
UocClgSp | (⁰F) | FALSE
UocHLCmd | (Off/HL) | FALSE
UocHLEna | (Off/On) | FALSE
UocHLSts | (Off/HL) | FALSE
UocHtgSp | (⁰F) | FALSE
UocLLCmd | (Off/LL) | FALSE
UocLLEna | (Off/On) | FALSE
UocLLSts | (Off/LL) | FALSE
UocOvrdCmd | (Off/Ovrd) | FALSE
UocZnTmpSp | (⁰F) | FALSE
UsrSpAdj | (⁰F) | FALSE
UsrSpAdjEna | (Off/On) | FALSE
UsrSpAdjHL | (⁰F) | FALSE
UsrSpAdjLL | (⁰F) | FALSE
UsrSpAdjRng | (⁰F) | FALSE
VentEna | (Off/On) | FALSE
VentMode | (Off/On) | FALSE
VentModeSts | (Off/On) | FALSE
VFDSpd | (%) | FALSE
VibAlm | (Normal/Alarm) | FALSE
VibSnsr | (Off/On) | FALSE
VlvCmd | (%open) | FALSE
VlvPos | (%open) | FALSE
VolTot | (gal) | FALSE
VolTot | (lb) | FALSE
WarnCode | (varies) | FALSE
WmUpClDnMode | TBD | TRUE
WmUpCmd | (Off/On) | TRUE
WmUpMode | (Off/On) | FALSE
WmUpSATmpSp | (⁰F) | FALSE
WmUpSts | (Off/On) | FALSE
WmUpZnTmpSp | (⁰F) | FALSE
WrkLgtLvl | (W/sqft, | FALSE
WtrLeakFlt | (Off/On) | FALSE
WtrTmp | (°F) | FALSE
ZnCDDmpAvg | (%) | FALSE
ZnCDDmpMax | (%) | FALSE
ZnCDDmpMin | (%) | FALSE
ZnCO2 | (ppm) | FALSE
ZnCO2Alm | (Normal/Alarm) | FALSE
ZnCO2Sp | (ppm) | TRUE
ZnDew | (⁰F) | TRUE
ZnDewSp | (⁰F) | TRUE
ZnDmpAvg | (%) | FALSE
ZnDmpMax | (%) | FALSE
ZnDmpMin | (%) | FALSE
ZnEnth | (btu-lb) | TRUE
ZnEnthSp | (btu-lb) | FALSE
ZnFBypDmpCmd | (%) | FALSE
ZnFBypDmpPos | (%) | FALSE
ZnFBypDmpSts | (Open/Byp) | FALSE
ZnHDDmpAvg | (%) | FALSE
ZnHDDmpMax | (%) | FALSE
ZnHDDmpMin | (%) | FALSE
ZnHtgAuxCmd | (Off/On) | FALSE
ZnHtgModCmd | (Off/On) | FALSE
ZnHtgStg01Cmd | (Off/On) | FALSE
ZnHtgStg02Cmd | (Off/On) | FALSE
ZnHtgStg03Cmd | (Off/On) | FALSE
ZnIAQAlm | (Normal/Alarm) | FALSE
ZnRelHum | (%) | TRUE
ZnRelHumSp | (%) | FALSE
ZnTmp | (°F) | TRUE
ZnTmpDualSp | (Off/On) | FALSE
ZnTmpSp | (°F) | FALSE
ZnTmpSpHL | (⁰F) | FALSE
ZnTmpSpLL | (⁰F) | FALSE
ZnVOC | (ppm) | TRUE
ZnVOCAlm | (Normal/Alarm) | FALSE
ZnVOCSp | (ppm) | TRUE
ZnVol | (cf) | FALSE
CCTmpSpRstZnHi | TBD | TRUE
CCTmpSpRstZnLo | TBD | TRUE
ClgCmd | TBD | TRUE
ClgStg1CmpCmd | TBD | TRUE
ClgStg1DisPrs | TBD | TRUE
ClgStg1DisSatTmp | TBD | TRUE
ClgStg1DisTmp | TBD | TRUE
ClgStg1SctPrs | TBD | TRUE
ClgStg1SctSatTmp | TBD | TRUE
ClgStg1SctTmp | TBD | TRUE
ClgStg1SprHt | TBD | TRUE
ClgStg2CmpCmd | TBD | TRUE
ClgStg2DisPrs | TBD | TRUE
ClgStg2DisSatTmp | TBD | TRUE
ClgStg2DisTmp | TBD | TRUE
ClgStg2SctPrs | TBD | TRUE
ClgStg2SctSatTmp | TBD | TRUE
ClgStg2SctTmp | TBD | TRUE
ClgStg2SprHt | TBD | TRUE
Cmd | TBD | TRUE
CmpSpd | TBD | TRUE
DfrstSts | TBD | TRUE
DrnPnAlm | TBD | TRUE
EACO2 | TBD | TRUE
EADew | TBD | TRUE
EAEnth | TBD | TRUE
EARelHum | TBD | TRUE
EconEnthEnaSp | TBD | TRUE
EconTmpEnaSp | TBD | TRUE
EF01Enrg | TBD | TRUE
EF02Enrg | TBD | TRUE
ElecHtgStg1Cmd | TBD | TRUE
FailClgStg1CmpAlm | TBD | TRUE
FailClgStg1DisPrsAlm | TBD | TRUE
FailClgStg1DisTmpAlm | TBD | TRUE
FailClgStg1ExpVlvAlm | TBD | TRUE
FailClgStg1SctPrsAlm | TBD | TRUE
FailClgStg1SctTmpAlm | TBD | TRUE
FailClgStg2DisPrsAlm | TBD | TRUE
FailClgStg2DisTmpAlm | TBD | TRUE
FailClgStg2SctPrsAlm | TBD | TRUE
FailClgStg2SctTmpAlm | TBD | TRUE
FailEconDmpAlm | TBD | TRUE
FailOARelHumAlm | TBD | TRUE
FailOATmpAlm | TBD | TRUE
FailSAStPrsAlm | TBD | TRUE
FailSATmpAlm | TBD | TRUE
FailZnCO2Alm | TBD | TRUE
FailZnStPrsAlm | TBD | TRUE
GasHtgStg1Cmd | TBD | TRUE
HandPmpAlm | TBD | TRUE
HiClgStg1DisPrsAlm | TBD | TRUE
HiClgStg1DisSatTmpAlm | TBD | TRUE
HiClgStg2DisPrsAlm | TBD | TRUE
HiClgStg2DisSatTmpAlm | TBD | TRUE
HiHtRecWhDifPrsAlm | TBD | TRUE
HiSATmpAlm | TBD | TRUE
HiZnStPrsAlm | TBD | TRUE
HtgCmd | TBD | TRUE
HtRecLck | TBD | TRUE
LoClgStg1DisPrsAlm | TBD | TRUE
LoClgStg2DisPrsAlm | TBD | TRUE
LoSATmpAlm | TBD | TRUE
MaxCCTmpSp | TBD | TRUE
MinCCTmpSp | TBD | TRUE
OADewSp | TBD | TRUE
OAHtRecWhLckTmpSp | TBD | TRUE
OAPHtLckTmpSp | TBD | TRUE
OperMode | TBD | TRUE
RAStPrs | TBD | TRUE
RAStPrsSp | TBD | TRUE
SF01Enrg | TBD | TRUE
SF02Enrg | TBD | TRUE
Sts | TBD | TRUE
WmUpClDnCmd | TBD | TRUE
ZnCO201 | TBD | TRUE
ZnCO202 | TBD | TRUE
ZnStPrs | TBD | TRUE
ZnStPrsSp | TBD | TRUE

## Abbreviations
Abbreviation | Term
AcDn | Access Denied
AcGr | Access Granted
Act | Active
Adj | Adjustable, Adjust
ADR | Automatic Demand Response
AFMS | Air Flow Measuring Station
AHU | Air Handling Unit
Air | Air
AirCond | Air Conditioning
AirDry | Air Dryer
Alm | Alarm (Off/On)
Alt | Alternate
Amp | Amperage/Current
AppPwr | Apparent Power (kVA)
Aprch | Approach
Area | Area
Asp | Aspirating
ATS | Automatic Transfer Switch
Ava | Available
Auth | Authority
Auto | Automatic / Automatic Operation
Aux | Auxiliary
Avg | Average
Batt | Battery
Bb | Baseboard
Bldg | Building
Blr | Boiler
Blw | Blow
Box | Box
Brnch | Branch
Bstr | Booster
Btn | Button
BTU | British Thermal Unit
Byp | Bypass
C | Phase C
Cal | Calculated/Calculation
Cap | Capacity
CC | Cooling Coil
CD | Cold Deck
Cd | Condenser
CdPan | Condenser Pan
CDW | Condenser Water
CDWR | Condenser Water Return
CDWS | Condenser Water Supply
CFM | Cubic Feet Per Minute
Chg | Change/Changeover/Switchover
Chlr | Chiller
CHW | Chilled Water
CHWR | Chilled Water Return
CHWS | Chilled Water Supply
Cir | Circulating/Circulation
Cl | Cool
Clg | Cooling
Cls | Close
Clsd | Closed
Cmbs | Combustion
Cmd | Command (Off/On)
Cmp | Compressor
Cnd | Condensate
Cnt | Count
CO2 | Carbon Dioxide
Coeff | Coefficient
Cont | Contactor
Conv | Convector
Cplry | Capillary
CRAC | Computer Room Air Conditioner
CT | Cooling Tower
Ctrl | Control
Cur | Current
DA | Discharge Air (Unit)
Day | Day
Db | Deadband
DC | Direct Current
DCV | Demand-Controlled Ventilation
DCW | Domestic Cold Water
Dec | Decrease
Deck | Deck
Det | Detector
Dev | Device
Dew | Dewpoint (°F)
Dfrst | Defrost
DHW | Domestic Hot Water
DHW | Domestic Hot Water Supply
Dif | Differential
Dis | Discharge
Div | Diverting
Dly | Delay
Dmd | Demand
Dmp | Damper
Dn | Down
Door | Door
DR | Demand Response
Drn | Drain
DryB | Dry Bulb
DTC | Dual Temperature Coil
Duct | Duct
DW | Domestic Water
Dwg | Drawing
DX | Direct Expansion
E | East
EA | Exhaust Air
Econ | Economizer
EDH | Electric Duct Heater
EF | Exhaust Fan
Eff | Effective
Eject | Ejection
Elec | Electric
Elmt | Element
Emer | Emergency
Ena | Enable
Enrg | Energy (kWh)
Ent | Enter/Entering
Enth | Enthalpy
Erly | Early
Err | Error
ESS | Emergency Stop Switch
Ev | Evaporator
Exh | Exhaust
Fail | Failure
Fan | Fan
Fast | Fast Fan Speed
Fault | Fault
Fdbk | Feedback
Fbyp | Face/Bypass
Fclg | Free Cooling
FCU | Fan Coil Unit
FF | Flame Fail
Flr | Floor
Flt | Filter
Flush | Flush
Flw | Flow
Fnl | Final
FPM | Feet Per Minute
Freq | Frequency
Frst | Frost
Gal | Gallon
Gas | Butane, Natural Gas, etc.
Gen | Generator
GH | Gas Heater
Gly | Ethylene Glycol
GlyR | Glycol Return
GlyS | Glycol Supply
GPM | Gallons Per Minute
Grd | Ground
Grn | Green
Hand | Manual
HC | Heating Coil
HD | Hot Deck
Head | Head
Hi | High
High | High Fan Speed
HL | High Limit
HOA | Hand/Off/Auto
Hor | Horizontal
HP | Horse Power
HPrs | High Pressure
Hr | Hour
HTCO | High Temp Cut Out
Htg | Heating
Htr | Heater
Hum | Humidifier
HW | Hot Water
HWR | Hot Water Return
HWS | Hot Water Supply
HX | Heat Exchanger
Hz | Hertz
IAQ | Indoor Air Quality
IEQ | Indoor Environmental Quality
In | Input
Inc | Increase
Ind | Indicator
Inj | Injector
Inlet | Fan Air Inlet
Inv | Inverter
INWC | Inches of Water Column
Irg | Irrigation
Iso | Isolation
Kfctr | K-factor
KVA | Kilo-Volt-Amperes
KVAR | Kilo-Volt-Amperes Reactive
Kw | Kilowatt
KwD | Kilowatt Demand
KwH | Kilowatt Hours
Lab | Lab
Lag | Lag
Lb | Pound
Lck | Lockout
Lead | Lead
Lkd | Locked
LL | Low Limit
Lmt | Limit
Lnk | Link
Lo | Low
Low | Low Fan Speed
Load | Load
Lp | Loop
LPrs | Low Pressure
LPrsStm | Low Pressure Steam
LTCO | Low temp Cut out
Lvg | Leaving
Lvl | Level
MA | Mixed Air
Man | Manual
Max | Maximum
Mech | Mechanical
Med | Medium Fan Speed
Mf | Manifold
Mfr | Manufacturer
Min | Minimum
Misc | Miscellaneous
Mix | Mixing
Mod | Modulation, Modulating
Mode | Operating Mode
MPrs | Medium-Pressure
Ms | Mass
Mtr | Meter
MU | Make-Up
N | North
Nbr | Number
Neg | Negative
Neut | Neutral
Nght | Night
Nom | Nominal
NormClsd | Normally Closed
NormOpn | Normally Open
Ntfcn | Notification
OA | Outside Air
OAF | Outside Air Fan
Occ | Occupied
Off | Off
Offst | Offset
Oil | Oil
OL | OverLoad
On | On
Open | Open
Oper | Operation, Operator
Opt | Optimal
OT | OverTime
Out | Ouput
Ovrd | Override
Pan | Pan
Par | Parallel
PC | Pre-Cool
Pct | Percent
PDU | Power Distribution Unit
Peak | Peak
Perf | Performance
PH | Preheat
PID | Proportional/Integral/Derivative
PIU | Power Induction Unit
Ple | Plenum
Plnt | Plant
Pls | Pulse, Pulses
Plt | Pilot
PM | Particulate Matter
Pmp | Pump
Pnl | Panel
POA | Plane of Array
Pos | Position (%)
PPM | Parts Per Million
Pre | Pre
Precip | Precipitation
Prev | Previous
Pri | Primary
Prop | Proportional
Prot | Protective
Prs | Pressure (psi, inWC) / Pressurization
PtRatio | Potential Transformer Ratio
PVTS | Photovoltaic System
Pwr | Power (kW)
PwrFct | Power Factor
Qlty | Quality
RA | Return Air
Rad | Radiant
Rat | Rate
RctPwr | Reactive Power (kVAR)
Rcv | Recovery, Recovered
Rec | Recovery
Rej | Rejection, Rejected
RelHum | Relative Humidity (%)
RelPwr | Real Power (kW)
Rem | Remaining
Req | Required
Rev | Reversing
RevAct | Reverse Acting
RF | Return Fan
Rfg | Refrigerant
RH | Re-Heat
Rlf | Relief
Rly | Relay
Rm | Room
Rmp | Ramp
Rmt | Remote
Rng | Range
RnTm | Run Time (hours)
RO | Relay Output
RPM | Revolutions Per Minute
Rqst | Request
Rst | Reset
RstH | High End of Reset Scale
RstL | Low End of Reset Scale
Rtn | Return
Rto | Ratio
RTU | Roof Top Unit
Run | Run
S | South
SA | Supply Air
Sash | Sash
Sat | Saturation
Sched | Schedule
Sct | Suction
Sec | Secondary
Sel | Select/Selection
Seq | Sequence
Ser | Series, Service
SF | Supply Fan
Size | Size
Slab | Slab
Slow | Slow Fan Speed
Smk | Smoke
Snsr | Sensor
Snw | Snow, Snow-melt
Sp | Setpoint
Spd | Speed Control Command (%)
Spr | Spray
SqFt | Square Feet
SS | Start-Stop
Stby | Standby
Std | Standard
Stg | Stage
Stm | Steam
Stop | Stop
St | Static
Str | Strainer
Strt | Start
Strts | Starts
Sts | Status (Off/On)
Sump | Sump
Sumr | Summer
Sup | Supply
Surf | Surface
Sw | Switch
Sys | System
Td | Trend (History)
THD | Total Harmonic Distortion
Tm | Time
Tmp | Temperature (°F)
Tmr | Timer (s)
Tnk | Tank
TOD | Time Of Day
Tons | Tons of Refrigeration
Tot | Total
Trk | Tracking
Ulkd | Unlocked
Unbal | Unbalanced
Unit | Unit
UnitHtr | Unit Heater
UnitVent | Unit Ventilator
Uoc | Unoccupied
Up | Up
UPS | Uninterruptible Power Supply
Util | Utility
Usr | Zone Occupant (User)
VA | Volt Amperes/ Variable Air
VAC | Volts Alternating Current
Val | Value
VAV | Variable Air Volume
VDC | Volts Direct Current
Vel | Velocity
Vib | Vibration
Vent | Ventilation
VFD | Variable Frequency Drive
Vlv | Valve
Vol | Volume
Vlt | Voltage
VOC | Volatile Organic Compounds
W | West
Warn | Warning
Wtr | Water
WTS | Water Treatment System
WB | Wet Bulb
Wntr | Winter
Wh | Wheel
Wm | Warm
Wrls | Wireless
Zn | Zone